## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38067A-0 | HI705A-0 | HI93705A-0
TEST | HI93705A-0 | CP-B145 | W12 |  | Parameter Formula | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent A |  | L56 CTK |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ANA | 2025-03-19 |  |  |  |  | 2090
[6 empty] | Expiration A | Expiration B | Expiration D
2029-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.37 | 0.43 |  | MR45 |  | 0.03 | & | 1% | 90% |  | 0.6 | 0.4 | 0.8
3 | 1.60 | 1.56 | 1.64 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97705 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old A | 2025-03-19 | 13:05 | 2025-03-19 |  | ANA |  | 0.42 | 0.41 | / | / | 0.115 |  |  |  | 2.21 |  |  | Brigitta P |  | 3 | 2
3 | 1.60 | 2 | Old A | 2025-03-19 | 13:08 | 2025-03-19 |  | ANA |  | 1.64 | 1.64 | / | / | 0.430 |  |  |  | 1.40 |  |  | Brigitta P |  | 3 | 3
2 | 0.40 | 3 | Test NEW CM309 | 2025-03-19 | 13:12 | 2025-03-19 | 12:05 | ANA |  | 0.40 | 0.39 | / | / | 0.109 |  |  |  | 0.54 |  |  | Brigitta P |  | 3 | 2 |  | NEW CM 309-MPN 769339
2 | 0.40 | 4 | Test NEW CM309 | 2025-03-19 | 13:12 | 2025-03-19 | 12:05 | ANA |  | 0.40 | 0.40 | / | / | 0.108 |  |  | 1.583 | 0.77 |  |  | Brigitta P |  | 3 | 2 |  | NEW CM 309-MPN 769339
2 | 0.40 | 5 | Test NEW CM309 | 2025-03-19 | 13:53 | 2025-03-19 | 12:05 | ANA |  | 0.39 | 0.39 | / | / | 0.106 |  |  |  | 0.64 |  |  | Brigitta P |  | 3 | 2 |  | NEW CM 309-MPN 769339
3 | 1.60 | 6 | Test NEW CM309 | 2025-03-19 | 13:55 | 2025-03-19 | 12:05 | ANA |  | 1.60 | 1.60 | / | / | 0.420 |  | - | 1.580 | 1.63 |  |  | Brigitta P |  | 3 | 3 |  | NEW CM 309-MPN 769339
3 | 1.60 | 7 | Test NEW CM309 | 2025-03-19 | 13:56 | 2025-03-19 | 12:05 | ANA |  | 1.63 | 1.64 | / | / | 0.427 |  |  |  | 1.44 |  |  | Brigitta P |  | 3 | 3 |  | NEW CM 309-MPN 769339
3 | 1.60 | 8 | Test NEW CM309 | 2025-03-19 | 14:01 | 2025-03-19 | 12:05 | ANA |  | 1.60 | 1.60 | / | / | 0.421 |  |  | 1.580 | 0.89 |  |  | Brigitta P |  | 3 | 3 |  | NEW CM 309-MPN 769339
1 | 0.00 | 9 | Test NEW CM309 | 2025-03-19 | 14:07 | 2025-03-19 | 12:05 | ANA |  | 0.01 | 0.01 | / | / | 0.002 |  |  |  | 0.76 |  |  | Brigitta P |  | 3 | 1 |  | NEW CM 309-MPN 769339
1 | 0.00 | 10 | Test NEW CM309 | 2025-03-19 | 14:07 | 2025-03-19 | 12:05 | ANA |  | 0.01 | 0.00 | / | / | 0.001 |  |  |  | 0.86 |  |  | Brigitta P |  | 3 | 1 |  | NEW CM 309-MPN 769339
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L