## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93767A-B | HI93767B-B | HI94767A-B | HI94767B-B
1744/N | HI93767B-B | CP-D20 | W 52/1 |  | Parameter Formula | N | N | N-NO3 | N
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Nitrogen HR Digestion Vial | 2027-12-01 | L59 COD |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1744 | 0742 | 1268 | 1270 | 1249
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-12-01 | 2030-12-01 | 2030-12-01 | 2030-12-01 | 2030-11-01
Reagent Range Min | Reagent Range Max
0 mg/L | 15 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
JUDIT | 2025-12-22
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI802 | CTO-867 | HI801 | CTO-775
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI93703 | CTO-766
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 10 |  | MR09 |  | 3 | or | 0.04% | 1%
2 | 50 | 47 | 53
3 | 75 | 72 | 78
4 | 120 | 115 | 125
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI802 | M. 2 HI801 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | P/FINAL | 2025-12-22 | 12:13 | 2025-12-16 | 14:23 | TAMARA |  | 10 | 10 | / | / | 0.001 |  |  |  | 0.57 |  | 1 | Andrea V |  | 3 | 1
2 | 50 | 2 | P/FINAL | 2025-12-22 | 12:14 | 2025-12-16 | 14:23 | TAMARA |  | 47 | 47 | / | / | 0.226 |  |  |  | 0.39 |  | 1 | Andrea V |  | 3 | 2
3 | 75 | 3 | P/FINAL | 2025-12-22 | 12:15 | 2025-12-16 | 14:23 | TAMARA |  | 72 | 72 | / | / | 0.342 |  |  |  | 0.06 |  | 1 | Andrea V |  | 3 | 3
4 | 120 | 4 | P/FINAL | 2025-12-22 | 12:16 | 2025-12-16 | 14:23 | TAMARA |  | 119 | 119 | / | / | 0.571 |  |  |  | 0.70 |  | 1 | Andrea V |  | 3 | 4
1 | 0 | 5 | P/FINAL | 2025-12-22 | 12:34 | 2025-12-17 | 07:03 | MARA |  | 10 | 10 | / | / | 0.001 |  |  |  | 1.15 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 6 | P/FINAL | 2025-12-22 | 12:35 | 2025-12-17 | 07:03 | MARA |  | 10 | 10 | / | / | 0.001 |  |  |  | 0.75 |  | 1 | Andrea V |  | 3 | 1
2 | 50 | 7 | P/FINAL | 2025-12-22 | 12:43 | 2025-12-17 | 07:03 | MARA |  | 49 | 47 | / | / | 0.235 |  |  |  | 0.94 |  | 1 | Andrea V |  | 3 | 2
2 | 50 | 8 | P/FINAL | 2025-12-22 | 12:44 | 2025-12-17 | 07:03 | MARA |  | 46 | 46 | / | / | 0.218 |  |  |  | 0.00 |  | 1 | Andrea V |  | 3 | 2
2 | 50 | 9 | P/FINAL | 2025-12-22 | 12:46 | 2025-12-17 | 07:03 | MARA |  | 49 | 49 | / | / | 0.237 |  |  |  | 0.83 |  | 1 | Andrea V |  | 3 | 2
3 | 75 | 10 | P/FINAL | 2025-12-22 | 12:56 | 2025-12-17 | 07:03 | MARA |  | 72 | 72 | / | / | 0.344 |  |  |  | 0.61 |  | 1 | Andrea V |  | 3 | 3
3 | 75 | 11 | P/FINAL | 2025-12-22 | 12:57 | 2025-12-17 | 07:03 | MARA |  | 72 | 73 | / | / | 0.341 |  |  |  | 0.90 |  | 1 | Andrea V |  | 3 | 3
4 | 120 | 12 | P/FINAL | 2025-12-22 | 12:58 | 2025-12-17 | 07:03 | MARA |  | 115 | 117 | / | / | 0.553 |  |  |  | 0.39 |  | 1 | Andrea V |  | 3 | 4
4 | 120 | 13 | P/FINAL | 2025-12-22 | 12:58 | 2025-12-17 | 07:03 | MARA |  | 118 | 120 | / | / | 0.570 |  |  |  | 0.26 |  | 1 | Andrea V |  | 3 | 4
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 10 mg/L | 3 | 6 | 10 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 48 mg/L | 4 | 8 | 48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 72 mg/L | 3 | 6 | 72 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 118 mg/L | 3 | 6 | 118 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 10 | 10 | YES
50 | 47 ÷ 53 | 48 | YES
75 | 72 ÷ 78 | 72 | YES
120 | 115 ÷ 125 | 118 | YES
Validation Date | by