## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3864A-0
1064 | HI3864A-0 | CP-R06 | W23/1_2025 |  | Parameter Formula | Phenols
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phenol Reagent A | 2030-06-01 | L57 Powder |  |  | Laboratory | Tablet3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1010
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-04-01
Reagent Range Min | Reagent Range Max
0.50 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Mark | 2025-06-10 | 2025-06-10 | New preci |  |  | H025
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code
HI3864 DISK | 1
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.50 | 0.40 | 0.60 |  |  |  | 0.10 | or | 0% | 100% |  | 11.0 | 10.9 | 11.2
2 | 2.50 | 2.40 | 2.60 | [8 empty] | 11.0 | 10.9 | 11.2
3 | 4.50 | 4.40 | 4.60
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.50 | 1 | Old A | 2025-06-05 | 13:58 | 2025-06-04 | 14:56 | Mark |  | 0.50 | / | / | / | [6 empty] | 1 | Eugenia |  | 3 | 1 | 64637
1 | 0.50 | 2 | Valid | 2025-06-05 | 13:58 | 2025-06-04 | 14:56 | Mark |  | 0.50 | / | / | / | [6 empty] | 1 | Eugenia |  | 3 | 1 | 64637
1 | 0.50 | 3 | Valid | 2025-06-05 | 13:59 | 2025-06-04 | 14:56 | Mark |  | 0.50 | / | / | / | [6 empty] | 1 | Eugenia |  | 3 | 1 | 64637
2 | 2.50 | 4 | Old A | 2025-06-05 | 13:59 | 2025-06-04 | 14:56 | Mark |  | 2.50 | / | / | / | [6 empty] | 1 | Eugenia |  | 3 | 2 | 64637
2 | 2.50 | 5 | Valid | 2025-06-05 | 13:59 | 2025-06-04 | 14:56 | Mark |  | 2.50 | / | / | / | [6 empty] | 1 | Eugenia |  | 3 | 2 | 64637
2 | 2.50 | 6 | Valid | 2025-06-05 | 13:59 | 2025-06-04 | 14:56 | Mark |  | 2.50 | / | / | / | [6 empty] | 1 | Eugenia |  | 3 | 2 | 64637
3 | 4.50 | 7 | Old A | 2025-06-05 | 14:00 | 2025-06-04 | 14:56 | Mark |  | 4.50 | / | / | / | [6 empty] | 1 | Eugenia |  | 3 | 3 | 64637
3 | 4.50 | 8 | Valid | 2025-06-05 | 14:00 | 2025-06-04 | 14:56 | Mark |  | 4.50 | / | / | / | [6 empty] | 1 | Eugenia |  | 3 | 3 | 64637
3 | 4.50 | 9 | Valid | 2025-06-05 | 14:00 | 2025-06-04 | 14:56 | Mark |  | 4.50 | / | / | / | [6 empty] | 1 | Eugenia |  | 3 | 3 | 64637
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L