## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3895K-0 | HI3896K-0 | MT5002-0
0798 | MT5002-0 | CP-R08 | 45/1 |  | Parameter Formula | K | K | Potassium
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Potassium Reagent | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
105 | 95 | 115
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 72 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-11-07 | 2024-11-07 | PRECI |  |  | H017
[6 empty] | Expiration A | Expiration B | Expiration D
2026-05-01
Meter
Meter 1 Family | Meter 1 Code
COLOR CARD | K
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 16 | 16 | 16 |  | MR30 |  | 0 | / | 0% | 100% |  | 11.7 | 11.5 | 11.8
2 | 36 | 36 | 36
3 | 72 | 72 | 72
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 16 | 1 | Valid | 2024-11-06 | 08:49 | 2024-11-05 | 15:32 | ERIKA |  | 16 | / | / | / |  |  |  |  | 367 |  |  | Kinga |  | 3 | 1 |  | LOW
1 | 16 | 2 | Valid | 2024-11-06 | 08:49 | 2024-11-05 | 15:32 | ERIKA |  | 16 | / | / | / |  |  |  |  | 378 |  |  | Kinga |  | 3 | 1 |  | LOW
1 | 16 | 3 | Old A | 2024-11-06 | 08:49 | 2024-11-05 | 15:32 | ERIKA |  | 16 | / | / | / |  |  |  |  | 333 |  |  | Kinga |  | 3 | 1 |  | LOW
2 | 36 | 4 | Valid | 2024-11-06 | 08:50 | 2024-11-05 | 15:32 | ERIKA |  | 36 | / | / | / |  |  |  |  | 553 |  |  | Kinga |  | 3 | 2 |  | MEDIUM
2 | 36 | 5 | Valid | 2024-11-06 | 8:50 | 2024-11-05 | 15:32 | ERIKA |  | 36 | / | / | / |  |  |  |  | 560 |  |  | Kinga |  | 3 | 2 |  | MEDIUM
2 | 36 | 6 | Old A | 2024-11-06 | 8:50 | 2024-11-05 | 15:32 | ERIKA |  | 36 | / | / | / |  |  |  |  | 560 |  |  | Kinga |  | 3 | 2 |  | MEDIUM
3 | 72 | 7 | Old A | 2024-11-06 | 8:50 | 2024-11-05 | 15:32 | ERIKA |  | 72 | / | / | / |  |  |  |  | 805 |  |  | Kinga |  | 3 | 2 |  | MEDIUM
3 | 72 | 8 | Valid | 2024-11-06 | 8:50 | 2024-11-05 | 15:32 | ERIKA |  | 72 | / | / | / |  |  |  |  | - |  |  | Kinga |  | 3 | 2 |  | MEDIUM
3 | 72 | 9 | Valid | 2024-11-06 | 8:50 | 2024-11-05 | 15:32 | ERIKA |  | 72 | / | / | / |  |  |  |  | 804 |  |  | Kinga |  | 3 | 2 |  | MEDIUM
1 | 16 | 10 | Old A | 2024-11-07 | 15:52 | 2024-11-07 | 10:33 | FLORICA |  | 16 | / | / | / |  |  |  |  | 1.14 |  |  | Brigitta P |  | 3 | 1 |  | LOW
1 | 16 | 11 | P/Final | 2024-11-07 | 15:52 | 2024-11-07 | 10:33 | FLORICA |  | 16 | / | / | / |  |  |  |  | 0.68 |  |  | Brigitta P |  | 3 | 1 |  | LOW
1 | 16 | 12 | P/Final | 2024-11-07 | 15:53 | 2024-11-07 | 10:33 | FLORICA |  | 16 | / | / | / |  |  |  |  | 1.46 |  |  | Brigitta P |  | 3 | 1 |  | LOW
2 | 36 | 13 | Old A | 2024-11-07 | 15:53 | 2024-11-07 | 10:33 | FLORICA |  | 36 | / | / | / |  |  |  |  | 0.66 |  |  | Brigitta P |  | 3 | 2 |  | MEDIUM
2 | 36 | 14 | P/Final | 2024-11-07 | 15:54 | 2024-11-07 | 10:33 | FLORICA |  | 36 | / | / | / |  |  |  |  | 1.94 |  |  | Brigitta P |  | 3 | 2 |  | MEDIUM
2 | 36 | 15 | P/Final | 2024-11-07 | 15:54 | 2024-11-07 | 10:33 | FLORICA |  | 36 | / | / | / |  |  |  |  | 5.82 |  |  | Brigitta P |  | 3 | 2 |  | MEDIUM
3 | 72 | 16 | Old A | 2024-11-07 | 15:55 | 2024-11-07 | 10:33 | FLORICA |  | 72 | / | / | / |  |  |  |  | 5.25 |  |  | Brigitta P |  | 3 | 3 |  | HIGHT
3 | 72 | 17 | P/Final | 2024-11-07 | 15:55 | 2024-11-07 | 10:33 | FLORICA |  | 72 | / | / | / |  |  |  |  | 6.67 |  |  | Brigitta P |  | 3 | 3 |  | HIGHT
3 | 72 | 18 | P/Final | 2024-11-07 | 15:55 | 2024-11-07 | 10:33 | FLORICA |  | 72 | / | / | / |  |  |  |  | 12.8 |  |  | Brigitta P |  | 3 | 3 |  | HIGHT
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 16 mg/L | 2 | 2 | 16 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 36 mg/L | 2 | 2 | 36 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 72 mg/L | 2 | 2 | 72 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
16 | 16 ÷ 16 | 16 | YES
36 | 36 ÷ 36 | 36 | YES
72 | 72 ÷ 72 | 72 | YES
Validation Date | by