## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3895N-0 | HI3896N-0 | MT5009-0
0792 | MT5009-0 | CP-R09 | W45/1 |  | Parameter Formula | N-NO3 | N | Nitrogen
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrate Reagent | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
290 | 270 | 310
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 7 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-11-06 | 2024-11-15 | PRECI |  |  | 0065
[6 empty] | Expiration A | Expiration B | Expiration D
2028-03-01
Meter
Meter 1 Family | Meter 1 Code
COLOR CARD | N
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 1 | 1 | 1 |  | MR09 |  | 0 | / | 0% | 1% |  | 1.9 | 1.8 | 2.1
2 | 2 | 2 | 2
3 | 3 | 3 | 3
4 | 3 | 3 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 COLOR CARD | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 1 | 1 | P/Final | 2024-12-09 | 19:54 | 2024-11-06 |  | FLORICA | PRECI | 1 | / | / | / | [7 empty] | Brigitta P |  | 3 | 1
1 | 1 | 2 | P/Final | 2024-12-09 | 19:54 | 2024-11-06 |  | FLORICA | PRECI | 1 | / | / | / | [7 empty] | Brigitta P |  | 3 | 1
2 | 2 | 3 | P/Final | 2024-12-09 | 19:55 | 2024-11-06 |  | FLORICA | PRECI | 2 | / | / | / | [7 empty] | Brigitta P |  | 3 | 2
2 | 2 | 4 | P/Final | 2024-12-09 | 19:55 | 2024-11-06 |  | FLORICA | PRECI | 2 | / | / | / | [7 empty] | Brigitta P |  | 3 | 2
3 | 3 | 5 | P/Final | 2024-12-09 | 19:55 | 2024-11-06 |  | FLORICA | PRECI | 3 | / | / | / | [7 empty] | Brigitta P |  | 3 | 3
3 | 3 | 6 | P/Final | 2024-12-09 | 19:55 | 2024-11-06 |  | FLORICA | PRECI | 3 | / | / | / | [7 empty] | Brigitta P |  | 3 | 3
4 | 3 | 7 | P/Final | 2024-12-09 | 19:55 | 2024-11-06 |  | FLORICA | PRECI | 3 | / | / | / | [7 empty] | Brigitta P |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 1 mg/L | 2 | 2 | 1 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 2 mg/L | 2 | 2 | 2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 3 mg/L | 2 | 2 | 3 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 1 | 0 mg/L | 0 | 0 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
1 | 1 ÷ 1 | 1 | YES
2 | 2 ÷ 2 | 2 | YES
3 | 3 ÷ 3 | 3 | YES
Validation Date | by