## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI7582
0691 | HI7582 | CP-R13 | W44/1 |  | Parameter Formula | Ca
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Calcium Reagent B | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET3 | Production
Ref Weight. | Min (mg) | Max (mg)
250 | 235 | 265
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2042 | 0691 |  |  |  |  | 2118 | 0691
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-10-01 | 2027-10-01 |  |  |  |  | 2027-11-01 | 2027-10-01
Reagent Range Min | Reagent Range Max
200 mg/L | 600 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-29 | 2024-12-10 | 2 HEAD |  |  | 0631
[6 empty] | Expiration A | Expiration B | Expiration D
2026-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-741 | HI97115 | CTO-708
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780 | HI801 | CTO-618
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
5 | 550 | 517 | 584 |  | MR60 |  | 6 | & | 5% | 100% |  | 9.9 | 9.8 | 10.0
1 | 300 | 279 | 321 | [8 empty] | 9.9 | 9.8 | 10.0
2 | 400 | 374 | 426
3 | 500 | 469 | 531
4 | 250 | 232 | 269
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
5 | 550 | 10 | Valid | 2024-10-30 | 8:45 | 2024-10-29 | 20:38 | ERIKA |  |  |  | / | /
1 | 300 | 11 | Old B | 2024-10-30 | 8:45 | 2024-10-29 | 20:38 | ERIKA |  |  |  | / | /
1 | 300 | 12 | Old B | 2024-10-30 | 8:45 | 2024-10-29 | 20:38 | ERIKA |  |  |  | / | /
2 | 400 | 13 | Old B | 2024-10-30 | 8:45 | 2024-10-29 | 20:38 | ERIKA |  |  |  | / | /
2 | 400 | 14 | Old B | 2024-10-30 | 8:45 | 2024-10-29 | 20:38 | ERIKA |  |  |  | / | /
3 | 500 | 15 | Old B | 2024-10-30 | 8:50 | 2024-10-29 | 20:38 | ERIKA |  |  |  | / | /
4 | 250 | 16 | Old B | 2024-10-30 | 8:50 | 2024-10-29 | 20:38 | ERIKA |  |  |  | / | /
5 | 550 | 17 | Old B | 2024-10-30 | 8:50 | 2024-10-29 | 20:38 | ERIKA |  |  |  | / | /
5 | 550 | 18 | Old B | 2024-10-30 | 9:00 | 2024-10-29 | 20:38 | ERIKA |  |  |  | / | /
4 | 250 | 10 | P/Final | 2024-12-10 | 12:37 | 2024-12-10 | 12:11 | ROLAND |  | 252 | 252 | / | / |  |  |  |  | 0.45 | 342 | 1 | Kinga |  | 3 | 4 | 94506
4 | 250 | 11 | P/Final | 2024-12-10 | 12:37 | 2024-12-10 | 12:11 | ROLAND |  | 254 | 255 | / | / |  |  |  |  | 3.55 | 344 | 1 | Kinga |  | 3 | 4 | 94506
1 | 300 | 12 | P/Final | 2024-12-10 | 12:43 | 2024-12-10 | 12:11 | ROLAND |  | 301 | 301 | / | / |  |  |  |  | 5.40 | 354 | 1 | Kinga |  | 3 | 1 | 94506
1 | 300 | 13 | P/Final | 2024-12-10 | 12:43 | 2024-12-10 | 12:11 | ROLAND |  | 304 | 304 | / | / |  |  |  |  | 6.64 | 350 | 1 | Kinga |  | 3 | 1 | 94506
2 | 400 | 14 | P/Final | 2024-12-10 | 12:51 | 2024-12-10 | 12:11 | ROLAND |  | 410 | 412 | / | / |  |  |  |  | 7.74 | 343 | 1 | Kinga |  | 3 | 2 | 94506
2 | 400 | 15 | P/Final | 2024-12-10 | 12:51 | 2024-12-10 | 12:11 | ROLAND |  | 413 | 413 | / | / |  |  |  |  | 2.97 | 362 | 1 | Kinga |  | 3 | 2 | 94506
3 | 500 | 16 | P/Final | 2024-12-10 | 12:53 | 2024-12-10 | 12:11 | ROLAND |  | 497 | 497 | / | / |  |  |  |  | 6.92 |  | 1 | Kinga |  | 3 | 3 | 94506
3 | 500 | 17 | P/Final | 2024-12-10 | 12:53 | 2024-12-10 | 12:11 | ROLAND |  | 498 | 498 | / | / |  |  |  |  | 4.64 |  | 1 | Kinga |  | 3 | 3 | 94506
5 | 550 | 18 | P/Final | 2024-12-10 | 13:01 | 2024-12-10 | 12:11 | ROLAND |  | 522 | 522 | / | / |  |  |  |  | 4.52 |  | 1 | Kinga |  | 3 | 5 | 94506
5 | 550 | 19 | P/Final | 2024-12-10 | 13:01 | 2024-12-10 | 12:11 | ROLAND |  | 522 | 522 | / | / |  |  |  |  | 4.05 |  | 1 | Kinga |  | 3 | 5 | 94506
Standard # 5
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 522 mg/L | 2 | 4 | 522 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 303 mg/L | 2 | 4 | 303 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 412 mg/L | 2 | 4 | 412 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 498 mg/L | 2 | 4 | 498 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 253 mg/L | 2 | 4 | 253 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
250 | 232 ÷ 269 | 253 | YES
300 | 279 ÷ 321 | 303 | YES
400 | 374 ÷ 426 | 412 | YES
500 | 469 ÷ 531 | 498 | YES
550 | 517 ÷ 584 | 522 | YES
Validation Date | by
2024-12-13 | Eugenia