## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
1080 | HI705B-0 | CP-R14 | W 25/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent B | 2030-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1722 | 1080 | 1070
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-03-01 | 2030-06-01 | 2030-06-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2025-06-26 | 2025-06-26 | 1 HEAD |  |  |  | 0868
[6 empty] | Expiration A | Expiration B | Expiration D
2029-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CT0-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR45 |  | 0.03 | & | 5% | 100% |  | 0.6 | 0.4 | 0.8
2 | 0.40 | 0.35 | 0.45 | [8 empty] | 2.4 | 2.3 | 2.6
3 | 1.60 | 1.49 | 1.71 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old C | 2025-06-26 | 12:10 | 2025-06-26 | 07:15 | NINA | PRECI | 0.00 | 0.01 | / | / | 0.005 |  |  |  | 1.51 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old C | 2025-06-26 | 12:10 | 2025-06-26 | 07:15 | NINA | PRECI | 0.00 | 0.01 | / | / | 0.003 |  |  |  | 0.79 |  | 1 | Kinga |  | 3 | 1
2 | 0.40 | 3 | P/FINAL | 2025-06-26 | 12:11 | 2025-06-26 | 07:15 | NINA | PRECI | 0.39 | 0.39 | / | / | 0.106 |  |  |  | 1.01 |  | 1 | Kinga |  | 3 | 2
3 | 1.60 | 4 | Old C | 2025-06-26 | 12:12 | 2025-06-26 | 07:15 | NINA | PRECI | 1.52 | 1.53 | / | / | 0.401 |  |  |  | 0.74 |  | 1 | Kinga |  | 3 | 3
3 | 1.60 | 5 | Old C | 2025-06-26 | 12:13 | 2025-06-26 | 07:15 | NINA | PRECI | 1.50 | 1.52 | / | / | 0.397 |  |  |  | 0.95 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 6 | P/FINAL | 2025-06-26 | 12:13 | 2025-06-26 | 07:15 | NINA | PRECI | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.55 | 45 | 1 | Kinga |  | 3 | 1
1 | 0.00 | 7 | P/FINAL | 2025-06-26 | 12:14 | 2025-06-26 | 07:15 | NINA | PRECI | 0.00 | 0.00 | / | / | 0.001 |  |  | 1.532 | 1.37 | 4744 | 1 | Kinga |  | 3 | 1
2 | 0.40 | 8 | P/FINAL | 2025-06-26 | 12:14 | 2025-06-26 | 07:15 | NINA | PRECI | 0.38 | 0.38 | / | / | 0.102 |  |  | 1.512 | 0.93 | 40 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 9 | P/FINAL | 2025-06-26 | 12:15 | 2025-06-26 | 07:15 | NINA | PRECI | 0.41 | 0.41 | / | / | 0.110 |  |  |  | 0.89 | 38 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 10 | P/FINAL | 2025-06-26 | 12:15 | 2025-06-26 | 07:15 | NINA | PRECI | 0.39 | 0.40 | / | / | 0.105 |  |  |  | 1.0 | 48 | 1 | Kinga |  | 3 | 2
3 | 1.60 | 11 | P/FINAL | 2025-06-26 | 12:17 | 2025-06-26 | 07:15 | NINA | PRECI | 1.55 | 1.56 | / | / | 0.409 |  |  |  | 1.56 |  | 1 | Kinga |  | 3 | 3
3 | 1.60 | 12 | Old B | 2025-06-26 | 12:18 | 2025-06-26 | 07:15 | NINA | PRECI | 1.56 | 1.57 | / | / | 0.410 |  |  |  | 2.64 |  | 1 | Kinga |  | 3 | 3
3 | 1.60 | 13 | P/FINAL | 2025-06-26 | 12:18 | 2025-06-26 | 07:15 | NINA | PRECI | 1.50 | 1.51 | / | / | 0.356 |  |  | 1.631 | 2.31 |  | 1 | Kinga |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.39 mg/L | 4 | 8 | 0.39 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 1.53 mg/L | 2 | 4 | 1.53 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.40 | 0.35 ÷ 0.45 | 0.39 | YES
1.60 | 1.49 ÷ 1.71 | 1.53 | YES
Validation Date | by
2025-07-03 | Eugenia