## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
1120 | HI705B-0 | CP-R14 | W 31/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent B | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2693 | 1120 | 0682
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-07-01 | 2030-07-01 | 2029-09-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
GIORGIANA | 2025-08-05 | 2025-08-06 | PRECI |  |  |  | 1080
[6 empty] | Expiration A | Expiration B | Expiration D
2030-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR45 |  | 0.03 | & | 5% | 100% |  | 0.6 | 0.4 | 0.8
3 | 1.60 | 1.49 | 1.71 | [8 empty] | 2.4 | 2.3 | 2.6
2 | 0.40 | 0.35 | 0.45 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old B | 2025-08-06 | 08:36 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 0.04 | 0.02 | / | / | 0.010 |  |  |  | 2.38 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old B | 2025-08-06 | 08:36 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 0.02 | 0.02 | / | / | 0.005 |  |  |  | 1.39 |  | 1 | Andrea V |  | 3 | 1
3 | 1.60 | 3 | Old B | 2025-08-06 | 08:38 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 1.58 | 1.57 | / | / | 0.416 |  |  |  | 1.94 |  | 1 | Andrea V |  | 3 | 3 | 83105
3 | 1.60 | 4 | Old B | 2025-08-06 | 08:38 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 1.59 | 1.57 | / | / | 0.418 |  |  |  | 1.63 |  | 1 | Andrea V |  | 3 | 3 | 83105
2 | 0.40 | 5 | Old B | 2025-08-06 | 08:39 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 0.39 | 0.37 | / | / | 0.106 |  |  |  | 0.78 |  | 1 | Andrea V |  | 3 | 2 | 83105
2 | 0.40 | 6 | Old B | 2025-08-06 | 08:39 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 0.41 | 0.40 | / | / | 0.112 |  |  |  | 2.19 |  | 1 | Andrea V |  | 3 | 2 | 83105
1 | 0.00 | 7 | P/FINAL | 2025-08-06 | 08:54 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 0.02 | 0.00 | / | / | 0.004 |  |  | 1.655 | 0.59 |  | 1 | Andrea V |  | 3 | 1 | 83105
1 | 0.00 | 8 | P/FINAL | 2025-08-06 | 08:54 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 0.01 | 0.00 | / | / | 0.002 |  |  |  | 0.75 |  | 1 | Andrea V |  | 3 | 1 | 83105
2 | 0.40 | 9 | P/FINAL | 2025-08-06 | 08:56 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 0.37 | 0.38 | / | / | 0.099 |  |  |  | 0.83 | 60 | 1 | Andrea V |  | 3 | 2 | 83105
2 | 0.40 | 10 | P/FINAL | 2025-08-06 | 08:56 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 0.40 | 0.37 | / | / | 0.108 |  |  | 1.712 | 1.16 | 61 | 1 | Andrea V |  | 3 | 2 | 83105
2 | 0.40 | 11 | P/FINAL | 2025-08-06 | 08:57 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 0.38 | 0.37 | / | / | 0.102 |  |  |  | 0.76 | 65 | 1 | Andrea V |  | 3 | 2 | 83105
3 | 1.60 | 12 | P/FINAL | 2025-08-06 | 08:58 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 1.62 | 1.58 | / | / | 0.425 |  |  |  | 2.90 | 61 | 1 | Andrea V |  | 3 | 3 | 83105
3 | 1.60 | 13 | P/FINAL | 2025-08-06 | 08:58 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 1.62 | 1.60 | / | / | 0.426 |  |  | 1.618 | 1.50 | 59 | 1 | Andrea V |  | 3 | 3 | 83105
3 | 1.60 | 14 | P/FINAL | 2025-08-06 | 08:59 | 2025-08-05 | 12:11 | GIORGIANA | PRECI | 1.59 | 1.57 | / | / | 0.419 |  |  |  | 0.69 |  | 1 | Andrea V |  | 3 | 3 | 83105
1 | 0.00 | 15 | P/FINAL | 2025-08-06 | 09:18 | 2025-08-06 | 06:42 | GIORGIANA | PRECI | 0.01 | 0.02 | / | / | 0.002 |  |  |  | 0.67 |  | 1 | Andrea V |  | 3 | 1 | 83105
1 | 0.00 | 16 | P/FINAL | 2025-08-06 | 09:19 | 2025-08-06 | 06:42 | GIORGIANA | PRECI | 0.04 | 0.02 | / | / | 0.009 |  |  | 1.679 | 0.43 |  | 1 | Andrea V |  | 3 | 1 | 83105
2 | 0.40 | 17 | P/FINAL | 2025-08-06 | 09:20 | 2025-08-06 | 06:42 | GIORGIANA | PRECI | 0.40 | 0.38 | / | / | 0.109 |  |  |  | 1.02 | 61 | 1 | Andrea V |  | 3 | 2 | 83105
2 | 0.40 | 18 | P/FINAL | 2025-08-06 | 09:20 | 2025-08-06 | 06:42 | GIORGIANA | PRECI | 0.38 | 0.38 | / | / | 0.104 |  |  |  | 1.72 | 59 | 1 | Andrea V |  | 3 | 2 | 83105
2 | 0.40 | 19 | P/FINAL | 2025-08-06 | 09:21 | 2025-08-06 | 06:42 | GIORGIANA | PRECI | 0.38 | 0.38 | / | / | 0.102 |  |  | 1.744 | 0.55 | 60 | 1 | Andrea V |  | 3 | 2 | 83105
3 | 1.60 | 20 | P/FINAL | 2025-08-06 | 09:21 | 2025-08-06 | 06:42 | GIORGIANA | PRECI | 1.61 | 1.60 | / | / | 0.422 |  |  |  | 2.66 | 60 | 1 | Andrea V |  | 3 | 3 | 83105
3 | 1.60 | 21 | P/FINAL | 2025-08-06 | 09:22 | 2025-08-06 | 06:42 | GIORGIANA | PRECI | 1.58 | 1.59 | / | / | 0.416 |  |  | 1.693 | 0.65 | 60 | 1 | Andrea V |  | 3 | 3 | 83105
3 | 1.60 | 22 | P/FINAL | 2025-08-06 | 09:22 | 2025-08-06 | 06:42 | GIORGIANA | PRECI | 1.57 | 1.57 | / | / | 0.413 |  |  |  | 0.94 |  | 1 | Andrea V |  | 3 | 3 | 83105
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.02 mg/L | 4 | 8 | 0.02 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1.59 mg/L | 6 | 12 | 1.59 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.38 mg/L | 6 | 12 | 0.38 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.02 | YES
0.40 | 0.35 ÷ 0.45 | 0.38 | YES
1.60 | 1.49 ÷ 1.71 | 1.59 | YES
Validation Date | by