## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
0996 | HI770C-0 | CP-R14 | W 15/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent C | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0680 | 0942 | 0996
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-09-01 | 2030-03-01 | 2030-04-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-04-23 | 2025-04-23 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 36 | 44 |  | MR82 |  | 2 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 150 | 170 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 2 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | P/FINAL | 2025-04-23 | 09:29 | 2025-04-23 | 06:36 | FLORICA |  | 40 | 38 | / | / | 0.159 |  |  | 1.127 | 2.14 | 94 | 1 | Kinga |  | 3 | 2 | 115329
3 | 160 | 2 | P/FINAL | 2025-04-23 | 09:30 | 2025-04-23 | 06:36 | FLORICA |  | 157 | 156 | / | / | 0.553 |  |  |  | 2.14 | 90 | 1 | Kinga |  | 3 | 3 | 115329
3 | 160 | 3 | P/FINAL | 2025-04-23 | 09:31 | 2025-04-23 | 06:36 | FLORICA |  | 162 | 164 | / | / | 0.571 |  |  | 1.196 | 2.26 | 95 | 1 | Kinga |  | 3 | 3 | 115329
2 | 40 | 4 | P/FINAL | 2025-04-23 | 09:32 | 2025-04-23 | 06:36 | FLORICA |  | 38 | 40 | / | / | 0.150 |  |  |  | 2.04 | 95 | 1 | Kinga |  | 3 | 2 | 115329
1 | 0 | 5 | P/FINAL | 2025-04-23 | 09:33 | 2025-04-23 | 06:36 | FLORICA |  | 0 | 0 | / | / | 0.010 |  |  |  | 1.73 | 93 | 1 | Kinga |  | 3 | 1 | 115329
1 | 0 | 6 | P/FINAL | 02025/04/23 | 09:34 | 2025-04-23 | 06:36 | FLORICA |  | 0 | 0 | / | / | 0.008 |  |  | 1.123 | 1.67 | 95 | 1 | Kinga |  | 3 | 1 | 115329
2 | 40 | 7 | Old C | 02025/04/23 | 09:39 | 2025-04-23 | 06:36 | FLORICA |  | 39 | 43 | / | / | 0.155 |  |  |  | 0.44 |  | 1 | Kinga |  | 3 | 2 | 115329
3 | 160 | 8 | Old C | 02025/04/23 | 09:39 | 2025-04-23 | 06:36 | FLORICA |  | 157 | 162 | / | / | 0.552 |  |  |  | 1.78 |  | 1 | Kinga |  | 3 | 3 | 115329
1 | 0 | 9 | Old C | 02025/04/23 | 09:39 | 2025-04-23 | 06:36 | FLORICA |  | 0 | 0 | / | / | 0.009 |  |  |  | 2.15 |  | 1 | Kinga |  | 3 | 1 | 115329
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 39 mg/L | 2 | 4 | 39 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 160 mg/L | 2 | 4 | 160 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 2 | 0 | YES
40 | 36 ÷ 44 | 39 | YES
160 | 150 ÷ 170 | 160 | YES
Validation Date | by
2025-04-29 | Eugenia