## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
1080 | HI770C-0 | CP-R14 | W 25/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent C | 2030-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1000 | 1044 | 1080
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-04-01 | 2030-05-01 | 2030-06-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-06-26 | 2025-07-01 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 2 |  | MR82 |  | 2 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
2 | 40 | 36 | 44 | [8 empty] | 1.0 | 0.8 | 1.2
3 | 160 | 150 | 170 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old C | 2025-07-01 | 11:56 | 2025-07-01 | 11:07 | ELENA |  | 0 | 0 | / | / | 0.009 |  |  |  | 6.56 |  | 1 | Andrea V |  | 3 | 1 | 10643
1 | 0 | 2 | Old C | 2025-07-01 | 11:56 | 2025-07-01 | 11:07 | ELENA |  | 0 | 0 | / | / | 0.007 |  |  |  | 1.72 |  | 1 | Andrea V |  | 3 | 1 | 10643
2 | 40 | 3 | Old C | 2025-07-01 | 12:03 | 2025-07-01 | 11:07 | ELENA |  | 35 | 34 | / | / | 0.140 |  |  |  | 1.43 |  | 1 | Andrea V |  | 3 | 2 | 10643
2 | 40 | 4 | Old C | 2025-07-01 | 12:04 | 2025-07-01 | 11:07 | ELENA |  | 36 | 36 | / | / | 0.145 |  |  |  | 2.00 |  | 1 | Andrea V |  | 3 | 2 | 10643
3 | 160 | 5 | Old C | 2025-07-01 | 12:07 | 2025-07-01 | 11:07 | ELENA |  | 150 | 152 | / | / | 0.526 |  |  |  | 1.66 |  | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 6 | Old C | 2025-07-01 | 12:08 | 2025-07-01 | 11:07 | ELENA |  | 146 | 150 | / | / | 0.518 |  |  |  | 1.76 |  | 1 | Andrea V |  | 3 | 3 | 10643
1 | 0 | 7 | P/FINAL | 2025-07-01 | 12:15 | 2025-07-01 | 11:07 | ELENA |  | 0 | 0 | / | / | 0.008 | 1.279 |  |  | 1.42 |  | 1 | Andrea V |  | 3 | 1 | 10643
1 | 0 | 8 | P/FINAL | 2025-07-01 | 12:17 | 2025-07-01 | 11:07 | ELENA |  | 0 | 0 | / | / | 0.009 |  |  |  | 1.47 |  | 1 | Andrea V |  | 3 | 1 | 10643
3 | 160 | 9 | P/FINAL | 2025-07-01 | 12:23 | 2025-07-01 | 11:07 | ELENA |  | 150 | 151 | / | / | 0.528 | 1.300 |  |  | 1.39 | 80 | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 10 | P/FINAL | 2025-07-01 | 12:23 | 2025-07-01 | 11:07 | ELENA |  | 145 | 156 | / | / | 0.514 |  |  |  | 1.32 | 61 | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 11 | P/FINAL | 2025-07-01 | 12:24 | 2025-07-01 | 11:07 | ELENA |  | 148 | 152 | / | / | 0.524 |  |  |  | 1.43 | 64 | 1 | Andrea V |  | 3 | 3 | 10643
2 | 40 | 12 | P/FINAL | 2025-07-01 | 12:30 | 2025-07-01 | 11:07 | ELENA |  | 40 | 36 | / | / | 0.159 | 1.291 |  |  | 1.79 | 67 | 1 | Andrea V |  | 3 | 2 | 10643
2 | 40 | 13 | P/FINAL | 2025-07-01 | 12:31 | 2025-07-01 | 11:07 | ELENA |  | 36 | 44 | / | / | 0.143 |  |  |  | 1.78 | 70 | 1 | Andrea V |  | 3 | 2 | 10643
2 | 40 | 14 | P/FINAL | 2025-07-01 | 12:32 | 2025-07-01 | 11:07 | ELENA |  | 36 | 38 | / | / | 0.144 |  |  |  | 1.53 | 86 | 1 | Andrea V |  | 3 | 2 | 10643
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 38 mg/L | 3 | 6 | 38 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 150 mg/L | 3 | 6 | 150 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 2 | 0 | YES
40 | 36 ÷ 44 | 38 | YES
160 | 150 ÷ 170 | 150 | YES
Validation Date | by
2025-07-03 | Eugenia