## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
0676 | HI93705B-0 | CP-R14 | W37/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica Reagent B | 2029-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
HI93705A-0 |  | 0346
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-05-01 |  | 2028-11-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-09-10 | 2024-09-17 | 1 HEAD |  |  |  | 0564
[6 empty] | Expiration A | Expiration B | Expiration D
2029-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.37 | 0.43 |  | MR45 |  | 0.03 | & | 1% | 95% |  | 0.6 | 0.4 | 0.8
3 | 1.60 | 1.55 | 1.65 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old B | 2024-09-12 | 15:15 | 2024-09-10 | 15:24 | ERIKA |  | 0.40 | 0.38 | / | / | 0.109 |  |  |  | 2.15 |  | 1 | Brigitta P |  | 3 | 2
2 | 0.40 | 2 | Valid | 2024-09-12 | 15:16 | 2024-09-10 | 15:24 | ERIKA |  | 0.43 | 0.44 | / | / | 0.117 |  |  |  | 1.30 |  | 1 | Brigitta P |  | 3 | 2
2 | 0.40 | 3 | Valid | 2024-09-12 | 15:16 | 2024-09-10 | 15:24 | ERIKA |  | 0.40 | 0.39 | / | / | 0.107 |  |  |  | 0.96 |  | 1 | Brigitta P |  | 3 | 2
3 | 1.60 | 4 | Old B | 2024-09-12 | 15:30 | 2024-09-10 | 15:24 | ERIKA |  | 1.56 | 1.59 | / | / | 0.410 | [5 empty] | 1 | Brigitta P |  | 3 | 2
3 | 1.60 | 5 | Valid | 2024-09-12 | 15:30 | 2024-09-10 | 15:24 | ERIKA |  | 1.62 | 1.61 | / | / | 0.426 |  |  |  | 0.89 |  | 1 | Brigitta P |  | 3 | 2
3 | 1.60 | 6 | Valid | 2024-09-12 | 15:30 | 2024-09-10 | 15:24 | ERIKA |  | 1.62 | 1.61 | / | / | 0.426 |  |  |  | 1.55 |  | 1 | Brigitta P |  | 3 | 2
3 | 1.60 | 7 | Valid | 2024-09-12 | 15:35 | 2024-09-10 | 15:24 | ERIKA |  | 2.00 | 2.00 | / | / |  |  |  |  | 1.45 |  | 1 | Brigitta P |  | 3 | 2
1 | 0.00 | 8 | Valid | 2024-09-12 | 15:45 | 2024-09-10 | 15:24 | ERIKA |  | 0.03 | 0.02 | / | / | 0.005 |  |  |  | 0.72 |  | 1 | Brigitta P |  | 3 | 2
1 | 0.00 | 9 | Valid | 2024-09-12 | 15:45 | 2024-09-10 | 15:24 | ERIKA |  | 0.00 | 0.00 | / | / | 0.000 |  |  |  | 0.50 |  | 1 | Brigitta P |  | 3 | 2
1 | 0.00 | 10 | Valid | 2024-09-12 | 15:50 | 2024-09-10 | 15:24 | ERIKA |  | 2.00 | 2.00 | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 2
2 | 0.40 | 11 | P/Final | 2024-09-17 | 08:44 | 2024-09-16 | 15:04 | FLORICA | PRECI | 0.37 | 0.37 | / | / | 0.100 |  |  |  | 1.20 |  | 1 | Brigitta P |  | 3 | 2 | 83941
2 | 0.40 | 12 | P/Final | 2024-09-17 | 08:44 | 2024-09-16 | 15:04 | FLORICA | PRECI | 0.37 | 0.37 | / | / | 0.100 |  |  |  | 1.20 |  | 1 | Brigitta P |  | 3 | 2 | 83941
2 | 0.40 | 13 | P/Final | 2024-09-17 | 08:45 | 2024-09-16 | 15:04 | FLORICA | PRECI | 0.41 | 0.40 | / | / | 0.110 |  |  |  | 1.24 |  | 1 | Brigitta P |  | 3 | 2 | 83941
3 | 1.60 | 14 | P/Final | 2024-09-17 | 08:46 | 2024-09-16 | 15:04 | FLORICA | PRECI | 1.56 | 1.57 | / | / | 0.410 |  |  |  | 1.69 |  | 1 | Brigitta P |  | 3 | 3 | 83941
3 | 1.60 | 15 | P/Final | 2024-09-17 | 08:47 | 2024-09-16 | 15:04 | FLORICA | PRECI | 1.58 | 1.61 | / | / | 0.416 |  |  |  | 1.55 |  | 1 | Brigitta P |  | 3 | 3 | 83941
3 | 1.60 | 16 | P/Final | 2024-09-17 | 9:00 | 2024-09-16 | 15:04 | FLORICA | PRECI | 1.56 | 1.57 | / | / | 0.411 |  |  |  | 1.65 |  | 1 | Brigitta P |  | 3 | 3 | 83941
2 | 0.40 | 17 | Old B | 2024-09-17 | 9:00 | 2024-09-16 | 15:04 | FLORICA | PRECI | 0.40 | 0.41 | / | / | 0.107 |  |  |  | 2.12 |  | 1 | Brigitta P |  | 3 | 3 | 83941
2 | 0.40 | 18 | Old B | 2024-09-17 | 9:00 | 2024-09-16 | 15:04 | FLORICA | PRECI | 0.40 | 0.41 | / | / | 0.107 |  |  |  | 2.02 |  | 1 | Brigitta P |  | 3 | 3 | 83941
3 | 1.60 | 19 | Old B | 2024-09-17 | 9:00 | 2024-09-16 | 15:04 | FLORICA | PRECI | 1.54 | 1.55 | / | / | 0.405 |  |  |  | 2.00 |  | 1 | Brigitta P |  | 3 | 3 | 83941
3 | 1.60 | 20 | Old B | 2024-09-17 | 9:00 | 2024-09-16 | 15:04 | FLORICA | PRECI | 1.59 | 1.60 | / | / | 0.418 |  |  |  | 0.94 |  | 1 | Brigitta P |  | 3 | 3 | 83941
1 | 0.00 | 21 | P/Final | 2024-09-17 | 09:06 | 2024-09-16 | 15:04 | FLORICA | PRECI | 0.03 | 0.05 | / | / | 0.008 | [5 empty] | 1 | Brigitta P |  | 3 | 1 | 83941
1 | 0.00 | 22 | P/Final | 2024-09-17 | 09:07 | 2024-09-16 | 15:04 | FLORICA | PRECI | 0.01 | 0.01 | / | / | 0.002 | [5 empty] | 1 | Brigitta P |  | 3 | 1 | 83941
1 | 0.00 | 23 | Old B | 2024-09-17 | 09:07 | 2024-09-16 | 15:04 | FLORICA | PRECI | 0.00 | 0.00 | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 1 | 83941
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.38 mg/L | 3 | 6 | 0.38 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.58 mg/L | 3 | 6 | 1.58 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.03 mg/L | 2 | 4 | 0.03 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.03 | YES
0.40 | 0.37 ÷ 0.43 | 0.38 | YES
1.60 | 1.55 ÷ 1.65 | 1.58 | YES
Validation Date | by