## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
0796 | HI93705B-0 | CP-R14 | W45/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica Reagent B | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
HI93705A-0 | HI93705B-0 | HI93705C-0
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-10-01 | 2029-11-01 | 2029-04-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-11-13 | 2024-11-13 | PRECI |  |  |  | 0730
[6 empty] | Expiration A | Expiration B | Expiration D
2029-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.37 | 0.43 |  | MR45 |  | 0.03 | & | 1% | 95% |  | 0.6 | 0.4 | 0.8
3 | 1.60 | 1.55 | 1.65 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Valid | 2024-11-05 | 15:01 | 2024-11-05 | 12:34 | ERIKA |  | 0.42 | 0.43 | / | / | 0.115 |  |  | 1.71 | 0.86 |  | 1 | Kinga |  | 3 | 2 | 83941
2 | 0.40 | 2 | Valid | 2024-11-05 | 15:02 | 2024-11-05 | 12:34 | ERIKA |  | 0.42 | 0.43 | / | / | 0.116 |  |  | 1.70 | 1.27 |  | 1 | Kinga |  | 3 | 2 | 83941
2 | 0.40 | 3 | Valid | 2024-11-05 | 15:04 | 2024-11-05 | 12:34 | ERIKA |  | 0.42 | 0.41 | / | / | 0.113 |  |  | 1.47 | 0.38 |  | 1 | Kinga |  | 3 | 2 | 83941
3 | 1.60 | 4 | Valid | 2024-11-05 | 15:05 | 2024-11-05 | 12:34 | ERIKA |  | 1.60 | 1.58 | / | / | 0.420 |  |  | 1.35 | 0.38 |  | 1 | Kinga |  | 3 | 3 | 83941
3 | 1.60 | 5 | Valid | 2024-11-05 | 15:06 | 2024-11-05 | 12:34 | ERIKA |  | 1.60 | 1.60 | / | / | 0.421 |  |  | 1.40 | 0.82 |  | 1 | Kinga |  | 3 | 3 | 83941
3 | 1.60 | 6 | Valid | 2024-11-05 | 15:06 | 2024-11-05 | 12:34 | ERIKA |  | 1.62 | 1.61 | / | / | 0.426 |  |  | 1.46 | 0.76 |  | 1 | Kinga |  | 3 | 3 | 83941
1 | 0.00 | 7 | Valid | 2024-11-05 | 15:21 | 2024-11-05 | 12:34 | ERIKA |  | 0.01 | 0.02 | / | / | 0.002 |  |  |  | 0.76 |  | 1 | Kinga |  | 3 | 1 | 83941 | Standard verificat cu lotul anterior de Hi93705b-0
1 | 0.00 | 8 | Valid | 2024-11-05 | 15:22 | 2024-11-05 | 12:34 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.32 |  | 1 | Kinga |  | 3 | 1 | 83941
2 | 0.40 | 9 | Old A | 2024-11-14 | 12:55 | 2024-11-14 | 19:40 | FLORICA |  | 0.42 | 0.43 | / | / | 0.113 |  |  |  | 1.75 |  | 1 | Brigitta P |  | 3 | 2 | 31504
2 | 0.40 | 10 | P/Final | 2024-11-14 | 12:55 | 2024-11-14 | 19:40 | FLORICA |  | 0.41 | 0.42 | / | / | 0.110 |  |  |  | 2.17 |  | 1 | Brigitta P |  | 3 | 2 | 31504
2 | 0.40 | 11 | P/Final | 2024-11-14 | 12:56 | 2024-11-14 | 19:40 | FLORICA |  | 0.42 | 0.42 | / | / | 0.113 |  |  |  | 2.31 |  | 1 | Brigitta P |  | 3 | 2 | 31504
3 | 1.60 | 12 | Old A | 2024-11-14 | 12:56 | 2024-11-14 | 19:40 | FLORICA |  | 1.59 | 1.64 | / | / | 0.382 |  |  |  | 2.64 |  | 1 | Brigitta P |  | 3 | 3 | 31504
3 | 1.60 | 13 | P/Final | 2024-11-14 | 12:57 | 2024-11-14 | 19:40 | FLORICA |  | 1.56 | 1.56 | / | / | 0.410 |  |  |  | 4.04 |  | 1 | Brigitta P |  | 3 | 3 | 31504
3 | 1.60 | 14 | P/Final | 2024-11-14 | 12:57 | 2024-11-14 | 19:40 | FLORICA |  | 1.56 | 1.57 | / | / | 0.410 |  |  |  | 2.11 |  | 1 | Brigitta P |  | 3 | 3 | 31504
1 | 0.00 | 15 | Old A | 2024-11-14 | 12:58 | 2024-11-14 | 19:40 | FLORICA |  | 0.02 | 0.02 | / | / | 0.004 |  |  |  | 1.50 |  | 1 | Brigitta P |  | 3 | 1 | 31504
1 | 0.00 | 16 | P/Final | 2024-11-14 | 12:59 | 2024-11-14 | 19:40 | FLORICA |  | 0.03 | 0.03 | / | / | 0.008 |  |  |  | 0.90 |  | 1 | Brigitta P |  | 3 | 1 | 31504
1 | 0.00 | 17 | P/Final | 2024-11-14 | 12:59 | 2024-11-14 | 19:40 | FLORICA |  | 0.02 | 0.02 | / | / | 0.005 |  |  |  | 1.63 |  | 1 | Brigitta P |  | 3 | 1 | 31504
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.42 mg/L | 2 | 4 | 0.42 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 1.56 mg/L | 2 | 4 | 1.56 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.03 mg/L | 2 | 4 | 0.03 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.03 | YES
0.40 | 0.37 ÷ 0.43 | 0.42 | YES
1.60 | 1.55 ÷ 1.65 | 1.56 | YES
Validation Date | by