## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
0868 | HI93705B-0 | CP-R14 | W 49 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica Reagent B | 2029-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1436 | 0868 | 0540
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-11-01 | 2029-12-01 | 2029-04-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-11 | 2024-12-13 | PRECI |  |  |  | 0676
[6 empty] | Expiration A | Expiration B | Expiration D
2029-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.37 | 0.43 |  | MR45 |  | 0.03 | & | 1% | 95% |  | 0.6 | 0.4 | 0.8
3 | 1.60 | 1.55 | 1.65 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97705 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old B | 2024-12-06 | 20:56 | 2024-12-06 | 09:16 | ERIKA |  | 0.37 | 0.37 | / | / | 0.101 |  |  |  | 2.72 |  | 1 | Kinga |  | 3 | 2 | 31504
3 | 1.60 | 2 | Old B | 2024-12-06 | 20:56 | 2024-12-06 | 09:16 | ERIKA |  | 1.59 | 1.59 | / | / | 0.418 |  |  |  | 2.88 |  | 1 | Kinga |  | 3 | 3 | 31504
1 | 0.00 | 3 | Old B | 2024-12-06 | 20:57 | 2024-12-06 | 09:16 | ERIKA |  | 0.01 | 0.01 | / | / | 0.009 |  |  |  | 1.77 |  | 1 | Kinga |  | 3 | 1 | 31504
2 | 0.40 | 4 | Valid | 2024-12-06 | 21:08 | 2024-12-06 | 09:16 | ERIKA |  | 0.38 | 0.37 | / | / | 0.103 |  |  |  | 3.42 |  | 1 | Kinga |  | 3 | 2 | 31504
2 | 0.40 | 5 | Valid | 2024-12-06 | 21:10 | 2024-12-06 | 09:16 | ERIKA |  | 0.38 | 0.39 | / | / | 0.099 | 1.413 |  |  | 1.11 |  | 1 | Kinga |  | 3 | 2 | 31504
1 | 0.00 | 6 | Valid | 2024-12-06 | 21:12 | 2024-12-06 | 09:16 | ERIKA |  | 0.01 | 0.01 | / | / | 0.002 |  |  |  | 0.10 |  | 1 | Kinga |  | 3 | 1 | 31504
1 | 0.00 | 7 | Valid | 2024-12-06 | 21:13 | 2024-12-06 | 09:16 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 | 1.388 |  |  | 0.12 |  | 1 | Kinga |  | 3 | 1 | 31504
3 | 1.60 | 8 | Valid | 2024-12-06 | 21:22 | 2024-12-06 | 09:16 | ERIKA |  | 1.58 | 1.59 | / | / | 0.417 | 1.407 |  |  | 2.69 |  | 1 | Kinga |  | 3 | 3 | 31504
3 | 1.60 | 9 | Valid | 2024-12-06 | 21:22 | 2024-12-06 | 09:16 | ERIKA |  | 1.59 | 1.58 | / | / | 0.417 | 1.483 |  |  | 1.81 |  | 1 | Kinga |  | 3 | 3 | 31504
2 | 0.40 | 10 | P/Final | 2024-12-13 | 08:50 | 2024-12-12 | 12:31 | NINA | PRECI | 0.39 | 0.40 | / | / | 0.106 |  |  |  | 0.82 | 64 | 1 | Brigitta P |  | 3 | 2 | 110430
2 | 0.40 | 11 | P/Final | 2024-12-13 | 08:51 | 2024-12-12 | 12:31 | NINA | PRECI | 0.37 | 0.37 | / | / | 0.101 |  |  | 1.476 | 0.47 | 87 | 1 | Brigitta P |  | 3 | 2 | 110430
1 | 0.00 | 12 | P/Final | 2024-12-13 | 08:51 | 2024-12-12 | 12:31 | NINA | PRECI | 0.01 | 0.01 | / | / | 0.001 |  |  | 1.429 | 0.76 | 70 | 1 | Brigitta P |  | 3 | 1 | 110430
3 | 1.60 | 13 | P/Final | 2024-12-13 | 08:52 | 2024-12-12 | 12:31 | NINA | PRECI | 1.54 | 1.55 | / | / | 0.47 |  |  |  | 1.37 |  | 1 | Brigitta P |  | 3 | 3 | 110430
3 | 1.60 | 14 | P/Final | 2024-12-13 | 08:53 | 2024-12-12 | 12:31 | NINA | PRECI | 1.55 | 1.56 | / | / | 0.409 |  |  | 1.387 | 1.35 | 71 | 1 | Brigitta P |  | 3 | 3 | 110430
2 | 0.40 | 15 | P/Final | 2024-12-13 | 08:55 | 2024-12-12 | 14:27 | FLORICA | PRECI | 0.37 | 0.39 | / | / | 0.101 |  |  |  | 0.29 |  | 1 | Brigitta P |  | 3 | 2 | 110430
2 | 0.40 | 16 | P/Final | 2024-12-13 | 08:55 | 2024-12-12 | 14:27 | FLORICA | PRECI | 0.37 | 0.36 | / | / | 0.100 |  |  |  | 0.50 | 66 | 1 | Brigitta P |  | 3 | 2 | 110430
3 | 1.60 | 17 | P/Final | 2024-12-13 | 08:56 | 2024-12-12 | 14:27 | FLORICA | PRECI | 1.55 | 1.55 | / | / | 0.408 |  |  |  | 1.15 | 66 | 1 | Brigitta P |  | 3 | 3 | 110430
3 | 1.60 | 18 | P/Final | 2024-12-13 | 08:57 | 2024-12-12 | 14:27 | FLORICA | PRECI | 1.55 | 1.55 | / | / | 0.408 |  |  | 1.455 | 1.00 | 69 | 1 | Brigitta P |  | 3 | 3 | 110430
1 | 0.00 | 19 | P/Final | 2024-12-13 | 08:58 | 2024-12-12 | 14:27 | FLORICA | PRECI | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.67 |  | 1 | Brigitta P |  | 3 | 1 | 110430
3 | 1.60 | 20 | P/Final | 2024-12-13 | 09:14 | 2024-12-13 | 07:26 | NINA | PRECI | 1.61 | 1.59 | / | / | 0.424 |  |  | 1.487 | 0.67 | 58 | 1 | Brigitta P |  | 3 | 3 | 110430
3 | 1.60 | 21 | P/Final | 2024-12-13 | 09:15 | 2024-12-13 | 07:26 | NINA | PRECI | 1.62 | 1.60 | / | / | 0.425 |  |  | 1.495 | 1.13 | 49 | 1 | Brigitta P |  | 3 | 3 | 110430
2 | 0.40 | 22 | P/Final | 2024-12-13 | 09:16 | 2024-12-13 | 07:26 | NINA | PRECI | 0.38 | 0.39 | / | / | 0.102 |  |  | 1.535 | 0.60 | 50 | 1 | Brigitta P |  | 3 | 2 | 110430
2 | 0.40 | 23 | P/Final | 2024-12-13 | 09:17 | 2024-12-13 | 07:26 | NINA | PRECI | 0.38 | 0.39 | / | / | 0.102 |  |  | 1.467 | 1.07 | 58 | 1 | Brigitta P |  | 3 | 2 | 110430
1 | 0.00 | 24 | P/Final | 2024-12-13 | 09:18 | 2024-12-13 | 07:26 | NINA | PRECI | 0.00 | 0.02 | / | / | -0.002 |  |  |  | 0.64 |  | 1 | Brigitta P |  | 3 | 1 | 110430
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.38 mg/L | 6 | 12 | 0.38 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1.57 mg/L | 6 | 12 | 1.57 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.01 mg/L | 3 | 6 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
0.40 | 0.37 ÷ 0.43 | 0.38 | YES
1.60 | 1.55 ÷ 1.65 | 1.57 | YES
Validation Date | by