## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
0996 | HI93705B-0 | CP-R14 | W15/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent B | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2090 | 0868 | 0996
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-10-01 | 2029-12-01 | 2030-04-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | 2025-04-10 | 2025-04-24 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.36 | 0.44 |  | MR45 |  | 0.03 | & | 3% | 100% |  | 0.6 | 0.4 | 0.8
3 | 1.63 | 1.55 | 1.71 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Valid | 2025-04-11 | 13:08 | 2025-04-11 |  | ERIKA/MARK |  | 0.43 | 0.40 | / | / | 0.116 |  |  |  | 0.79 |  | 1 | Brigitta P |  | 3 | 2 | 124111
2 | 0.40 | 2 | Valid | 2025-04-11 | 13:09 | 2025-04-11 |  | ERIKA/MARK |  | 0.43 | 0.43 | / | / | 0.117 |  |  | 1.434 | 1.20 |  | 1 | Brigitta P |  | 3 | 2 | 124111
2 | 0.40 | 3 | Valid | 2025-04-11 | 13:10 | 2025-04-11 |  | ERIKA/MARK |  | 0.44 | 0.43 | / | / | 0.118 |  |  |  | 1.37 |  | 1 | Brigitta P |  | 3 | 2 | 124111
2 | 0.40 | 4 | Valid | 2025-04-11 | 13:10 | 2025-04-11 |  | ERIKA/MARK |  | 0.44 | 0.44 | / | / | 0.119 |  |  |  | 1.05 |  | 1 | Brigitta P |  | 3 | 2 | 124111
3 | 1.63 | 5 | Valid | 2025-04-11 | 13:49 | 2025-04-11 | 15:09 | ERIKA/MARK |  | 1.61 | 1.58 | / | / | 0.422 |  |  | 1.402 | 1.40 |  | 1 | Brigitta P |  | 3 | 3 | 124111
3 | 1.63 | 6 | Valid | 2025-04-11 | 13:50 | 2025-04-11 | 15:09 | ERIKA/MARK |  | 1.61 | 1.58 | / | / | 0.423 |  |  |  | 1.29 |  | 1 | Brigitta P |  | 3 | 3 | 124111
3 | 1.63 | 7 | Valid | 2025-04-11 | 13:51 | 2025-04-11 | 15:09 | ERIKA/MARK |  | 1.55 | 1.55 | / | / | 0.409 |  |  |  | 0.94 |  | 1 | Brigitta P |  | 3 | 3 | 124111
3 | 1.63 | 8 | Old B | 2025-04-11 | 13:51 | 2025-04-11 | 15:09 | ERIKA/MARK |  | 1.62 | 1.59 | / | / | 0.426 |  |  |  | 1.61 |  | 1 | Brigitta P |  | 3 | 3 | 124111
1 | 0.00 | 9 | Valid | 2025-04-11 | 13:52 | 2025-04-11 | 15:09 | ERIKA/MARK |  | 0.03 | 0.02 | / | / | 0.008 |  |  | 1.463 | 0.49 |  | 1 | Brigitta P |  | 3 | 1 | 124111
1 | 0.00 | 10 | Valid | 2025-04-11 | 13:53 | 2025-04-11 | 15:09 | ERIKA/MARK |  | 0.03 | 0.01 | / | / | 0.008 |  |  |  | 0.86 |  | 1 | Brigitta P |  | 3 | 1 | 124111
2 | 0.40 | 11 | Old B | 2025-04-24 | 06:35 | 2025-04-23 | 15:48 | NINA | PRECI | 0.41 | 0.39 | / | / | 0.110 |  |  |  | 0.46 |  | 1 | Brigitta P |  | 3 | 2 | 124111
2 | 0.40 | 12 | Old B | 2025-04-24 | 06:35 | 2025-04-23 | 15:48 | NINA | PRECI | 0.41 | 0.39 | / | / | 0.110 |  |  |  | 0.40 |  | 1 | Brigitta P |  | 3 | 2 | 124111
2 | 0.40 | 13 | P/FINAL | 2025-04-24 | 06:36 | 2025-04-23 | 15:48 | NINA | PRECI | 0.41 | 0.39 | / | / | 0.111 |  |  |  | 0.40 |  | 1 | Brigitta P |  | 3 | 2 | 124111
2 | 0.40 | 14 | P/FINAL | 2025-04-24 | 06:36 | 2025-04-23 | 15:48 | NINA | PRECI | 0.41 | 0.43 | / | / | 0.112 |  |  |  | 0.48 |  | 1 | Brigitta P |  | 3 | 2 | 124111
2 | 0.40 | 15 | P/FINAL | 2025-04-24 | 06:36 | 2025-04-23 | 15:48 | NINA | PRECI | 0.42 | 0.43 | / | / | 0.113 |  |  | 1.564 | 0.50 | 48 | 1 | Brigitta P |  | 3 | 2 | 124111
2 | 0.40 | 16 | P/FINAL | 2025-04-24 | 06:37 | 2025-04-23 | 15:48 | NINA | PRECI | 0.42 | 0.43 | / | / | 0.113 |  |  |  | 0.44 | 41 | 1 | Brigitta P |  | 3 | 2 | 124111
3 | 1.63 | 17 | Old B | 2025-04-24 | 6:35 | 2025-04-23 | 15:48 | NINA | PRECI | 1.62 | 1.59 | / | / | 0.426 |  |  |  | 1.44 |  | 1 | Brigitta P |  | 3 | 2 | 124111
3 | 1.63 | 18 | Old B | 2025-04-24 | 6:35 | 2025-04-23 | 15:48 | NINA | PRECI | 1.55 | 1.55 | / | / | 0.408 |  |  | 1.550 | 0.77 |  | 1 | Brigitta P |  | 3 | 2 | 124111
3 | 1.63 | 19 | Old B | 2025-04-24 | 6:35 | 2025-04-23 | 15:48 | NINA | PRECI | 1.56 | 1.53 | / | / | 0.410 |  |  |  | 0.89 | 51 | 1 | Brigitta P |  | 3 | 2 | 124111
3 | 1.63 | 20 | Old B | 2025-04-24 | 6:35 | 2025-04-23 | 15:48 | NINA | PRECI | 1.56 | 1.55 | / | / | 0.412 |  |  |  | 0.72 | 49 | 1 | Brigitta P |  | 3 | 2 | 124111
1 | 0.00 | 21 | Old B | 2025-04-24 | 06:43 | 2025-04-23 | 15:48 | NINA | PRECI | 0.02 | 0.02 | / | / | 0.006 |  |  |  | 0.53 |  | 1 | Brigitta P |  | 3 | 1 | 124111
1 | 0.00 | 22 | P/FINAL | 2025-04-24 | 06:44 | 2025-04-23 | 15:48 | NINA | PRECI | 0.03 | 0.02 | / | / | 0.007 |  |  | 1.485 | 0.53 |  | 1 | Brigitta P |  | 3 | 1 | 124111
1 | 0.00 | 23 | P/FINAL | 2025-04-24 | 06:45 | 2025-04-23 | 15:48 | NINA | PRECI | 0.03 | 0.03 | / | / | 0.007 |  |  |  | 0.56 | 51 | 1 | Brigitta P |  | 3 | 1 | 124111
2 | 0.40 | 24 | P/FINAL | 2025-04-24 | 08:30 | 2025-04-24 | 06:58 | FLORICA | PRECI | 0.41 | 0.42 | / | / | 0.112 |  |  | 1.532 | 1.51 | 55 | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 25 | P/FINAL | 2025-04-24 | 08:30 | 2025-04-24 | 06:58 | FLORICA | PRECI | 0.41 | 0.41 | / | / | 0.111 |  |  |  | 1.60 | 61 | 1 | Kinga |  | 3 | 2 | 124111
3 | 1.63 | 26 | P/FINAL | 2025-04-24 | 08:32 | 2025-04-24 | 06:58 | FLORICA | PRECI | 1.56 | 1.58 | / | / | 0.412 |  |  | 1.552 | 2.68 |  | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 27 | P/FINAL | 2025-04-24 | 08:34 | 2025-04-24 | 06:58 | FLORICA | PRECI | 1.63 | 1.61 | / | / | 0.427 |  |  |  | 2.22 | 57 | 1 | Kinga |  | 3 | 3 | 124111
1 | 0.00 | 28 | P/FINAL | 2025-04-24 | 08:38 | 2025-04-24 | 06:58 | FLORICA | PRECI | 0.03 | 0.02 | / | / | 0.010 |  |  | 1.535 | 1.22 | 52 | 1 | Kinga |  | 3 | 1 | 124111
1 | 0.00 | 29 | P/FINAL | 2025-04-24 | 08:38 | 2025-04-24 | 06:58 | FLORICA | PRECI | 0.02 | 0.02 | / | / | 0.010 |  |  |  | 1.22 |  | 1 | Kinga |  | 3 | 1 | 124111
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.42 mg/L | 6 | 12 | 0.42 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 1.6 mg/L | 2 | 4 | 1.6 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.03 mg/L | 4 | 8 | 0.03 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.03 | YES
0.40 | 0.36 ÷ 0.44 | 0.42 | YES
1.63 | 1.55 ÷ 1.71 | 1.60 | YES
Validation Date | by