## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
1080 | HI93705B-0 | CP-R14 | W 25/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent B | 2030-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2090 | 1080 | 0912
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-10-01 | 2030-06-01 | 2030-02-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-06-18 | 2025-07-01 | 1 HEAD |  |  |  | 0867
[6 empty] | Expiration A | Expiration B | Expiration D
2029-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.36 | 0.44 |  | MR45 |  | 0.03 | & | 3% | 100% |  | 0.6 | 0.4 | 0.8
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 2.4 | 2.3 | 2.6
3 | 1.63 | 1.55 | 1.71 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old B | 2025-06-18 | 12:51 | 2025-06-18 | 09:57 | ERIKA |  | 0.41 | 0.42 | / | / | 0.112 |  |  |  | 1.89 |  | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 2 | Old B | 2025-06-18 | 12:56 | 2025-06-18 | 09:57 | ERIKA |  | 0.44 | 0.44 | / | / | 0.120 |  |  |  | 4.07 |  | 1 | Kinga |  | 3 | 2 | 124111
1 | 0.00 | 3 | Old B | 2025-06-18 | 12:59 | 2025-06-18 | 09:57 | ERIKA |  | 0.03 | 0.01 | / | / | 0.008 |  |  |  | 2.01 |  | 1 | Kinga |  | 3 | 1 | 124111
1 | 0.00 | 4 | Old B | 2025-06-18 | 13:01 | 2025-06-18 | 09:57 | ERIKA |  | 0.02 | 0.01 | / | / | 0.006 |  |  |  | 1.43 |  | 1 | Kinga |  | 3 | 1 | 124111
3 | 1.63 | 5 | Old B | 2025-06-18 | 13:53 | 2025-06-18 | 09:57 | ERIKA |  | 1.55 | 1.56 | / | / | 0.409 |  |  |  | 4.00 |  | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 6 | Old B | 2025-06-18 | 13:54 | 2025-06-18 | 09:57 | ERIKA |  | 1.57 | 1.58 | / | / | 0.414 |  |  |  | 3.13 |  | 1 | Kinga |  | 3 | 3 | 124111
1 | 0.00 | 7 | Valid | 2025-06-18 | 14:00 | 2025-06-18 | 09:57 | ERIKA |  | 0.04 | 0.04 | / | / | 0.011 |  |  |  | 2.08 |  | 1 | Kinga |  | 3 | 1 | 124111
1 | 0.00 | 8 | Valid | 2025-06-18 | 14:01 | 2025-06-18 | 09:57 | ERIKA |  | 0.03 | 0.03 | / | / | 0.007 | 1.634 |  |  | 1.20 |  | 1 | Kinga |  | 3 | 1 | 124111
2 | 0.40 | 9 | Valid | 2025-06-18 | 14:09 | 2025-06-18 | 09:57 | ERIKA |  | 0.43 | 0.43 | / | / | 0.116 | 1.603 |  |  | 2.51 |  | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 10 | Valid | 2025-06-18 | 14:10 | 2025-06-18 | 09:57 | ERIKA |  | 0.42 | 0.42 | / | / | 0.114 |  |  |  | 1.63 |  | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 11 | Valid | 2025-06-18 | 14:10 | 2025-06-18 | 09:57 | ERIKA |  | 0.43 | 0.42 | / | / | 0.116 |  |  |  | 0.90 |  | 1 | Kinga |  | 3 | 2 | 124111
3 | 1.63 | 12 | Valid | 2025-06-18 | 14:22 | 2025-06-18 | 09:57 | ERIKA |  | 1.56 | 1.58 | / | / | 0.412 | 1.609 |  |  | 3.17 |  | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 13 | Valid | 2025-06-18 | 14:23 | 2025-06-18 | 09:57 | ERIKA |  | 1.63 | 1.64 | / | / | 0.428 |  |  |  | 2.48 |  | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 14 | Valid | 2025-06-18 | 14:24 | 2025-06-18 | 09:57 | ERIKA |  | 1.56 | 1.57 | / | / | 0.412 |  |  |  | 1.79 |  | 1 | Kinga |  | 3 | 3 | 124111
1 | 0.00 | 15 | Old B | 2025-06-27 | 11:38 | 2025-06-27 | 06:58 | NINA |  | 0.03 | 0.02 | / | / | 0.008 |  |  |  | 2.04 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 16 | Old B | 2025-06-27 | 11:38 | 2025-06-27 | 06:58 | NINA |  | 0.07 | 0.03 | / | / | 0.017 |  |  |  | 3.14 |  | 1 | Kinga |  | 3 | 1
2 | 0.40 | 17 | Old B | 2025-06-27 | 11:39 | 2025-06-27 | 06:58 | NINA |  | 0.42 | 0.42 | / | / | 0.113 |  |  |  | 3.19 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 18 | Old B | 2025-06-27 | 11:39 | 2025-06-27 | 06:58 | NINA |  | 0.42 | 0.41 | / | / | 0.014 |  |  |  | 1.62 |  | 1 | Kinga |  | 3 | 2
3 | 1.63 | 19 | Old B | 2025-06-27 | 11:40 | 2025-06-27 | 06:58 | NINA |  | 1.62 | 1.61 | / | / | 0.426 |  |  |  | 3.07 |  | 1 | Kinga |  | 3 | 3
3 | 1.63 | 20 | Old B | 2025-06-27 | 11:40 | 2025-06-27 | 06:58 | NINA |  | 1.57 | 1.57 | / | / | 0.414 |  |  |  | 2.16 | 50 | 1 | Kinga |  | 3 | 3
1 | 0.00 | 21 | P/FINAL | 2025-06-27 | 11:41 | 2025-06-27 | 06:58 | NINA |  | 0.05 | 0.02 | / | / | 0.012 |  |  |  | 2.75 | 42 | 1 | Kinga |  | 3 | 1
1 | 0.00 | 22 | P/FINAL | 2025-06-27 | 11:41 | 2025-06-27 | 06:58 | NINA |  | 0.04 | 0.02 | / | / | 0.010 |  |  | 1.601 | 1.69 | 44 | 1 | Kinga |  | 3 | 1
2 | 0.40 | 23 | P/FINAL | 2025-06-27 | 11:42 | 2025-06-27 | 06:58 | NINA |  | 0.42 | 0.40 | / | / | 0.113 |  |  |  | 1.81 | 55 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 24 | P/FINAL | 2025-06-27 | 11:42 | 2025-06-27 | 06:58 | NINA |  | 0.42 | 0.41 | / | / | 0.115 |  |  | 1.547 | 2.66 | 52 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 25 | P/FINAL | 2025-06-27 | 11:43 | 2025-06-27 | 06:58 | NINA |  | 0.43 | 0.41 | / | / | 0.117 |  |  |  | 2.39 | 42 | 1 | Kinga |  | 3 | 2
3 | 1.63 | 26 | P/FINAL | 2025-06-27 | 11:43 | 2025-06-27 | 06:58 | NINA |  | 1.58 | 1.57 | / | / | 0.417 |  |  |  | 3.71 |  | 1 | Kinga |  | 3 | 3
3 | 1.63 | 27 | P/FINAL | 2025-06-27 | 11:44 | 2025-06-27 | 06:58 | NINA |  | 1.55 | 1.56 | / | / | 0.408 |  |  | 1.592 | 1.64 |  | 1 | Kinga |  | 3 | 3
3 | 1.63 | 28 | P/FINAL | 2025-06-27 | 11:44 | 2025-06-27 | 06:58 | NINA |  | 1.59 | 1.59 | / | / | 0.418 |  |  | 1.592 | 2.32 |  | 1 | Kinga |  | 3 | 3
2 | 0.40 | 29 | P/FINAL | 2025-06-30 | 09:23 | 2025-06-30 | 06:57 | ELENA |  | 0.36 | 0.38 | / | / | 0.096 |  |  |  | 4.33 |  | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 30 | P/FINAL | 2025-06-30 | 09:23 | 2025-06-30 | 06:57 | ELENA |  | 0.37 | 0.39 | / | / | 0.101 |  |  |  | 3.85 |  | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 31 | P/FINAL | 2025-06-30 | 09:24 | 2025-06-30 | 06:57 | ELENA |  | 0.40 | 0.41 | / | / | 0.108 |  |  | 1.594 | 2.73 |  | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 32 | Old B | 2025-06-30 | 09:27 | 2025-06-30 | 06:57 | ELENA |  | 0.38 | 0.39 | / | / | 0.109 |  |  |  | 2.74 |  | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 33 | Old B | 2025-06-30 | 09:27 | 2025-06-30 | 06:57 | ELENA |  | 0.39 | 0.40 | / | / | 0.110 |  |  |  | 2.97 |  | 1 | Kinga |  | 3 | 2 | 124111
1 | 0.00 | 34 | P/FINAL | 2025-06-30 | 09:32 | 2025-06-30 | 06:57 | ELENA |  | 0.04 | 0.03 | / | / | 0.011 |  |  |  | 2.74 |  | 1 | Kinga |  | 3 | 1 | 124111
1 | 0.00 | 35 | P/FINAL | 2025-06-30 | 09:33 | 2025-06-30 | 06:57 | ELENA |  | 0.03 | 0.02 | / | / | 0.009 |  |  |  | 0.29 | 48 | 1 | Kinga |  | 3 | 1 | 124111
1 | 0.00 | 36 | Old B | 2025-06-30 | 09:35 | 2025-06-30 | 06:57 | ELENA |  | 0.05 | 0.02 | / | / | 0.011 |  |  | 1.709 | 2.76 | 47 | 1 | Kinga |  | 3 | 1 | 124111
3 | 1.63 | 37 | P/FINAL | 2025-06-30 | 09:52 | 2025-06-30 | 06:57 | ELENA |  | 1.58 | 1.59 | / | / | 0.417 |  |  |  | 1.69 | 45 | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 38 | P/FINAL | 2025-06-30 | 09:54 | 2025-06-30 | 06:57 | ELENA |  | 1.56 | 1.58 | / | / | 0.411 |  |  | 1.598 | 1.54 | 49 | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 39 | P/FINAL | 2025-06-30 | 09:54 | 2025-06-30 | 06:57 | ELENA |  | 1.60 | 1.61 | / | / | 0.421 |  |  |  | 1.26 | 44 | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 40 | Old B | 2025-06-30 | 09:55 | 2025-06-30 | 06:57 | ELENA |  | 1.61 | 1.62 | / | / | 0.423 |  |  |  | 1.19 |  | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 41 | Old B | 2025-06-30 | 09:55 | 2025-06-30 | 06:57 | ELENA |  | 1.57 | 1.59 | / | / | 0.419 |  |  |  | 1.28 |  | 1 | Kinga |  | 3 | 3 | 124111
1 | 0.00 | 42 | Old B | 2025-07-01 | 09:16 | 2025-07-01 | 06:27 | ELENA |  | 0.02 | 0.02 | / | / | 0.006 |  |  |  | 2.08 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 43 | Old B | 2025-07-01 | 09:18 | 2025-07-01 | 06:27 | ELENA |  | 0.03 | 0.02 | / | / | 0.008 |  |  |  | 2.25 |  | 1 | Andrea V |  | 3 | 1
2 | 0.40 | 44 | Old B | 2025-07-01 | 09:19 | 2025-07-01 | 06:27 | ELENA |  | 0.41 | 0.40 | / | / | 0.110 |  |  |  | 1.91 |  | 1 | Andrea V |  | 3 | 2
2 | 0.40 | 45 | Old B | 2025-07-01 | 09:20 | 2025-07-01 | 06:27 | ELENA |  | 0.39 | 0.38 | / | / | 0.106 |  |  |  | 1.15 |  | 1 | Andrea V |  | 3 | 2
3 | 1.63 | 46 | Old B | 2025-07-01 | 09:23 | 2025-07-01 | 06:27 | ELENA |  | 1.56 | 1.57 | / | / | 0.412 |  |  |  | 1.95 |  | 1 | Andrea V |  | 3 | 3
3 | 1.63 | 47 | Old B | 2025-07-01 | 09:24 | 2025-07-01 | 06:27 | ELENA |  | 1.63 | 1.62 | / | / | 0.427 |  |  |  | 3.59 |  | 1 | Andrea V |  | 3 | 3
1 | 0.00 | 48 | P/FINAL | 2025-07-01 | 09:32 | 2025-07-01 | 06:27 | ELENA |  | 0.03 | 0.03 | / | / | 0.008 | 1.544 |  |  | 1.86 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 49 | P/FINAL | 2025-07-01 | 09:34 | 2025-07-01 | 06:27 | ELENA |  | 0.03 | 0.03 | / | / | 0.008 |  |  |  | 2.48 |  | 1 | Andrea V |  | 3 | 1
2 | 0.40 | 50 | P/FINAL | 2025-07-01 | 09:38 | 2025-07-01 | 06:27 | ELENA |  | 0.40 | 0.39 | / | / | 0.108 |  |  |  | 2.10 | 61 | 1 | Andrea V |  | 3 | 2
2 | 0.40 | 51 | P/FINAL | 2025-07-01 | 09:38 | 2025-07-01 | 06:27 | ELENA |  | 0.40 | 0.40 | / | / | 0.109 | 1.513 |  |  | 2.34 | 50 | 1 | Andrea V |  | 3 | 2
2 | 0.40 | 52 | P/FINAL | 2025-07-01 | 09:39 | 2025-07-01 | 06:27 | ELENA |  | 0.40 | 0.39 | / | / | 0.108 |  |  |  | 1.65 | 60 | 1 | Andrea V |  | 3 | 2
3 | 1.63 | 53 | P/FINAL | 2025-07-01 | 09:40 | 2025-07-01 | 06:27 | ELENA |  | 1.58 | 1.57 | / | / | 0.415 | 1.538 |  |  | 4.57 | 52 | 1 | Andrea V |  | 3 | 3
3 | 1.63 | 54 | P/FINAL | 2025-07-01 | 09:41 | 2025-07-01 | 06:27 | ELENA |  | 1.57 | 1.57 | / | / | 0.413 |  |  |  | 2.94 | 53 | 1 | Andrea V |  | 3 | 3
3 | 1.63 | 55 | P/FINAL | 2025-07-01 | 09:42 | 2025-07-01 | 06:27 | ELENA |  | 1.64 | 1.62 | / | / | 0.429 |  |  |  | 3.08 | 51 | 1 | Andrea V |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.4 mg/L | 9 | 18 | 0.4 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.03 mg/L | 6 | 12 | 0.03 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 1.58 mg/L | 9 | 18 | 1.58 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.03 | YES
0.40 | 0.36 ÷ 0.44 | 0.40 | YES
1.63 | 1.55 ÷ 1.71 | 1.58 | YES
Validation Date | by
2025-07-03 | Eugenia