## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
1120 | HI93705B-0 | CP-R14 | W 31/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent B | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2301 | 1120 | 0912
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-02-01 | 2030-07-01 | 2030-02-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-28 | 2025-08-13 | 1 HEAD |  |  |  | 1080
[6 empty] | Expiration A | Expiration B | Expiration D
2030-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR45 |  | 0.03 | & | 3% | 100% |  | 0.6 | 0.4 | 0.8
2 | 0.40 | 0.36 | 0.44 | [8 empty] | 2.4 | 2.3 | 2.6
3 | 1.63 | 1.55 | 1.71 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old B | 2025-07-29 | 10:41 | 2025-07-28 | 15:48 | ERIKA |  | 0.03 | 0.02 | / | / | 0.008 |  |  |  | 1.78 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old B | 2025-07-29 | 10:42 | 2025-07-28 | 15:48 | ERIKA |  | 0.04 | 0.02 | / | / | 0.009 |  |  |  | 2.20 |  | 1 | Kinga |  | 3 | 1
2 | 0.40 | 3 | Old B | 2025-07-29 | 10:43 | 2025-07-28 | 15:48 | ERIKA |  | 0.40 | 0.40 | / | / | 0.108 |  |  |  | 2.15 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 4 | Old B | 2025-07-29 | 10:43 | 2025-07-28 | 15:48 | ERIKA |  | 0.40 | 0.39 | / | / | 0.109 |  |  |  | 1.85 |  | 1 | Kinga |  | 3 | 2
3 | 1.63 | 5 | Old B | 2025-07-29 | 10:44 | 2025-07-28 | 15:48 | ERIKA |  | 1.63 | 1.62 | / | / | 0.427 |  |  |  | 3.90 |  | 1 | Kinga |  | 3 | 3 | 83105
3 | 1.63 | 6 | Old B | 2025-07-29 | 10:44 | 2025-07-28 | 15:48 | ERIKA |  | 1.60 | 1.60 | / | / | 0.421 |  |  |  | 1.78 |  | 1 | Kinga |  | 3 | 3 | 83105
1 | 0.00 | 7 | Valid | 2025-07-29 | 10:57 | 2025-07-28 | 15:48 | ERIKA |  | 0.04 | 0.02 | / | / | 0.009 |  |  |  | 1.84 |  | 1 | Kinga |  | 3 | 1 | 83105
1 | 0.00 | 8 | Valid | 2025-07-29 | 10:57 | 2025-07-28 | 15:48 | ERIKA |  | 0.01 | 0.01 | / | / | 0.003 |  |  | 1.561 | 0.84 |  | 1 | Kinga |  | 3 | 1 | 83105
2 | 0.40 | 9 | Valid | 2025-07-29 | 10:58 | 2025-07-28 | 15:48 | ERIKA |  | 0.44 | 0.43 | / | / | 0.121 |  |  |  | 8.76 |  | 1 | Kinga |  | 3 | 2 | 83105
2 | 0.40 | 10 | Valid | 2025-07-29 | 10:59 | 2025-07-28 | 15:48 | ERIKA |  | 0.40 | 0.40 | / | / | 0.107 |  |  | 1.588 | 1.40 |  | 1 | Kinga |  | 3 | 2 | 83105
2 | 0.40 | 11 | Valid | 2025-07-29 | 11:00 | 2025-07-28 | 15:48 | ERIKA |  | 0.41 | 0.40 | / | / | 0.110 |  |  |  | 2.70 |  | 1 | Kinga |  | 3 | 2 | 83105
3 | 1.63 | 12 | Valid | 2025-07-29 | 11:01 | 2025-07-28 | 15:48 | ERIKA |  | 1.55 | 1.55 | / | / | 0.408 |  |  | 1.494 | 1.95 |  | 1 | Kinga |  | 3 | 3 | 83105
3 | 1.63 | 13 | Valid | 2025-07-29 | 11:01 | 2025-07-28 | 15:48 | ERIKA |  | 1.67 | 1.65 | / | / | 0.436 |  |  |  | 2.38 |  | 1 | Kinga |  | 3 | 3 | 83105
3 | 1.63 | 14 | Valid | 2025-07-29 | 11:02 | 2025-07-28 | 15:48 | ERIKA |  | 1.62 | 1.62 | / | / | 0.425 |  |  |  | 2.38 |  | 1 | Kinga |  | 3 | 3 | 83105
1 | 0.00 | 15 | P/FINAL | 2025-07-30 | 16:05 | 2025-07-30 | 15:11 | ELENA |  | 0.02 | 0.02 | / | / | 0.004 |  |  | 1.578 | 1.51 | 54 | 1 | Kinga |  | 3 | 1
1 | 0.00 | 16 | P/FINAL | 2025-07-30 | 16:06 | 2025-07-30 | 15:11 | ELENA |  | 0.03 | 0.03 | / | / | 0.010 |  |  |  | 2.44 | 53 | 1 | Kinga |  | 3 | 1
2 | 0.40 | 17 | P/FINAL | 2025-07-30 | 16:09 | 2025-07-30 | 15:11 | ELENA |  | 0.38 | 0.38 | / | / | 0.102 |  |  |  | 2.06 | 55 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 18 | P/FINAL | 2025-07-30 | 16:09 | 2025-07-30 | 15:11 | ELENA |  | 0.39 | 0.38 | / | / | 0.105 |  |  |  | 2.67 | 57 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 19 | P/FINAL | 2025-07-30 | 16:11 | 2025-07-30 | 15:11 | ELENA |  | 0.41 | 0.40 | / | / | 0.110 |  |  | 1.589 | 4.33 | 53 | 1 | Kinga |  | 3 | 2
3 | 1.63 | 20 | P/FINAL | 2025-07-30 | 16:12 | 2025-07-30 | 15:11 | ELENA |  | 1.57 | 1.56 | / | / | 0.414 |  |  |  | 5.49 | 52 | 1 | Kinga |  | 3 | 3
3 | 1.63 | 21 | P/FINAL | 2025-07-30 | 16:15 | 2025-07-30 | 15:11 | ELENA |  | 1.55 | 1.55 | / | / | 0.406 |  |  |  | 3.68 |  | 1 | Kinga |  | 3 | 3
3 | 1.63 | 22 | P/FINAL | 2025-07-30 | 16:15 | 2025-07-30 | 15:11 | ELENA |  | 1.62 | 1.61 | / | / | 0.425 |  |  |  | 2.79 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 23 | Old B | 2025-07-31 | 14:56 | 2025-07-31 | 14:22 | ELENA | PRECI | 0.02 | 0.02 | / | / | 0.006 |  |  |  | 1.40 |  | 1 | Andrea V |  | 3 | 1 | 83105
1 | 0.00 | 24 | Old B | 2025-07-31 | 14:56 | 2025-07-31 | 14:22 | ELENA | PRECI | 0.03 | 0.02 | / | / | 0.007 |  |  |  | 1.09 |  | 1 | Andrea V |  | 3 | 1 | 83105
2 | 0.40 | 25 | Old B | 2025-07-31 | 14:57 | 2025-07-31 | 14:22 | ELENA | PRECI | 0.36 | 0.36 | / | / | 0.098 |  |  |  | 1.08 |  | 1 | Andrea V |  | 3 | 2 | 83105
2 | 0.40 | 26 | Old B | 2025-07-31 | 14:57 | 2025-07-31 | 14:22 | ELENA | PRECI | 0.38 | 0.38 | / | / | 0.104 |  |  |  | 3.67 |  | 1 | Andrea V |  | 3 | 2 | 83105
3 | 1.63 | 27 | Old B | 2025-07-31 | 14:58 | 2025-07-31 | 14:22 | ELENA | PRECI | 1.57 | 1.58 | / | / | 0.414 |  |  |  | 1.26 |  | 1 | Andrea V |  | 3 | 3 | 83105
3 | 1.63 | 28 | Old B | 2025-07-31 | 14:58 | 2025-07-31 | 14:22 | ELENA | PRECI | 1.59 | 1.59 | / | / | 0.417 |  |  |  | 1.63 |  | 1 | Andrea V |  | 3 | 3 | 83105
1 | 0.00 | 29 | P/FINAL | 2025-07-31 | 15:15 | 2025-07-31 | 14:22 | ELENA | PRECI | 0.00 | 0.00 | / | / | -0.003 |  |  | 1.565 | 1.19 |  | 1 | Andrea V |  | 3 | 1 | 83105
1 | 0.00 | 30 | P/FINAL | 2025-07-31 | 15:16 | 2025-07-31 | 14:22 | ELENA | PRECI | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 1.68 |  | 1 | Andrea V |  | 3 | 1 | 83105
3 | 1.63 | 31 | P/FINAL | 2025-07-31 | 15:20 | 2025-07-31 | 14:22 | ELENA | PRECI | 1.56 | 1.57 | / | / | 0.412 |  |  | 1.554 | 2.43 | 63 | 1 | Andrea V |  | 3 | 3 | 83105
3 | 1.63 | 32 | P/FINAL | 2025-07-31 | 15:21 | 2025-07-31 | 14:22 | ELENA | PRECI | 1.55 | 1.57 | / | / | 0.408 |  |  |  | 3.09 | 65 | 1 | Andrea V |  | 3 | 3 | 83105
3 | 1.63 | 33 | P/FINAL | 2025-07-31 | 15:22 | 2025-07-31 | 14:22 | ELENA | PRECI | 1.56 | 1.55 | / | / | 0.411 |  |  |  | 1.51 | 66 | 1 | Andrea V |  | 3 | 3 | 83105
2 | 0.40 | 34 | P/FINAL | 2025-07-31 | 15:23 | 2025-07-31 | 14:22 | ELENA | PRECI | 0.37 | 0.36 | / | / | 0.099 |  |  |  | 1.79 | 77 | 1 | Andrea V |  | 3 | 2 | 83105
2 | 0.40 | 35 | P/FINAL | 2025-07-31 | 15:24 | 2025-07-31 | 14:22 | ELENA | PRECI | 0.37 | 0.40 | / | / | 0.099 |  |  | 1.526 | 1.95 | 52 | 1 | Andrea V |  | 3 | 2 | 83105
2 | 0.40 | 36 | P/FINAL | 2025-07-31 | 15:24 | 2025-07-31 | 14:22 | ELENA | PRECI | 0.36 | 0.39 | / | / | 0.096 |  |  |  | 2.77 | 56 | 1 | Andrea V |  | 3 | 2 | 83105
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.01 mg/L | 4 | 8 | 0.01 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.38 mg/L | 6 | 12 | 0.38 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1.57 mg/L | 6 | 12 | 1.57 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
0.40 | 0.36 ÷ 0.44 | 0.38 | YES
1.63 | 1.55 ÷ 1.71 | 1.57 | YES
Validation Date | by