## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
1266 | HI93705B-0 | CP-R14 | W 49/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent B | 2030-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2693 | 1266 | 1070
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-07-01 | 2030-12-01 | 2030-06-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-12-03 | 2025-12-12 | 1 HEAD |  |  |  | 1080
[6 empty] | Expiration A | Expiration B | Expiration D
2030-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR45 |  | 0.03 | & | 3% | 100% |  | 0.6 | 0.4 | 0.8
2 | 0.40 | 0.36 | 0.44 | [8 empty] | 2.4 | 2.3 | 2.6
3 | 1.63 | 1.55 | 1.71 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97705 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old B | 2025-12-03 | 11:50 | 2025-12-03 | 11:01 | ERIKA |  | 0.12 | 0.14 | / | / | 0.032 |  |  |  | 5.12 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old B | 2025-12-03 | 11:51 | 2025-12-03 | 11:01 | ERIKA |  | 0.11 | 0.12 | / | / | 0.030 |  |  |  | 5.96 |  | 1 | Andrea V |  | 3 | 1
2 | 0.40 | 3 | Old B | 2025-12-03 | 11:52 | 2025-12-03 | 11:01 | ERIKA |  | 0.40 | 0.42 | / | / | 0.109 |  |  |  | 1.47 |  | 1 | Andrea V |  | 3 | 2 | 25033
2 | 0.40 | 4 | Old B | 2025-12-03 | 11:53 | 2025-12-03 | 11:01 | ERIKA |  | 0.46 | 0.48 | / | / | 0.125 |  |  |  | 5.89 |  | 1 | Andrea V |  | 3 | 2 | 25033
3 | 1.63 | 5 | Old B | 2025-12-03 | 11:54 | 2025-12-03 | 11:01 | ERIKA |  | 1.56 | 1.60 | / | / | 0.412 |  |  |  | 4.93 |  | 1 | Andrea V |  | 3 | 3 | 25033
3 | 1.63 | 6 | Old B | 2025-12-03 | 11:54 | 2025-12-03 | 11:01 | ERIKA |  | 1.58 | 1.59 | / | / | 0.416 |  |  |  | 4.35 |  | 1 | Andrea V |  | 3 | 3 | 25033
3 | 1.63 | 7 | Valid | 2025-12-03 | 12:06 | 2025-12-03 | 11:01 | ERIKA |  | 1.64 | 1.57 | / | / | 0.406 |  |  |  | 5.22 |  | 1 | Andrea V |  | 3 | 3 | 25033
3 | 1.63 | 8 | Valid | 2025-12-03 | 12:06 | 2025-12-03 | 11:01 | ERIKA |  | 1.61 | 1.64 | / | / | 0.422 |  |  | 1.619 | 5.02 |  | 1 | Andrea V |  | 3 | 3 | 25033
3 | 1.63 | 9 | Valid | 2025-12-03 | 12:07 | 2025-12-03 | 11:01 | ERIKA |  | 1.62 | 1.65 | / | / | 0.425 |  |  |  | 4.13 |  | 1 | Andrea V |  | 3 | 3 | 25033
1 | 0.00 | 10 | Valid | 2025-12-03 | 12:19 | 2025-12-03 | 11:01 | ERIKA |  | 0.05 | 0.07 | / | / | 0.014 |  |  |  | 4.25 |  | 1 | Andrea V |  | 3 | 1 | 25033
2 | 0.40 | 11 | Old B | 2025-12-03 | 14:01 | 2025-12-03 | 11:01 | ERIKA |  | 0.41 | 0.41 | / | / | 0.111 |  |  |  | 1.92 |  | 1 | Andrea V |  | 3 | 2 | 25033
2 | 0.40 | 12 | Valid | 2025-12-03 | 14:03 | 2025-12-03 | 11:01 | ERIKA |  | 0.40 | 0.40 | / | / | 0.108 |  |  | 1.664 | 1.60 |  | 1 | Andrea V |  | 3 | 2 | 25033
2 | 0.40 | 13 | Valid | 2025-12-03 | 14:04 | 2025-12-03 | 11:01 | ERIKA |  | 0.42 | 0.42 | / | / | 0.114 |  |  |  | 1.41 |  | 1 | Andrea V |  | 3 | 2 | 25033
2 | 0.40 | 14 | Valid | 2025-12-03 | 14:05 | 2025-12-03 | 11:01 | ERIKA |  | 0.42 | 0.41 | / | / | 0.113 |  |  |  | 0.78 |  | 1 | Andrea V |  | 3 | 2 | 25033
2 | 0.40 | 15 | Old B | 2025-12-12 | 10:31 | 2025-12-11 | 18:41 | FLORICA |  | 0.44 | 0.43 | / | / | 0.119 |  |  |  | 2.34 |  | 1 | Andrea V |  | 3 | 2
2 | 0.40 | 16 | Old B | 2025-12-12 | 10:31 | 2025-12-11 | 18:41 | FLORICA |  | 0.43 | 0.41 | / | / | 0.117 |  |  |  | 1.58 |  | 1 | Andrea V |  | 3 | 2
3 | 1.63 | 17 | Old B | 2025-12-12 | 10:32 | 2025-12-11 | 18:41 | FLORICA |  | 1.67 | 1.66 | / | / | 0.437 |  |  |  | 2.79 |  | 1 | Andrea V |  | 3 | 3
3 | 1.63 | 18 | Old B | 2025-12-12 | 10:32 | 2025-12-11 | 18:41 | FLORICA |  | 1.71 | 1.69 | / | / | 0.446 |  |  |  | 2.88 |  | 1 | Andrea V |  | 3 | 3
1 | 0.00 | 19 | Old B | 2025-12-12 | 10:33 | 2025-12-11 | 18:41 | FLORICA | 1 | 0.03 | 0.01 | / | / | 0.008 |  |  |  | 1.97 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 20 | Old B | 2025-12-12 | 10:35 | 2025-12-11 | 18:41 | FLORICA | 1 | 0.03 | 0.01 | / | / | 0.007 |  |  |  | 1.34 |  | 1 | Andrea V |  | 3 | 1
2 | 0.40 | 21 | P/FINAL | 2025-12-12 | 10:48 | 2025-12-11 | 18:41 | FLORICA | 1 | 0.43 | 0.41 | / | / | 0.116 |  |  |  | 1.54 |  | 1 | Andrea V |  | 3 | 2 | 94653
2 | 0.40 | 22 | P/FINAL | 2025-12-12 | 10:49 | 2025-12-11 | 18:41 | FLORICA | 1 | 0.44 | 0.44 | / | / | 0.118 |  |  |  | 1.51 | 68 | 1 | Andrea V |  | 3 | 2 | 94653
2 | 0.40 | 23 | P/FINAL | 2025-12-12 | 10:50 | 2025-12-11 | 18:41 | FLORICA | 1 | 0.44 | 0.42 | / | / | 0.118 |  |  | 1.300 | 1.21 | 64 | 1 | Andrea V |  | 3 | 2 | 94653
1 | 0.00 | 24 | P/FINAL | 2025-12-12 | 10:53 | 2025-12-11 | 18:41 | FLORICA | 1 | 0.03 | 0.02 | / | / | 0.007 |  |  |  | 1.41 |  | 1 | Andrea V |  | 3 | 1 | 94653
1 | 0.00 | 25 | P/FINAL | 2025-12-12 | 10:54 | 2025-12-11 | 18:41 | FLORICA | 1 | 0.02 | 0.01 | / | / | 0.006 |  |  | 1.349 | 1.32 |  | 1 | Andrea V |  | 3 | 1 | 94653
3 | 1.63 | 26 | P/FINAL | 2025-12-12 | 11:04 | 2025-12-11 | 18:41 | FLORICA | 1 | 1.61 | 1.62 | / | / | 0.422 |  |  |  | 2.70 | 61 | 1 | Andrea V |  | 3 | 3 | 94653
3 | 1.63 | 27 | P/FINAL | 2025-12-12 | 11:05 | 2025-12-11 | 18:41 | FLORICA | 1 | 1.68 | 1.68 | / | / | 0.440 |  |  | 1.367 | 2.01 | 63 | 1 | Andrea V |  | 3 | 3 | 94653
3 | 1.63 | 28 | P/FINAL | 2025-12-12 | 11:05 | 2025-12-11 | 18:41 | FLORICA | 1 | 1.70 | 1.70 | / | / | 0.444 |  |  |  | 2.21 |  | 1 | Andrea V |  | 3 | 3 | 94653
2 | 0.40 | 29 | P/FINAL | 2025-12-12 | 11:19 | 2025-12-12 | 06:15 | GABRIELLA | 1 | 0.42 | 0.42 | / | / | 0.115 |  |  |  | 1.60 |  | 1 | Andrea V |  | 3 | 2 | 94653
2 | 0.40 | 30 | P/FINAL | 2025-12-12 | 11:20 | 2025-12-12 | 06:15 | GABRIELLA | 1 | 0.42 | 0.42 | / | / | 0.115 |  |  |  | 1.29 |  | 1 | Andrea V |  | 3 | 2 | 94653
2 | 0.40 | 31 | P/FINAL | 2025-12-12 | 11:20 | 2025-12-12 | 06:15 | GABRIELLA | 1 | 0.42 | 0.42 | / | / | 0.115 |  |  | 1.305 | 1.23 | 69 | 1 | Andrea V |  | 3 | 2 | 94653
1 | 0.00 | 32 | P/FINAL | 2025-12-12 | 11:21 | 2025-12-12 | 06:15 | GABRIELLA | 1 | 0.03 | 0.03 | / | / | 0.007 |  |  |  | 1.47 | 72 | 1 | Andrea V |  | 3 | 1 | 94653
1 | 0.00 | 33 | P/FINAL | 2025-12-12 | 11:22 | 2025-12-12 | 06:15 | GABRIELLA | 1 | 0.02 | 0.02 | / | / | 0.006 |  |  | 1.349 | 1.23 |  | 1 | Andrea V |  | 3 | 1 | 94653
3 | 1.63 | 34 | P/FINAL | 2025-12-12 | 11:34 | 2025-12-12 | 06:15 | GABRIELLA | 1 | 1.68 | 1.69 | / | / | 0.440 |  |  |  | 2.27 | 71 | 1 | Andrea V |  | 3 | 3 | 94653
3 | 1.63 | 35 | P/FINAL | 2025-12-12 | 11:35 | 2025-12-12 | 06:15 | GABRIELLA | 1 | 1.69 | 1.69 | / | / | 0.442 |  |  | 1.338 | 2.07 | 67 | 1 | Andrea V |  | 3 | 3 | 94653
3 | 1.63 | 36 | P/FINAL | 2025-12-12 | 11:36 | 2025-12-12 | 06:15 | GABRIELLA | 1 | 1.71 | 1.71 | / | / | 0.449 |  |  |  | 2.31 |  | 1 | Andrea V |  | 3 | 3 | 94653
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.02 mg/L | 4 | 8 | 0.02 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.43 mg/L | 6 | 12 | 0.43 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1.68 mg/L | 6 | 12 | 1.68 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.02 | YES
0.40 | 0.36 ÷ 0.44 | 0.43 | YES
1.63 | 1.55 ÷ 1.71 | 1.68 | YES
Validation Date | by