## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
0796 | HI96770C-0 | CP-R14 | W45/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica High Range Reagent C | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0680 | 0730 | 0796
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-09-01 | 2029-10-01 | 2029-11-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 37 | 43 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 151 | 169 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 1 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 Label17 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Valid | 2024-11-05 | 14:13 | 2024-11-05 | 12:34 | ERIKA |  | 43 | 43 | / | / | 0.168 |  |  |  | 2.41 |  | 1 | Kinga |  | 3 | 2 | 63124
2 | 40 | 2 | Valid | 2024-11-05 | 14:13 | 2024-11-05 | 12:34 | ERIKA |  | 40 | 42 | / | / | 0.160 |  |  |  | 1.37 |  | 1 | Kinga |  | 3 | 2 | 63124
2 | 40 | 3 | Valid | 2024-11-05 | 14:14 | 2024-11-05 | 12:34 | ERIKA |  | 42 | 44 | / | / | 0.166 |  |  |  | 1.60 |  | 1 | Kinga |  | 3 | 2 | 63124
3 | 160 | 4 | Valid | 2024-11-05 | 14:15 | 2024-11-05 | 12:34 | ERIKA |  | 156 | 161 | / | / | 0.549 |  |  |  | 1.40 |  | 1 | Kinga |  | 3 | 3 | 63124
3 | 160 | 5 | Valid | 2024-11-05 | 14:15 | 2024-11-05 | 12:34 | ERIKA |  | 159 | 162 | / | / | 0.560 |  |  |  | 1.93 |  | 1 | Kinga |  | 3 | 3 | 63124
3 | 160 | 6 | Valid | 2024-11-05 | 14:16 | 2024-11-05 | 12:34 | ERIKA |  | 159 | 160 | / | / | 0.560 |  |  |  | 1.48 |  | 1 | Kinga |  | 3 | 3 | 63124
1 | 0 | 7 | Valid | 2024-11-05 | 14:19 | 2024-11-05 | 12:34 | ERIKA |  | 0 | 0 | / | / | -0.005 |  |  |  | 1.36 |  | 1 | Kinga |  | 3 | 1 | 63124
1 | 0 | 8 | Valid | 2024-11-05 | 14:19 | 2024-11-05 | 12:34 | ERIKA |  | 0 | 0 | / | / | -0.005 |  |  |  | 1.29 |  | 1 | Kinga |  | 3 | 1 | 63124
1 | 0 | 9 | Old C | 2024-11-05 | 14:20 | 2024-11-05 | 12:34 | ERIKA |  | 0 | 0 | / | / | -0.003 |  |  |  | 1.49 |  | 1 | Kinga |  | 3 | 1 | 63124
2 | 40 | 10 | Old C | 2024-11-05 | 14:20 | 2024-11-05 | 12:34 | ERIKA |  | 40 | 42 | / | / | 0.166 | [5 empty] | 1 | Kinga |  | 3 | 1 | 63124
3 | 160 | 11 | Old C | 2024-11-05 | 14:20 | 2024-11-05 | 12:34 | ERIKA |  | 159 | 162 | / | / | 0.560 | [5 empty] | 1 | Kinga |  | 3 | 1 | 63124
3 | 160 | 12 | P/Final | 2024-11-12 | 12:34 | 2024-11-12 | 15:52 | FLORICA | PRECI | 163 | 161 | / | / | 0.571 |  |  |  | 2.18 |  | 1 | Brigitta P |  | 3 | 3
3 | 160 | 13 | P/Final | 2024-11-12 | 12:35 | 2024-11-12 | 15:52 | FLORICA | PRECI | 160 | 159 | / | / | 0.561 |  |  |  | 2.78 |  | 1 | Brigitta P |  | 3 | 3
3 | 160 | 14 | P/Final | 2024-11-12 | 12:35 | 2024-11-12 | 15:52 | FLORICA | PRECI | 161 | 159 | / | / | 0.565 |  |  |  | 2.78 |  | 1 | Brigitta P |  | 3 | 3
3 | 160 | 15 | Old C | 2024-11-12 | 12:36 | 2024-11-12 | 15:52 | FLORICA | PRECI | 161 | 161 | / | / | 0.565 |  |  | 1.169 | 2.20 |  | 1 | Brigitta P |  | 3 | 3
2 | 40 | 16 | P/Final | 2024-11-12 | 12:36 | 2024-11-12 | 15:52 | FLORICA | PRECI | 38 | 38 | / | / | 0.150 |  |  |  | 2.46 |  | 1 | Brigitta P |  | 3 | 2
2 | 40 | 17 | P/Final | 2024-11-12 | 12:37 | 2024-11-12 | 15:52 | FLORICA | PRECI | 38 | 38 | / | / | 0.151 |  |  |  | 2.40 |  | 1 | Brigitta P |  | 3 | 2
2 | 40 | 18 | P/Final | 2024-11-12 | 12:38 | 2024-11-12 | 15:52 | FLORICA | PRECI | 40 | 38 | / | / | 0.157 |  |  |  | 2.33 |  | 1 | Brigitta P |  | 3 | 2
2 | 40 | 19 | P/Final | 2024-11-12 | 12:35 | 2024-11-12 | 15:52 | FLORICA | PRECI | 40 | 38 | / | / | 0.157 |  |  | 1.205 | 2.31 |  | 1 | Brigitta P |  | 3 | 2
1 | 0 | 20 | P/Final | 2024-11-12 | 12:35 | 2024-11-12 | 15:52 | FLORICA | PRECI | 0 | 0 | / | / | 0.012 |  |  |  | 2.49 |  | 1 | Brigitta P |  | 3 | 2
1 | 0 | 21 | P/Final | 2024-11-12 | 12:40 | 2024-11-12 | 15:52 | FLORICA | PRECI | 0 | 0 | / | / | 0.012 |  |  | 1.120 | 2.94 |  | 1 | Brigitta P |  | 3 | 2
2 | 40 | 22 | P/Final | 2024-11-12 | 12:52 | 2024-11-12 | 15:52 | FLORICA | PRECI | 38 | 38 | / | / | 0.151 |  |  | 1.205 | 2.78 |  | 1 | Brigitta P |  | 3 | 2
2 | 40 | 23 | P/Final | 2024-11-12 | 15:22 | 2024-11-12 | 15:03 | FLORICA | PRECI | 41 | 40 | / | / | 0.162 |  |  |  | 2.44 |  | 1 | Brigitta P |  | 3 | 2
2 | 40 | 24 | P/Final | 2024-11-12 | 15:23 | 2024-11-12 | 15:03 | FLORICA | PRECI | 40 | 38 | / | / | 0.158 |  |  |  | 2.09 |  | 1 | Brigitta P |  | 3 | 2
3 | 160 | 25 | P/Final | 2024-11-12 | 15:24 | 2024-11-12 | 15:03 | FLORICA | PRECI | 164 | 162 | / | / | 0.575 |  |  | 1.160 | 3.01 |  | 1 | Brigitta P |  | 3 | 3
3 | 160 | 26 | P/Final | 2024-11-12 | 15:25 | 2024-11-12 | 15:03 | FLORICA | PRECI | 162 | 160 | / | / | 0.568 |  |  |  | 2.32 |  | 1 | Brigitta P |  | 3 | 3
1 | 0 | 27 | P/Final | 2024-11-12 | 15:26 | 2024-11-12 | 15:03 | FLORICA | PRECI | 1 | 0 | / | / | 0.019 |  |  | 1.192 | 3.35 |  | 1 | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 39 mg/L | 7 | 14 | 39 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 161 mg/L | 5 | 10 | 161 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 39 | YES
160 | 151 ÷ 169 | 161 | YES
Validation Date | by