## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
0868 | HI96770C-0 | CP-R14 | W49 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica High Range Reagent C | 2029-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0641 | 0359 | 0868
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-07-01 | 2028-11-01 | 2029-12-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-11 | 2024-12-12 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 37 | 43 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
1 | 0 | 0 | 1 | [8 empty] | 1.0 | 0.8 | 1.2
3 | 160 | 151 | 169 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Valid | 2024-12-06 | 19:15 | 2024-12-06 | 09:16 | ERIKA |  | 42 | 42 | / | / | 0.166 |  |  |  | 2.28 |  | 1 | Kinga |  | 3 | 2 | 63124
2 | 40 | 2 | Valid | 2024-12-06 | 19:16 | 2024-12-06 | 09:16 | ERIKA |  | 38 | 39 | / | / | 0.169 |  |  |  | 1.27 |  | 1 | Kinga |  | 3 | 2 | 63124
1 | 0 | 3 | Valid | 2024-12-06 | 19:18 | 2024-12-06 | 09:16 | ERIKA |  | 0 | 0 | / | / | 0.008 |  |  |  | 1.65 |  | 1 | Kinga |  | 3 | 1 | 63124
1 | 0 | 4 | Valid | 2024-12-06 | 19:19 | 2024-12-06 | 09:16 | ERIKA |  | 0 | 0 | / | / | 0.008 |  |  |  | 1.69 |  | 1 | Kinga |  | 3 | 1 | 63124
3 | 160 | 5 | Valid | 2024-12-06 | 19:24 | 2024-12-06 | 09:16 | ERIKA |  | 152 | 152 | / | / | 0.528 |  |  |  | 1.13 |  | 1 | Kinga |  | 3 | 3
3 | 160 | 6 | Valid | 2024-12-06 | 19:24 | 2024-12-06 | 09:16 | ERIKA |  | 161 | 162 | / | / | 0.596 |  |  |  | 1.11 |  | 1 | Kinga |  | 3 | 3
3 | 160 | 7 | P/Final | 2024-12-12 | 09:39 | 2024-12-11 | 19:05 | FLORICA | PRECI | 162 | 157 | / | / | 0.570 |  |  |  | 2.09 |  | 1 | Brigitta P |  | 3 | 3 | 114351
3 | 160 | 8 | P/Final | 2024-12-12 | 09:39 | 2024-12-11 | 19:05 | FLORICA | PRECI | 157 | 161 | / | / | 0.553 |  |  |  | 2.49 |  | 1 | Brigitta P |  | 3 | 3 | 114351
2 | 40 | 9 | P/Final | 2024-12-12 | 09:43 | 2024-12-11 | 19:05 | FLORICA | PRECI | 39 | 40 | / | / | 0.156 |  |  |  | 2.06 |  | 1 | Brigitta P |  | 3 | 2 | 114351
2 | 40 | 10 | P/Final | 2024-12-12 | 09:45 | 2024-12-11 | 19:05 | FLORICA | PRECI | 40 | 40 | / | / | 0.158 |  |  |  | 1.92 |  | 1 | Brigitta P |  | 3 | 2 | 114351
2 | 40 | 11 | P/Final | 2024-12-12 | 09:45 | 2024-12-11 | 19:05 | FLORICA | PRECI | 38 | 38 | / | / | 0.151 |  |  |  | 1.92 |  | 1 | Brigitta P |  | 3 | 2 | 114351
1 | 0 | 12 | P/Final | 2024-12-12 | 09:46 | 2024-12-11 | 19:05 | FLORICA | PRECI | 0 | 0 | / | / | 0.007 |  |  |  | 1.42 |  | 1 | Brigitta P |  | 3 | 1
1 | 0 | 13 | P/Final | 2024-12-12 | 09:46 | 2024-12-11 | 19:05 | FLORICA | PRECI | 0 | 0 | / | / | 0.010 |  |  |  | 1.78 |  | 1 | Brigitta P |  | 3 | 1
1 | 0 | 14 | P/Final | 2024-12-12 | 10:42 | 2024-12-12 | 07:55 | NINA | PRECI | 0 | 0 | / | / | 0.596 |  |  |  | 0.86 |  | 1 | Brigitta P |  | 3 | 1 | 114351
1 | 0 | 15 | P/Final | 2024-12-12 | 10:42 | 2024-12-12 | 07:55 | NINA | PRECI | 0 | 0 | / | / | 0.007 |  |  |  | 0.70 |  | 1 | Brigitta P |  | 3 | 1 | 114351
2 | 40 | 16 | P/Final | 2024-12-12 | 10:43 | 2024-12-12 | 07:55 | NINA | PRECI | 40 | 37 | / | / | 0.160 |  |  |  | 1.18 |  | 1 | Brigitta P |  | 3 | 2 | 114351
2 | 40 | 17 | P/Final | 2024-12-12 | 10:43 | 2024-12-12 | 07:55 | NINA | PRECI | 38 | 37 | / | / | 0.145 |  |  |  | 0.86 |  | 1 | Brigitta P |  | 3 | 2 | 114351
2 | 40 | 18 | P/Final | 2024-12-12 | 10:43 | 2024-12-12 | 07:55 | NINA | PRECI | 38 | 38 | / | / | 0.151 |  |  |  | 1.22 |  | 1 | Brigitta P |  | 3 | 2 | 114351
2 | 40 | 19 | P/Final | 2024-12-12 | 10:44 | 2024-12-12 | 07:55 | NINA | PRECI | 38 | 38 | / | / | 0.151 |  |  |  | 1.85 |  | 1 | Brigitta P |  | 3 | 2 | 114351
3 | 160 | 20 | P/Final | 2024-12-12 | 10:45 | 2024-12-12 | 07:55 | NINA | PRECI | 162 | 157 | / | / | 0.570 |  |  |  | 1.20 |  | 1 | Brigitta P |  | 3 | 3 | 114351
3 | 160 | 21 | P/Final | 2024-12-12 | 10:45 | 2024-12-12 | 07:55 | NINA | PRECI | 161 | 162 | / | / | 0.569 |  |  |  | 1.65 |  | 1 | Brigitta P |  | 3 | 3 | 114351
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 39 mg/L | 7 | 14 | 39 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 160 mg/L | 4 | 8 | 160 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 39 | YES
160 | 151 ÷ 169 | 160 | YES
Validation Date | by