## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
1080 | HI96770C-0 | CP-R14 | W 25/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent C | 1080 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0875 | 1044 | 1080
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-12-01 | 2030-05-01 | 2030-06-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2025-06-18 | 2025-07-03 | Preci
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-803
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 160 | 151 | 169 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
2 | 40 | 37 | 43 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 1 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 160 | 1 | Old C | 2025-06-18 | 15:02 | 2025-06-18 | 09:57 | ERIKA |  | 152 | 151 | / | / | 0.536 |  |  |  | 14.9 |  | 1 | Kinga |  | 3 | 3 | 10643
2 | 40 | 2 | Old C | 2025-06-18 | 15:03 | 2025-06-18 | 09:57 | ERIKA |  | 38 | 32 | / | / | 0.146 |  |  |  | 2.92 |  | 1 | Kinga |  | 3 | 2 | 10643
1 | 0 | 3 | Old C | 2025-06-18 | 15:04 | 2025-06-18 | 09:57 | ERIKA |  | 0 | 0 | / | / | -0.011 |  |  |  | 2.14 |  | 1 | Kinga |  | 3 | 1 | 10643
2 | 40 | 4 | Valid | 2025-06-18 | 15:20 | 2025-06-18 | 09:57 | ERIKA |  | 36 | 35 | / | / | 0.143 |  |  |  | 2.30 |  | 1 | Kinga |  | 3 | 2 | 10643
2 | 40 | 5 | Valid | 2025-06-18 | 15:21 | 2025-06-18 | 09:57 | ERIKA |  | 40 | 38 | / | / | 0.158 |  |  | 1.319 | 3.04 |  | 1 | Kinga |  | 3 | 2 | 10643
2 | 40 | 6 | Valid | 2025-06-18 | 15:21 | 2025-06-18 | 09:57 | ERIKA |  | 38 | 37 | / | / | 0.149 |  |  |  | 4.88 |  | 1 | Kinga |  | 3 | 2 | 10643
3 | 160 | 7 | P/FINAL | 2025-06-18 | 15:23 | 2025-06-18 | 09:57 | ERIKA |  | 153 | 148 | / | / | 0.541 |  |  | 1.232 | 4.77 |  | 1 | Kinga |  | 3 | 3 | 10643
3 | 160 | 8 | P/FINAL | 2025-06-18 | 15:24 | 2025-06-18 | 09:57 | ERIKA |  | 151 | 147 | / | / | 0.535 |  |  |  | 3.10 |  | 1 | Kinga |  | 3 | 3 | 10643
3 | 160 | 9 | Valid | 2025-06-18 | 15:25 | 2025-06-18 | 09:57 | ERIKA |  | 152 | 144 | / | / | 0.538 |  |  |  | 2.92 |  | 1 | Kinga |  | 3 | 3 | 10643
1 | 0 | 10 | Valid | 02025/06/18 | 15:26 | 2025-06-18 | 09:57 | ERIKA |  | 0 | 0 | / | / | 0.004 |  |  |  | 3.02 |  | 1 | Kinga |  | 3 | 1 | 10643
1 | 0 | 11 | Valid | 02025/06/18 | 15:26 | 2025-06-18 | 09:57 | ERIKA |  | 0 | 0 | / | / | 0.002 |  |  | 1.212 | 3.35 |  | 1 | Kinga |  | 3 | 1 | 10643
1 | 0 | 12 | Old C | 2025-07-02 | 10:02 | 2025-07-02 | 06:31 | ELENA |  | 0 | 0 | / | / | 0.012 |  |  |  | 1.53 |  | 1 | Andrea V |  | 3 | 1 | 10643
1 | 0 | 13 | Old C | 2025-07-02 | 10:03 | 2025-07-02 | 06:31 | ELENA |  | 0 | 0 | / | / | 0.011 |  |  |  | 1.41 |  | 1 | Andrea V |  | 3 | 1 | 10643
2 | 40 | 14 | Old C | 2025-07-02 | 10:23 | 2025-07-02 | 06:31 | ELENA |  | 38 | 40 | / | / | 0.152 |  |  |  | 1.43 |  | 1 | Andrea V |  | 3 | 2 | 10643
2 | 40 | 15 | Old C | 2025-07-02 | 10:23 | 2025-07-02 | 06:31 | ELENA |  | 38 | 39 | / | / | 0.152 |  |  |  | 1.45 |  | 1 | Andrea V |  | 3 | 2 | 10643
3 | 160 | 16 | Old C | 2025-07-02 | 10:24 | 2025-07-02 | 06:31 | ELENA |  | 150 | 158 | / | / | 0.531 |  |  |  | 1.16 |  | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 17 | Old C | 2025-07-02 | 10:30 | 2025-07-02 | 06:31 | ELENA |  | 146 | 154 | / | / | 0.519 |  |  |  | 1.61 |  | 1 | Andrea V |  | 3 | 3 | 10643
1 | 0 | 18 | P/FINAL | 2025-07-02 | 10:35 | 2025-07-02 | 06:31 | ELENA |  | 3 | 4 | / | / | 0.025 |  |  |  | 3.51 |  | 1 | Andrea V |  | 3 | 1 | 10643
1 | 0 | 19 | P/FINAL | 2025-07-02 | 10:36 | 2025-07-02 | 06:31 | ELENA |  | 0 | 0 | / | / | 0.017 |  |  | 1.203 | 2.82 |  | 1 | Andrea V |  | 3 | 1 | 10643
2 | 40 | 20 | P/FINAL | 2025-07-02 | 10:47 | 2025-07-02 | 06:31 | ELENA |  | 39 | 39 | / | / | 0.156 |  |  | 1.198 | 2.91 | 106 | 1 | Andrea V |  | 3 | 2 | 10643
2 | 40 | 21 | P/FINAL | 2025-07-02 | 10:48 | 2025-07-02 | 06:31 | ELENA |  | 37 | 37 | / | / | 0.149 |  |  |  | 2.65 | 95 | 1 | Andrea V |  | 3 | 2 | 10643
2 | 40 | 22 | P/FINAL | 2025-07-02 | 10:48 | 2025-07-02 | 06:31 | ELENA |  | 38 | 38 | / | / | 0.152 |  |  |  | 2.67 | 80 | 1 | Andrea V |  | 3 | 2 | 10643
3 | 160 | 23 | P/FINAL | 2025-07-02 | 10:53 | 2025-07-02 | 06:31 | ELENA |  | 151 | 158 | / | / | 0.534 |  |  | 1.232 | 3.33 | 94 | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 24 | P/FINAL | 2025-07-02 | 10:54 | 2025-07-02 | 06:31 | ELENA |  | 144 | 152 | / | / | 0.513 |  |  |  | 3.32 | 100 | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 25 | P/FINAL | 2025-07-02 | 10:54 | 2025-07-02 | 06:31 | ELENA |  | 146 | 153 | / | / | 0.519 |  |  |  | 3.69 | 92 | 1 | Andrea V |  | 3 | 3 | 10643
1 | 0 | 26 | P/FINAL | 2025-07-02 | 10:57 | 2025-07-02 | 06:31 | ELENA |  | 0 | 0 | / | / | 0.012 |  |  |  | 2.37 |  | 1 | Andrea V |  | 3 | 1 | 10643
1 | 0 | 27 | Old C | 2025-07-03 | 09:25 | 2025-07-03 | 07:15 | ELENA | PRECI | 0 | 0 | / | / | -0.019 |  |  |  | 1.39 |  | 1 | Kinga |  | 3 | 1 | 10643
1 | 0 | 28 | Old C | 2025-07-03 | 09:26 | 2025-07-03 | 07:15 | ELENA | PRECI | 0 | 0 | / | / | -0.021 |  |  |  | 1.45 |  | 1 | Kinga |  | 3 | 1 | 10643
2 | 40 | 29 | Old C | 2025-07-03 | 09:40 | 2025-07-03 | 07:15 | ELENA | PRECI | 38 | 43 | / | / | 0.139 |  |  |  | 2.87 |  | 1 | Kinga |  | 3 | 2 | 10643
2 | 40 | 30 | Old C | 2025-07-03 | 09:41 | 2025-07-03 | 07:15 | ELENA | PRECI | 36 | 41 | / | / | 0.147 |  |  |  | 4.31 |  | 1 | Kinga |  | 3 | 2 | 10643
3 | 160 | 31 | Old C | 2025-07-03 | 09:42 | 2025-07-03 | 07:15 | ELENA | PRECI | 153 | 152 | / | / | 0.540 |  |  |  | 1.55 |  | 1 | Kinga |  | 3 | 3 | 10643
3 | 160 | 32 | Old C | 2025-07-03 | 09:43 | 2025-07-03 | 07:15 | ELENA | PRECI | 155 | 156 | / | / | 0.546 |  |  |  | 2.17 |  | 1 | Kinga |  | 3 | 3 | 10643
1 | 0 | 33 | P/FINAL | 2025-07-03 | 09:55 | 2025-07-03 | 07:15 | ELENA | PRECI | 1 | 0 | / | / | 0.020 |  |  | 1.214 | 3.55 |  | 1 | Kinga |  | 3 | 1 | 10643
1 | 0 | 34 | P/FINAL | 2025-07-03 | 09:56 | 2025-07-03 | 07:15 | ELENA | PRECI | 0 | 0 | / | / | 0.014 |  |  |  | 3.71 |  | 1 | Kinga |  | 3 | 1 | 10643
2 | 40 | 35 | P/FINAL | 2025-07-03 | 09:56 | 2025-07-03 | 07:15 | ELENA | PRECI | 40 | 38 | / | / | 0.159 |  |  |  | 3.33 | 83 | 1 | Kinga |  | 3 | 2 | 10643
2 | 40 | 36 | P/FINAL | 2025-07-03 | 09:57 | 2025-07-03 | 07:15 | ELENA | PRECI | 38 | 38 | / | / | 0.151 |  |  | 1.202 | 4.13 | 108 | 1 | Kinga |  | 3 | 2 | 10643
2 | 40 | 37 | P/FINAL | 2025-07-03 | 09:58 | 2025-07-03 | 07:15 | ELENA | PRECI | 39 | 37 | / | / | 0.156 |  |  |  | 3.02 | 87 | 1 | Kinga |  | 3 | 2 | 10643
3 | 160 | 38 | P/FINAL | 2025-07-03 | 10:12 | 2025-07-03 | 07:15 | ELENA | PRECI | 155 | 152 | / | / | 0.546 |  |  |  | 2.86 | 73 | 1 | Kinga |  | 3 | 3 | 10643
3 | 160 | 39 | P/FINAL | 2025-07-03 | 10:12 | 2025-07-03 | 07:15 | ELENA | PRECI | 159 | 155 | / | / | 0.558 |  |  | 1.265 | 4.53 | 98 | 1 | Kinga |  | 3 | 3 | 10643
3 | 160 | 40 | P/FINAL | 2025-07-03 | 10:13 | 2025-07-03 | 07:15 | ELENA | PRECI | 158 | 154 | / | / | 0.557 |  |  |  | 3.77 | 75 | 1 | Kinga |  | 3 | 3 | 10643
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 152 mg/L | 8 | 16 | 152 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 38 mg/L | 6 | 12 | 38 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 1 mg/L | 5 | 10 | 1 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 1 | YES
40 | 37 ÷ 43 | 38 | YES
160 | 151 ÷ 169 | 152 | YES
Validation Date | by
2025-07-03 | Eugenia