## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38000A-0 | HI38001A-0 | HI38001A-HR | HI38001A-LR | HI38067B-0 | HI705B-0 | HI770C-0 | HI93705B-0 | HI96770C-0
1232 | HI96770C-0 | CP-R14 | W 45/1 |  | Parameter Formula | Sulphate | Sulphate | Sulphate | Sulphate | SiO2 | SiO2 | SiO2 | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent C | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1200 | 1132 | 1232
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-10-01 | 2030-08-01 | 2030-11-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-04 | 2025-11-14 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 1 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
2 | 40 | 37 | 43 | [8 empty] | 1.0 | 0.8 | 1.2
3 | 160 | 151 | 169 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old C | 2025-11-04 | 12:05 | 2025-11-04 | 10:43 | ERIKA |  | 0 | 0 | / | / | 0.015 |  |  |  | 1.83 |  | 1 | Andrea V |  | 3 | 1 | 112414 | HI 96770A-0 LOT:1148 EXP:09/2028
1 | 0 | 2 | Old C | 2025-11-04 | 12:07 | 2025-11-04 | 10:43 | ERIKA |  | 1 | 3 | / | / | 0.018 |  |  |  | 1.98 |  | 1 | Andrea V |  | 3 | 1 | 112414
2 | 40 | 3 | Old C | 2025-11-04 | 12:11 | 2025-11-04 | 10:43 | ERIKA |  | 39 | 41 | / | / | 0.156 |  |  |  | 1.69 |  | 1 | Andrea V |  | 3 | 2 | 112414
2 | 40 | 4 | Old C | 2025-11-04 | 12:12 | 2025-11-04 | 10:43 | ERIKA |  | 38 | 38 | / | / | 0.153 |  |  |  | 1.81 |  | 1 | Andrea V |  | 3 | 2 | 112414
3 | 160 | 5 | Old C | 2025-11-04 | 12:14 | 2025-11-04 | 10:43 | ERIKA |  | 159 | 162 | / | / | 0.559 |  |  |  | 1.56 |  | 1 | Andrea V |  | 3 | 3 | 112414
3 | 160 | 6 | Old C | 2025-11-04 | 12:16 | 2025-11-04 | 10:43 | ERIKA |  | 160 | 162 | / | / | 0.563 |  |  |  | 1.67 |  | 1 | Andrea V |  | 3 | 3 | 112414
1 | 0 | 7 | Valid | 2025-11-04 | 12:23 | 2025-11-04 | 10:43 | ERIKA |  | 0 | 0 | / | / | 0.013 |  |  |  | 1.32 |  | 1 | Andrea V |  | 3 | 1 | 112414
1 | 0 | 8 | Valid | 2025-11-04 | 12:25 | 2025-11-04 | 10:43 | ERIKA |  | 0 | 0 | / | / | 0.015 |  |  | 1.019 | 1.40 |  | 1 | Andrea V |  | 3 | 1 | 112414
2 | 40 | 9 | Valid | 2025-11-04 | 12:27 | 2025-11-04 | 10:43 | ERIKA |  | 38 | 37 | / | / | 0.153 |  |  |  | 1.97 |  | 1 | Andrea V |  | 3 | 2 | 112414
2 | 40 | 10 | Valid | 2025-11-04 | 12:31 | 2025-11-04 | 10:43 | ERIKA |  | 38 | 37 | / | / | 0.153 |  |  | 1.086 | 1.51 |  | 1 | Andrea V |  | 3 | 2 | 112414
2 | 40 | 11 | Valid | 2025-11-04 | 12:31 | 2025-11-04 | 10:43 | ERIKA |  | 37 | 37 | / | / | 0.148 |  |  |  | 1.59 |  | 1 | Andrea V |  | 3 | 2 | 112414
3 | 160 | 12 | Valid | 2025-11-04 | 12:33 | 2025-11-04 | 10:43 | ERIKA |  | 160 | 160 | / | / | 0.561 |  |  |  | 1.17 |  | 1 | Andrea V |  | 3 | 3 | 112414
3 | 160 | 13 | Valid | 2025-11-04 | 12:34 | 2025-11-04 | 10:43 | ERIKA |  | 157 | 155 | / | / | 0.553 |  |  | 1.132 | 1.23 |  | 1 | Andrea V |  | 3 | 3 | 112414
3 | 160 | 14 | Valid | 2025-11-04 | 12:34 | 2025-11-04 | 10:43 | ERIKA |  | 159 | 160 | / | / | 0.558 |  |  |  | 1.88 |  | 1 | Andrea V |  | 3 | 3 | 112414
1 | 0 | 15 | Old C | 2025-11-13 | 18:58 | 2025-11-13 | 17:30 | FLORICA | PRECI | 0 | 0 | / | / | 0.005 |  |  |  | 1.98 |  | 1 | Andrea V |  | 3 | 1 | 112414
1 | 0 | 16 | Old C | 2025-11-13 | 18:58 | 2025-11-13 | 17:30 | FLORICA | PRECI | 0 | 0 | / | / | 0.003 |  |  |  | 1.99 |  | 1 | Andrea V |  | 3 | 1 | 112414
2 | 40 | 17 | Old C | 2025-11-13 | 18:58 | 2025-11-13 | 17:30 | FLORICA | PRECI | 40 | 41 | / | / | 0.158 |  |  |  | 1.82 |  | 1 | Andrea V |  | 3 | 2 | 112414
2 | 40 | 18 | Old C | 2025-11-13 | 18:58 | 2025-11-13 | 17:30 | FLORICA | PRECI | 40 | 42 | / | / | 0.160 |  |  |  | 1.83 |  | 1 | Andrea V |  | 3 | 2 | 112414
3 | 160 | 19 | Old C | 2025-11-13 | 19:01 | 2025-11-13 | 17:30 | FLORICA | PRECI | 160 | 164 | / | / | 0.564 |  |  |  | 1.48 |  | 1 | Andrea V |  | 3 | 3 | 112414
3 | 160 | 20 | Old C | 2025-11-13 | 19:01 | 2025-11-13 | 17:30 | FLORICA | PRECI | 162 | 165 | / | / | 0.564 |  |  |  | 1.51 |  | 1 | Andrea V |  | 3 | 3 | 112414
2 | 40 | 21 | P/FINAL | 2025-11-13 | 19:05 | 2025-11-13 | 17:30 | FLORICA | PRECI | 37 | 40 | / | / | 0.149 |  |  | 1.132 | 1.34 |  | 1 | Andrea V |  | 3 | 2 | 112414
2 | 40 | 22 | P/FINAL | 2025-11-13 | 19:05 | 2025-11-13 | 17:30 | FLORICA | PRECI | 37 | 40 | / | / | 0.143 |  |  |  | 1.20 | 103 | 1 | Andrea V |  | 3 | 2 | 112414
2 | 40 | 23 | P/FINAL | 2025-11-13 | 19:06 | 2025-11-13 | 17:30 | FLORICA | PRECI | 37 | 41 | / | / | 0.148 |  |  |  | 0.90 | 106 | 1 | Andrea V |  | 3 | 2 | 112414
3 | 160 | 24 | P/FINAL | 2025-11-13 | 19:08 | 2025-11-13 | 17:30 | FLORICA | PRECI | 154 | 158 | / | / | 0.543 |  |  | 1.115 | 1.00 |  | 1 | Andrea V |  | 3 | 3 | 112414
3 | 160 | 25 | P/FINAL | 2025-11-13 | 19:08 | 2025-11-13 | 17:30 | FLORICA | PRECI | 155 | 158 | / | / | 0.546 |  |  |  | 0.94 | 99 | 1 | Andrea V |  | 3 | 3 | 112414
3 | 160 | 26 | P/FINAL | 2025-11-13 | 19:09 | 2025-11-13 | 17:30 | FLORICA | PRECI | 151 | 159 | / | / | 0.535 |  |  |  | 0.93 | 99 | 1 | Andrea V |  | 3 | 3 | 112414
1 | 0 | 27 | P/FINAL | 2025-11-13 | 19:10 | 2025-11-13 | 17:30 | FLORICA | PRECI | 0 | 0 | / | / | 0.008 |  |  | 1.080 | 1.11 | 103 | 1 | Andrea V |  | 3 | 1 | 112414
1 | 0 | 28 | P/FINAL | 2025-11-13 | 19:10 | 2025-11-13 | 17:30 | FLORICA | PRECI | 0 | 0 | / | / | 0.009 |  |  |  | 1.05 |  | 1 | Andrea V |  | 3 | 1 | 112414
2 | 40 | 29 | Old C | 2025-11-14 | 09:20 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 38 | 39 | / | / | 0.151 |  |  |  | 1.65 |  | 1 | Kinga |  | 3 | 2
2 | 40 | 30 | Old C | 2025-11-14 | 09:20 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 39 | 40 | / | / | 0.154 |  |  |  | 1.73 |  | 1 | Kinga |  | 3 | 2
3 | 160 | 31 | Old C | 2025-11-14 | 09:21 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 153 | 157 | / | / | 0.541 |  |  |  | 1.92 |  | 1 | Kinga |  | 3 | 3
3 | 160 | 32 | Old C | 2025-11-14 | 09:23 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 154 | 156 | / | / | 0.540 |  |  |  | 1.97 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 33 | Old C | 2025-11-14 | 09:23 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 1 | 1 | / | / | 0.020 |  |  |  | 2.31 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 34 | Old C | 2025-11-14 | 09:24 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 0 | 1 | / | / | 0.015 |  |  |  | 2.19 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 35 | P/FINAL | 2025-11-14 | 09:24 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 0 | 1 | / | / | 0.017 |  |  |  | 1.66 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 36 | P/FINAL | 2025-11-14 | 09:35 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.014 |  |  |  | 2.71 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 37 | P/FINAL | 2025-11-14 | 09:35 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.009 |  |  | 1.093 | 2.30 |  | 1 | Kinga |  | 3 | 1
2 | 40 | 38 | P/FINAL | 2025-11-14 | 09:37 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 39 | 42 | / | / | 0.153 |  |  |  | 1.63 | 108 | 1 | Kinga |  | 3 | 2
2 | 40 | 39 | P/FINAL | 2025-11-14 | 09:38 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 37 | 40 | / | / | 0.149 |  |  |  | 1.42 | 72 | 1 | Kinga |  | 3 | 2
2 | 40 | 40 | P/FINAL | 2025-11-14 | 09:38 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 38 | 39 | / | / | 0.151 |  |  | 1.101 | 1.42 | 104 | 1 | Kinga |  | 3 | 2
3 | 160 | 41 | P/FINAL | 2025-11-14 | 09:39 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 155 | 157 | / | / | 0.546 |  |  |  | 1.48 | 91 | 1 | Kinga |  | 3 | 3
3 | 160 | 42 | P/FINAL | 2025-11-14 | 09:39 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 154 | 157 | / | / | 0.544 |  |  |  | 1.71 | 90 | 1 | Kinga |  | 3 | 3
3 | 160 | 43 | P/FINAL | 2025-11-14 | 09:40 | 2025-11-14 | 06:40 | GABRIELLA | PRECI | 156 | 159 | / | / | 0.551 |  |  | 1.180 | 1.72 | 97 | 1 | Kinga |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0 mg/L | 5 | 10 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 39 mg/L | 6 | 12 | 39 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 156 mg/L | 6 | 12 | 156 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 39 | YES
160 | 151 ÷ 169 | 156 | YES
Validation Date | by