## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771A-0 | HI83730B-0 | HI95771A-0 | MI590B-0
0906 | HI771A-0 | CP-R21 | W 05/1 |  | Parameter Formula | Cl2 | Oxygen/kg | Cl2 | Peroxide
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent A | 2030-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
130 | 115 | 145
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-17 | 2025-03-17 | 4head |  |  | 0587
[6 empty] | Expiration A | Expiration B | Expiration D
2029-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 92 | 108 |  | CM133 |  | 3 | & | 5% | 100% |  | 7.0 | 6.8 | 7.2
3 | 400 | 377 | 423 | [8 empty] | 1.5 | 1.4 | 1.7
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97771 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | P/Prod | 2025-03-17 | 09:21 | 2025-03-14 | 19:26 | DORINA | 4 | 96 | 93 | / | / | 0.450 |  |  |  | 4.79 |  |  | Kinga |  | 3 | 2
2 | 100 | 2 | P/Prod | 2025-03-17 | 09:22 | 2025-03-14 | 19:26 | DORINA | 4 | 95 | 93 | / | / | 0.443 |  | 1.766 |  | 2.18 |  |  | Kinga |  | 3 | 2
3 | 400 | 3 | P/Prod | 2025-03-17 | 09:22 | 2025-03-14 | 19:26 | DORINA | 4 | 415 | 412 | / | / | 1.894 |  |  |  | 0.91 | 143 |  | Kinga |  | 3 | 3
3 | 400 | 4 | P/Prod | 2025-03-17 | 09:24 | 2025-03-14 | 19:26 | DORINA | 4 | 418 | 415 | / | / | 1.912 |  | 1.787 |  | 3.85 | 135 |  | Kinga |  | 3 | 3
1 | 0 | 5 | P/Prod | 2025-03-17 | 09:28 | 2025-03-14 | 19:26 | DORINA | 4 | 2 | 0 | / | / | 0.006 |  |  |  | 1.88 | 132 |  | Kinga |  | 3 | 1
1 | 0 | 6 | P/Prod | 2025-03-17 | 09:28 | 2025-03-14 | 19:26 | DORINA | 4 | 1 | 0 | / | / | 0.007 |  | 1.792 |  | 3.43 | 124 |  | Kinga |  | 3 | 1
1 | 0 | 7 | P/Prod | 2025-03-17 | 09:36 | 2025-03-17 | 08:06 | DORINA | 4 | 2 | 0 | / | / | 0.009 |  |  |  | 1.70 | 130 |  | Kinga |  | 3 | 1
1 | 0 | 8 | P/Prod | 2025-03-17 | 09:36 | 2025-03-17 | 08:06 | DORINA | 4 | 2 | 0 | / | / | 0.008 |  | 1.704 |  | 1.61 | 134 |  | Kinga |  | 3 | 1
2 | 100 | 9 | P/Prod | 2025-03-17 | 09:38 | 2025-03-17 | 08:06 | DORINA | 4 | 94 | 92 | / | / | 0.440 |  |  |  | 4.81 | 153 |  | Kinga |  | 3 | 2
2 | 100 | 10 | P/Prod | 2025-03-17 | 09:39 | 2025-03-17 | 08:06 | DORINA | 4 | 93 | 92 | / | / | 0.436 |  | 1.737 |  | 0.73 | 138 |  | Kinga |  | 3 | 2
3 | 400 | 11 | P/Prod | 2025-03-17 | 09:40 | 2025-03-17 | 08:06 | DORINA | 4 | 414 | 411 | / | / | 1.890 |  |  |  | 2.06 |  |  | Kinga |  | 3 | 3
3 | 400 | 12 | P/Prod | 2025-03-17 | 09:40 | 2025-03-17 | 08:06 | DORINA | 4 | 413 | 413 | / | / | 1.889 |  | 1.795 |  | 1.31 |  |  | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 94 mg/L | 4 | 8 | 94 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 414 mg/L | 4 | 8 | 414 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1 mg/L | 4 | 8 | 1 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 1 | YES
100 | 92 ÷ 108 | 94 | YES
400 | 377 ÷ 423 | 414 | YES
Validation Date | by