## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771A-0 | HI83730B-0 | HI95771A-0 | MI590B-0
1105 | HI771A-0 | CP-R21 | W 28/1 |  | Parameter Formula | Cl2 | Oxygen/kg | Cl2 | Peroxide
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent A | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
130 | 115 | 145
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1105 | 0600
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-07-01 | 2029-05-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-30 | 2025-07-30 | UP4H |  |  | 0906
[6 empty] | Expiration A | Expiration B | Expiration D
2030-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-781
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 92 | 108 |  | CM133 |  | 3 | & | 5% | 100% |  | 7.0 | 6.8 | 7.2
3 | 400 | 377 | 423 | [8 empty] | 1.5 | 1.4 | 1.7
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97771 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | Old A | 2025-07-30 | 15:39 | 2025-07-30 | 15:05 | DORINA |  | 94 | 93 | / | / | 0.441 |  |  |  | 1.18 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 2 | Old A | 2025-07-30 | 15:40 | 2025-07-30 | 15:05 | DORINA |  | 94 | 93 | / | / | 0.441 |  |  |  | 1.38 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 3 | Old A | 2025-07-30 | 15:41 | 2025-07-30 | 15:05 | DORINA |  | 396 | 395 | / | / | 1.811 |  | 1.519 |  | 2.72 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 4 | Old A | 2025-07-30 | 15:41 | 2025-07-30 | 15:05 | DORINA |  | 399 | 397 | / | / | 1.823 |  |  |  | 1.50 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 5 | Old A | 2025-07-30 | 15:42 | 2025-07-30 | 15:05 | DORINA |  | 0 | 0 | / | / | -0.002 |  |  |  | 1.64 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 6 | P/FINAL | 2025-07-30 | 15:47 | 2025-07-30 | 15:05 | DORINA |  | 94 | 93 | / | / | 0.441 |  |  |  | 2.11 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 7 | P/FINAL | 2025-07-30 | 15:48 | 2025-07-30 | 15:05 | DORINA |  | 95 | 94 | / | / | 0.447 |  | 1.900 |  | 2.11 | 111 | 1 | Kinga |  | 3 | 2
2 | 100 | 8 | P/FINAL | 2025-07-30 | 15:48 | 2025-07-30 | 15:05 | DORINA |  | 95 | 93 | / | / | 0.446 |  |  |  | 2.33 | 124 | 1 | Kinga |  | 3 | 2
3 | 400 | 9 | P/FINAL | 2025-07-30 | 15:52 | 2025-07-30 | 15:05 | DORINA |  | 399 | 399 | / | / | 1.825 |  |  |  | 1.78 | 125 | 1 | Kinga |  | 3 | 3
3 | 400 | 10 | P/FINAL | 2025-07-30 | 15:53 | 2025-07-30 | 15:05 | DORINA |  | 400 | 399 | / | / | 1.826 |  | 1.555 |  | 1.00 | 133 | 1 | Kinga |  | 3 | 3
3 | 400 | 11 | P/FINAL | 2025-07-30 | 15:53 | 2025-07-30 | 15:05 | DORINA |  | 398 | 399 | / | / | 1.821 |  |  |  | 1.85 | 122 | 1 | Kinga |  | 3 | 3
1 | 0 | 12 | P/FINAL | 2025-07-30 | 15:54 | 2025-07-30 | 15:05 | DORINA |  | 0 | 0 | / | / | -0.002 |  |  |  | 2.37 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 13 | P/FINAL | 2025-07-30 | 15:55 | 2025-07-30 | 15:05 | DORINA |  | 0 | 0 | / | / | -0.001 |  |  |  | 2.23 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 94 mg/L | 3 | 6 | 94 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 399 mg/L | 3 | 6 | 399 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 0 | YES
100 | 92 ÷ 108 | 94 | YES
400 | 377 ÷ 423 | 399 | YES
Validation Date | by
2025-08-25 | Eugenia