## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771A-0 | HI83730B-0 | HI95771A-0 | MI590B-0
1221 | HI771A-0 | CP-R21 | W 44/1 |  | Parameter Formula | Cl2 | Oxygen/kg | Cl2 | Peroxide
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent A | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
130 | 115 | 145
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1221 | 1219
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-10-01 | 2030-10-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/EVELIN | 2025-10-30 | 2025-10-31 | 4 HEAD |  |  | 1188
[6 empty] | Expiration A | Expiration B | Expiration D
2030-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 3 |  | CM133 |  | 3 | & | 5% | 100% |  | 7.0 | 6.8 | 7.2
2 | 100 | 92 | 108 | [8 empty] | 1.5 | 1.4 | 1.7
3 | 400 | 377 | 423
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | P/FINAL | 2025-10-31 | 10:31 | 2025-10-30 | 08:02 | ANA | 4 | 2 | 3 | / | / | 0.007 |  |  |  | 0.62 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 2 | P/FINAL | 2025-10-31 | 10:32 | 2025-10-30 | 08:02 | ANA | 4 | 2 | 2 | / | / | 0.007 |  | 1.375 |  | 1.13 |  | 1 | Andrea V |  | 3 | 1
2 | 100 | 3 | P/FINAL | 2025-10-31 | 10:34 | 2025-10-30 | 08:02 | ANA | 4 | 101 | 101 | / | / | 0.472 |  |  |  | 0.64 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 4 | P/FINAL | 2025-10-31 | 10:34 | 2025-10-30 | 08:02 | ANA | 4 | 101 | 102 | / | / | 0.473 |  | 1.559 |  | 0.86 | 126 | 1 | Andrea V |  | 3 | 2
2 | 100 | 5 | P/FINAL | 2025-10-31 | 10:35 | 2025-10-30 | 08:02 | ANA | 4 | 101 | 102 | / | / | 0.474 |  |  |  | 0.45 | 118 | 1 | Andrea V |  | 3 | 2
3 | 400 | 6 | P/FINAL | 2025-10-31 | 10:36 | 2025-10-30 | 08:02 | ANA | 4 | 413 | 413 | / | / | 1.887 |  |  |  | 0.86 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 7 | P/FINAL | 2025-10-31 | 10:36 | 2025-10-30 | 08:02 | ANA | 4 | 412 | 414 | / | / | 1.884 |  | 1.542 |  | 0.82 | 129 | 1 | Andrea V |  | 3 | 3
3 | 400 | 8 | P/FINAL | 2025-10-31 | 10:37 | 2025-10-30 | 08:02 | ANA | 4 | 412 | 414 | / | / | 1.884 |  |  |  | 0.76 | 154 | 1 | Andrea V |  | 3 | 3
3 | 400 | 9 | P/FINAL | 2025-10-31 | 10:46 | 2025-10-31 | 07:05 | DORINA | 4 | 414 | 414 | / | / | 1.891 |  |  |  | 1.61 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 10 | P/FINAL | 2025-10-31 | 10:48 | 2025-10-31 | 07:05 | DORINA | 4 | 415 | 415 | / | / | 1.894 |  | 1.520 |  | 1.22 | 136 | 1 | Andrea V |  | 3 | 3
3 | 400 | 11 | P/FINAL | 2025-10-31 | 10:48 | 2025-10-31 | 07:05 | DORINA | 4 | 415 | 414 | / | / | 1.894 |  |  |  | 0.62 | 146 | 1 | Andrea V |  | 3 | 3
2 | 100 | 12 | P/FINAL | 2025-10-31 | 10:51 | 2025-10-31 | 07:05 | DORINA | 4 | 102 | 103 | / | / | 0.477 |  |  |  | 1.45 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 13 | P/FINAL | 2025-10-31 | 10:52 | 2025-10-31 | 07:05 | DORINA | 4 | 102 | 103 | / | / | 0.479 |  | 1.503 |  | 1.13 | 129 | 1 | Andrea V |  | 3 | 2
2 | 100 | 14 | P/FINAL | 2025-10-31 | 10:52 | 2025-10-31 | 07:05 | DORINA | 4 | 102 | 103 | / | / | 0.479 |  |  |  | 1.77 | 154 | 1 | Andrea V |  | 3 | 2
1 | 0 | 15 | P/FINAL | 2025-10-31 | 10:53 | 2025-10-31 | 07:05 | DORINA | 4 | 3 | 3 | / | / | 0.013 |  |  |  | 2.90 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 16 | P/FINAL | 2025-10-31 | 10:54 | 2025-10-31 | 07:05 | DORINA | 4 | 3 | 3 | / | / | 0.011 |  | 1.425 |  | 2.40 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 17 | Old A | 2025-10-31 | 11:13 | 2025-10-31 | 07:05 | DORINA | 4 | 3 | 2 | / | / | 0.010 |  |  |  | 0.97 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 18 | Old A | 2025-10-31 | 11:13 | 2025-10-31 | 07:05 | DORINA | 4 | 2 | 2 | / | / | 0.009 |  |  |  | 0.89 |  | 1 | Andrea V |  | 3 | 1
2 | 100 | 19 | Old A | 2025-10-31 | 11:13 | 2025-10-31 | 07:05 | DORINA | 4 | 102 | 103 | / | / | 0.479 |  |  |  | 0.71 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 20 | Old A | 2025-10-31 | 11:13 | 2025-10-31 | 07:05 | DORINA | 4 | 102 | 103 | / | / | 0.477 |  |  |  | 1.15 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 21 | Old A | 2025-10-31 | 11:14 | 2025-10-31 | 07:05 | DORINA | 4 | 415 | 415 | / | / | 1.895 |  |  |  | 2.10 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 22 | Old A | 2025-10-31 | 11:14 | 2025-10-31 | 07:05 | DORINA | 4 | 415 | 417 | / | / | 1.896 |  |  |  | 2.34 |  | 1 | Andrea V |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 3 mg/L | 4 | 8 | 3 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 102 mg/L | 6 | 12 | 102 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 414 mg/L | 6 | 12 | 414 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 3 | YES
100 | 92 ÷ 108 | 102 | YES
400 | 377 ÷ 423 | 414 | YES
Validation Date | by