## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771A-0 | HI83730B-0 | HI95771A-0 | MI590B-0
1245 | HI771A-0 | CP-R21 | W 47/1 |  | Parameter Formula | Cl2 | Oxygen/kg | Cl2 | Peroxide
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent A | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
130 | 115 | 145
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1245 | 1242
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-11-01 | 2030-11-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-25 | 2025-11-25 | 1 head |  |  | 0906
[6 empty] | Expiration A | Expiration B | Expiration D
2030-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 92 | 108 |  | CM133 |  | 3 | & | 5% | 100% |  | 7.0 | 6.8 | 7.2
3 | 400 | 377 | 423 | [8 empty] | 1.5 | 1.4 | 1.7
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97771 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | Old A | 2025-11-25 | 08:34 | 2025-11-24 | 20:31 | Ana | 1 | 96 | 97 | / | / | 0.451 |  |  |  | 3.16 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 2 | Old A | 2025-11-25 | 08:34 | 2025-11-24 | 20:31 | Ana | 1 | 96 | 96 | / | / | 0.450 |  |  |  | 1.96 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 3 | Old A | 2025-11-25 | 08:35 | 2025-11-24 | 20:31 | Ana | 1 | 386 | 393 | / | / | 1.741 |  |  |  | 8.92 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 4 | Old A | 2025-11-25 | 08:36 | 2025-11-24 | 20:31 | Ana | 1 | 385 | 389 | / | / | 1.761 |  |  |  | 6.76 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 5 | Old A | 2025-11-25 | 08:38 | 2025-11-24 | 20:31 | Ana | 1 | 1 | 3 | / | / | 0.005 |  |  |  | 6.76 | 138 | 1 | Kinga |  | 3 | 1
1 | 0 | 6 | Old A | 2025-11-25 | 08:39 | 2025-11-24 | 20:31 | Ana | 1 | 2 | 2 | / | / | 0.006 |  |  |  | 3.64 | 126 | 1 | Kinga |  | 3 | 1
2 | 100 | 7 | P/FINAL | 2025-11-25 | 08:45 | 2025-11-24 | 20:31 | Ana | 1 | 97 | 99 | / | / | 0.453 |  |  |  | 3.78 | 134 | 1 | Kinga |  | 3 | 2
2 | 100 | 8 | P/FINAL | 2025-11-25 | 08:45 | 2025-11-24 | 20:31 | Ana | 1 | 97 | 99 | / | / | 0.454 |  | 1.558 |  | 2.30 | 133 | 1 | Kinga |  | 3 | 2
2 | 100 | 9 | P/FINAL | 2025-11-25 | 08:46 | 2025-11-24 | 20:31 | Ana | 1 | 96 | 102 | / | / | 0.452 |  |  |  | 3.97 | 129 | 1 | Kinga |  | 3 | 2
3 | 400 | 10 | P/FINAL | 2025-11-25 | 08:47 | 2025-11-24 | 20:31 | Ana | 1 | 381 | 385 | / | / | 1.740 |  |  |  | 10.9 | 131 | 1 | Kinga |  | 3 | 3
3 | 400 | 11 | P/FINAL | 2025-11-25 | 08:47 | 2025-11-24 | 20:31 | Ana | 1 | 383 | 388 | / | / | 1.753 |  |  |  | 5.02 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 12 | P/FINAL | 2025-11-25 | 08:48 | 2025-11-24 | 20:31 | Ana | 1 | 389 | 389 | / | / | 1.783 |  | 1.692 |  | 4.83 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 13 | P/FINAL | 2025-11-25 | 08:49 | 2025-11-24 | 20:31 | Ana | 1 | 0 | 2 | / | / | -0.001 |  |  |  | 1.49 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 14 | P/FINAL | 2025-11-25 | 08:50 | 2025-11-24 | 20:31 | Ana | 1 | 0 | 1 | / | / | -0.001 |  | 1.466 |  | 1.51 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 15 | P/FINAL | 2025-11-25 | 09:00 | 2025-11-25 | 07:59 | Dorina | 1 | 96 | 102 | / | / | 0.452 |  |  |  | 3.43 | 135 | 1 | Kinga |  | 3 | 2
2 | 100 | 16 | P/FINAL | 2025-11-25 | 09:00 | 2025-11-25 | 07:59 | Dorina | 1 | 97 | 99 | / | / | 0.455 |  |  |  | 3.94 | 125 | 1 | Kinga |  | 3 | 2
2 | 100 | 17 | P/FINAL | 2025-11-25 | 09:01 | 2025-11-25 | 07:59 | Dorina | 1 | 98 | 100 | / | / | 0.458 |  | 1.514 |  | 3.99 | 134 | 1 | Kinga |  | 3 | 2
3 | 400 | 18 | P/FINAL | 2025-11-25 | 09:02 | 2025-11-25 | 07:59 | Dorina | 1 | 382 | 387 | / | / | 1.747 |  |  |  | 3.73 | 133 | 1 | Kinga |  | 3 | 3
3 | 400 | 19 | P/FINAL | 2025-11-25 | 09:02 | 2025-11-25 | 07:59 | Dorina | 1 | 390 | 387 | / | / | 1.781 |  |  |  | 5.78 | 129 | 1 | Kinga |  | 3 | 3
3 | 400 | 20 | P/FINAL | 2025-11-25 | 09:03 | 2025-11-25 | 07:59 | Dorina | 1 | 397 | 399 | / | / | 1.789 |  | 1.667 |  | 5.88 | 131 | 1 | Kinga |  | 3 | 3
1 | 0 | 21 | P/FINAL | 2025-11-25 | 09:06 | 2025-11-25 | 07:59 | Dorina | 1 | 1 | 3 | / | / | 0.005 |  |  |  | 2.79 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 22 | P/FINAL | 2025-11-25 | 09:07 | 2025-11-25 | 07:59 | Dorina | 1 | 1 | 2 | / | / | 0.004 |  |  |  | 2.00 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 99 mg/L | 6 | 12 | 99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 388 mg/L | 6 | 12 | 388 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1 mg/L | 4 | 8 | 1 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 1 | YES
100 | 92 ÷ 108 | 99 | YES
400 | 377 ÷ 423 | 388 | YES
Validation Date | by