## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771A-0 | HI83730B-0 | HI95771A-0 | MI590B-0
0906/N | HI95771A-0 | CP-R21 | W 05/1 |  | Parameter Formula | Cl2 | Oxygen/kg | Cl2 | Peroxide
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent A | 2030-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
130 | 115 | 145
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-02-07 | 2025-03-17 | 4head |  |  | 0587
[6 empty] | Expiration A | Expiration B | Expiration D
2029-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 94 | 106 |  | CM133 |  | 3 | & | 3% | 100% |  | 7.0 | 6.8 | 7.2
3 | 400 | 385 | 415 | [8 empty] | 1.5 | 1.4 | 1.7
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | P/Prod | 2025-02-25 | 10:24 | 2025-02-25 | 08:45 | GIORGIANA | 4 | 102 | 103 | / | / | 0.477 |  |  |  | 1.45 |  |  | Kinga |  | 3 | 2
2 | 100 | 2 | P/Prod | 2025-02-25 | 10:24 | 2025-02-25 | 08:45 | GIORGIANA | 4 | 101 | 101 | / | / | 0.474 |  | 1.938 |  | 1.71 | 129 |  | Kinga |  | 3 | 2
3 | 400 | 3 | P/Prod | 2025-02-25 | 10:25 | 2025-02-25 | 08:45 | GIORGIANA | 4 | 407 | 409 | / | / | 1.861 |  |  |  | 1.63 | 153 |  | Kinga |  | 3 | 3
3 | 400 | 4 | P/Prod | 2025-02-25 | 10:25 | 2025-02-25 | 08:45 | GIORGIANA | 4 | 408 | 410 | / | / | 1.865 |  | 1.856 |  | 2.02 | 153 |  | Kinga |  | 3 | 3
1 | 0 | 5 | P/Prod | 2025-02-25 | 10:26 | 2025-02-25 | 08:45 | GIORGIANA | 4 | 1 | 2 | / | / | 0.005 |  |  |  | 2.50 | 133 |  | Kinga |  | 3 | 1
1 | 0 | 6 | P/Prod | 2025-02-25 | 10:27 | 2025-02-25 | 08:45 | GIORGIANA | 4 | 2 | 2 | / | / | 0.008 |  | 1.740 |  | 2.50 |  |  | Kinga |  | 3 | 1
2 | 100 | 7 | P/Prod | 2025-02-25 | 15:58 | 2025-02-25 | 14:34 | DORINA | 4 | 101 | 103 | / | / | 0.474 |  |  |  | 0.66 | 120 |  | Kinga |  | 3 | 2
2 | 100 | 8 | P/Prod | 2025-02-25 | 15:59 | 2025-02-25 | 14:34 | DORINA | 4 | 102 | 103 | / | / | 0.477 |  | 1.926 |  | 0.82 | 139 |  | Kinga |  | 3 | 2
3 | 400 | 9 | P/Prod | 2025-02-25 | 15:59 | 2025-02-25 | 14:34 | DORINA | 4 | 413 | 413 | / | / | 1.886 |  |  |  | 1.75 | 100 |  | Kinga |  | 3 | 3
3 | 400 | 10 | P/Prod | 2025-02-25 | 16:01 | 2025-02-25 | 14:34 | DORINA | 4 | 413 | 413 | / | / | 1.887 |  | 1.865 |  | 1.62 | 109 |  | Kinga |  | 3 | 3
1 | 0 | 11 | P/Prod | 2025-02-25 | 16:04 | 2025-02-25 | 14:34 | DORINA | 4 | 1 | 2 | / | / | 0.005 |  |  |  | 2.03 |  |  | Kinga |  | 3 | 1
1 | 0 | 12 | P/Prod | 2025-02-25 | 16:05 | 2025-02-25 | 14:34 | DORINA | 4 | 2 | 2 | / | / | 0.006 |  | 1.738 |  | 1.03 |  |  | Kinga |  | 3 | 1
2 | 100 | 13 | P/Prod | 2025-02-26 | 08:39 | 2025-02-26 | 05:20 | ROLAND | 4 | 101 | 102 | / | / | 0.471 | 1.929 | 1.929 |  | 0.66 | 110 |  | Kinga |  | 3 | 2
2 | 100 | 14 | P/Prod | 2025-02-26 | 08:40 | 2025-02-26 | 05:20 | ROLAND | 4 | 103 | 104 | / | / | 0.479 |  |  |  | 0.74 | 112 |  | Kinga |  | 3 | 2
1 | 0 | 15 | P/Prod | 2025-02-26 | 08:43 | 2025-02-26 | 05:20 | ROLAND | 4 | 1 | 1 | / | / | 0.004 |  | 1.693 |  | 15.4 |  |  | Kinga |  | 3 | 1
1 | 0 | 16 | P/Prod | 2025-02-26 | 08:44 | 2025-02-26 | 05:20 | ROLAND | 4 | 1 | 1 | / | / | 0.005 |  |  |  | 2.00 |  |  | Kinga |  | 3 | 1
3 | 400 | 17 | P/Prod | 2025-02-26 | 08:48 | 2025-02-26 | 05:20 | ROLAND | 4 | 411 | 412 | / | / | 1.878 |  | 1.748 |  | 0.80 | 110 |  | Kinga |  | 3 | 3
3 | 400 | 18 | P/Prod | 2025-02-26 | 08:49 | 2025-02-26 | 05:20 | ROLAND | 4 | 412 | 412 | / | / | 1.882 |  |  |  | 0.63 | 82 |  | Kinga |  | 3 | 3
2 | 100 | 19 | P/Prod | 2025-03-17 | 09:52 | 2025-03-14 | 22:34 | GIORGIANA | 4 | 94 | 95 | / | / | 0.446 |  |  |  | 1.07 |  |  | Kinga |  | 3 | 2
2 | 100 | 20 | P/Prod | 2025-03-17 | 09:53 | 2025-03-14 | 22:34 | GIORGIANA | 4 | 94 | 95 | / | / | 0.447 |  | 1.645 |  | 3.42 |  |  | Kinga |  | 3 | 2
3 | 400 | 21 | P/Prod | 2025-03-17 | 09:53 | 2025-03-14 | 22:34 | GIORGIANA | 4 | 409 | 410 | / | / | 1.868 |  |  |  | 0.88 | 159 |  | Kinga |  | 3 | 3
3 | 400 | 22 | P/Prod | 2025-03-17 | 09:54 | 2025-03-14 | 22:34 | GIORGIANA | 4 | 411 | 413 | / | / | 1.880 |  | 1.836 |  | 0.60 | 130 |  | Kinga |  | 3 | 3
1 | 0 | 23 | P/Prod | 2025-03-17 | 09:55 | 2025-03-14 | 22:34 | GIORGIANA | 4 | 2 | 2 | / | / | 0.009 |  |  |  | 1.53 | 129 |  | Kinga |  | 3 | 1
1 | 0 | 24 | P/Prod | 2025-03-17 | 09:55 | 2025-03-14 | 22:34 | GIORGIANA | 4 | 2 | 1 | / | / | 0.008 |  | 1.644 |  | 1.52 | 156 |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 102 mg/L | 6 | 12 | 102 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 411 mg/L | 6 | 12 | 411 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 2 mg/L | 6 | 12 | 2 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 2 | YES
100 | 94 ÷ 106 | 102 | YES
400 | 385 ÷ 415 | 411 | YES
Validation Date | by