## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771A-0 | HI83730B-0 | HI95771A-0 | MI590B-0
0958 | HI95771A-0 | CP-R21 | W 11/1 |  | Parameter Formula | Cl2 | Oxygen/kg | Cl2 | Peroxide
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent A | 2030-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
130 | 115 | 145
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0958 | 0930
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
03.2030 | 2030-02-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-17 | 2025-03-18 | 1head |  |  | 0848
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 400 | 385 | 415 |  | CM133 |  | 3 | & | 3% | 100% |  | 7.0 | 6.8 | 7.2
2 | 100 | 94 | 106 | [8 empty] | 1.5 | 1.4 | 1.7
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 400 | 1 | Old A | 2025-03-13 | 10:22 | 2025-03-13 | 09:02 | ERIKA |  | 412 | 415 | / | / | 1.892 |  |  |  | 2.44 |  | 1 | Kinga |  | 3 | 3
2 | 100 | 2 | Old A | 2025-03-13 | 10:23 | 2025-03-13 | 09:02 | ERIKA |  | 105 | 106 | / | / | 0.500 |  |  |  | 1.94 |  | 1 | Kinga |  | 3 | 2
1 | 0 | 3 | Old A | 2025-03-13 | 10:26 | 2025-03-13 | 09:02 | ERIKA |  | 2 | 2 | / | / | 0.008 |  |  |  | 1.97 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 4 | Valid | 2025-03-13 | 10:28 | 2025-03-13 | 09:02 | ERIKA |  | 107 | 106 | / | / | 0.503 |  |  |  | 1.36 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 5 | Valid | 2025-03-13 | 10:34 | 2025-03-13 | 09:02 | ERIKA |  | 415 | 415 | / | / | 1.895 |  |  |  | 2.41 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 6 | Valid | 2025-03-13 | 10:37 | 2025-03-13 | 09:02 | ERIKA |  | 415 | 415 | / | / | 1.897 |  |  |  | 1.08 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 7 | Valid | 2025-03-13 | 10:38 | 2025-03-13 | 09:02 | ERIKA |  | 416 | 415 | / | / | 1.902 |  | 1.733 |  | 1.60 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 8 | Valid | 2025-03-13 | 10:46 | 2025-03-13 | 09:02 | ERIKA |  | 3 | 0 | / | / | 0.010 |  |  |  | 1.89 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 9 | Valid | 2025-03-13 | 10:47 | 2025-03-13 | 09:02 | ERIKA |  | 2 | 1 | / | / | 0.008 |  | 1.699 |  | 1.74 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 10 | Valid | 2025-03-13 | 10:49 | 2025-03-13 | 09:02 | ERIKA |  | 103 | 97 | / | / | 0.480 |  |  |  | 3.49 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 11 | Valid | 2025-03-13 | 10:50 | 2025-03-13 | 09:02 | ERIKA |  | 97 | 96 | / | / | 0.454 |  | 1.687 |  | 3.59 | 132 | 1 | Kinga |  | 3 | 2
2 | 100 | 12 | P/Prod | 2025-03-17 | 10:35 | 2025-03-17 | 10:02 | DORINA | 4 | 94 | 94 | / | / | 0.437 |  |  |  | 0.97 | 134 | 1 | Kinga |  | 3 | 2
2 | 100 | 13 | P/Prod | 952025/03/17 | 10:36 | 2025-03-17 | 10:02 | DORINA | 4 | 95 | 94 | / | / | 0.447 |  | 1.732 |  | 1.26 | 138 | 1 | Kinga |  | 3 | 2
3 | 400 | 14 | P/Prod | 952025/03/17 | 10:37 | 2025-03-17 | 10:02 | DORINA | 4 | 411 | 411 | / | / | 1.876 |  |  |  | 1.26 | 141 | 1 | Kinga |  | 3 | 3
3 | 400 | 15 | P/Prod | 952025/03/17 | 10:37 | 2025-03-17 | 10:02 | DORINA | 4 | 413 | 414 | / | / | 1.886 |  | 1.815 |  | 0.90 | 141 | 1 | Kinga |  | 3 | 3
1 | 0 | 16 | P/Prod | 952025/03/17 | 10:41 | 2025-03-17 | 10:02 | DORINA | 4 | 2 | 2 | / | / | 0.006 |  |  |  | 0.91 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 17 | P/Prod | 952025/03/17 | 10:41 | 2025-03-17 | 10:02 | DORINA | 4 | 3 | 2 | / | / | 0.011 |  | 1.755 |  | 1.99 |  | 1 | Kinga |  | 3 | 1
3 | 400 | 18 | P/Prod | 2025-03-17 | 14:42 | 2025-03-17 | 14:27 | GIORGIANA | 4 | 414 | 415 | / | / | 1.893 |  |  |  | 3.05 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 19 | P/Prod | 2025-03-17 | 14:43 | 2025-03-17 | 14:27 | GIORGIANA | 4 | 415 | 415 | / | / | 1.896 |  | 1.764 |  | 0.91 |  | 1 | Kinga |  | 3 | 3
2 | 100 | 20 | P/Prod | 2025-03-17 | 14:44 | 2025-03-17 | 14:27 | GIORGIANA | 4 | 106 | 106 | / | / | 0.496 |  |  |  | 1.15 | 145 | 1 | Kinga |  | 3 | 2
2 | 100 | 21 | P/Prod | 2025-03-17 | 14:49 | 2025-03-17 | 14:27 | GIORGIANA | 4 | 107 | 106 | / | / | 0.501 |  | 1.742 |  |  | 136 | 1 | Kinga |  | 3 | 2
1 | 0 | 22 | P/Prod | 2025-03-17 | 14:50 | 2025-03-17 | 14:27 | GIORGIANA | 4 | 1 | 1 | / | / | 0.004 |  |  |  | 0.85 | 145 | 1 | Kinga |  | 3 | 1
1 | 0 | 23 | P/Prod | 2025-03-17 | 14:51 | 2025-03-17 | 14:27 | GIORGIANA | 4 | 1 | 2 | / | / | 0.003 |  | 1.650 |  | 0.90 | 137 | 1 | Kinga |  | 3 | 1
2 | 100 | 24 | P/Prod | 2025-03-17 | 14:59 | 2025-03-17 | 14:27 | GIORGIANA |  | 106 | 106 | / | / | 0.497 |  |  |  | 0.77 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 25 | Old A | 2025-03-18 | 08:44 | 2025-03-18 | 05:33 | ROLAND | 4 | 98 | 98 | / | / | 0.460 |  |  |  | 1.79 |  | 1 | Brigitta P |  | 3 | 2
3 | 400 | 26 | Old A | 2025-03-18 | 08:44 | 2025-03-18 | 05:33 | ROLAND | 4 | 411 | 413 | / | / | 1.878 |  |  |  | 1.14 |  | 1 | Brigitta P |  | 3 | 3
2 | 100 | 27 | P/Prod | 2025-03-18 | 08:50 | 2025-03-18 | 05:33 | ROLAND | 4 | 100 | 99 | / | / | 0.469 | - |  |  | 2.14 | 99 | 1 | Brigitta P |  | 3 | 2
2 | 100 | 28 | P/Prod | 2025-03-18 | 08:51 | 2025-03-18 | 05:33 | ROLAND | 4 | 99 | 99 | / | / | 0.464 |  | 1.761 |  | 1.69 | 124 | 1 | Brigitta P |  | 3 | 2
2 | 100 | 29 | P/FINAL | 2025-03-18 | 08:52 | 2025-03-18 | 07:04 | DORINA | 4 | 100 | 99 | / | / | 0.467 |  |  |  | 1.42 | 129 | 1 | Brigitta P |  | 3 | 2
2 | 100 | 30 | P/FINAL | 2025-03-18 | 08:52 | 2025-03-18 | 07:04 | DORINA | 4 | 99 | 99 | / | / | 0.465 |  | 1.721 |  | 1.90 | 136 | 1 | Brigitta P |  | 3 | 2
3 | 400 | 31 | P/FINAL | 2025-03-18 | 08:57 | 2025-03-18 | 05:33 | ROLAND | 4 | 412 | 415 | / | / | 1.884 |  |  |  | 1.90 | 140 | 1 | Brigitta P |  | 3 | 3
3 | 400 | 32 | P/FINAL | 2025-03-18 | 08:58 | 2025-03-18 | 05:33 | ROLAND | 4 | 418 | 420 | / | / | 1.910 |  | 1.664 |  | 1.69 | 138 | 1 | Brigitta P |  | 3 | 3
3 | 400 | 33 | P/FINAL | 2025-03-18 | 08:59 | 2025-03-18 | 07:04 | DORINA | 4 | 415 | 415 | / | / | 1.896 |  | 1.775 |  | 0.82 | 132 | 1 | Brigitta P |  | 3 | 3
3 | 400 | 34 | P/FINAL | 2025-03-18 | 9:00 | 2025-03-18 | 07:04 | DORINA | 4 | 413 | 415 | / | / | 1.887 |  |  |  | 1.27 | 114 | 1 | Brigitta P |  | 3 | 3
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 414 mg/L | 8 | 16 | 414 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 100 mg/L | 9 | 18 | 100 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 2 mg/L | 4 | 8 | 2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 2 | YES
100 | 94 ÷ 106 | 100 | YES
400 | 385 ÷ 415 | 414 | YES
Validation Date | by