## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771A-0 | HI83730B-0 | HI95771A-0 | MI590B-0
1221 | HI95771A-0 | CP-R21 | W 44/1 |  | Parameter Formula | Cl2 | Oxygen/kg | Cl2 | Peroxide
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent A | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
130 | 115 | 145
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1221 | 1219
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-10-01 | 2030-10-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/EVELIN | 2025-10-30 | 2025-11-03 | 1 HEAD |  |  | 1188
[6 empty] | Expiration A | Expiration B | Expiration D
2030-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 3 |  | CM133 |  | 3 | & | 3% | 100% |  | 7.0 | 6.8 | 7.2
2 | 100 | 94 | 106 | [8 empty] | 1.5 | 1.4 | 1.7
3 | 400 | 385 | 415
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-10-30 | 15:58 | 2025-10-30 | 14:40 | EVELIN |  | 2 | 2 | / | / | 0.008 |  |  |  | 1.28 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 2 | Old A | 2025-10-30 | 15:58 | 2025-10-30 | 14:40 | EVELIN |  | 1 | 1 | / | / | 0.005 |  |  |  | 0.64 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 3 | Valid | 2025-10-30 | 15:59 | 2025-10-30 | 14:40 | EVELIN |  | 3 | 2 | / | / | 0.011 |  |  |  | 1.14 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 4 | Valid | 2025-10-30 | 15:59 | 2025-10-30 | 14:40 | EVELIN |  | 3 | 2 | / | / | 0.010 |  | 1.461 |  | 1.71 |  | 1 | Andrea V |  | 3 | 1
2 | 100 | 5 | Old A | 2025-10-30 | 15:59 | 2025-10-30 | 14:40 | EVELIN |  | 99 | 99 | / | / | 0.462 |  |  |  | 2.09 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 6 | Old A | 2025-10-30 | 16:00 | 2025-10-30 | 14:40 | EVELIN |  | 101 | 99 | / | / | 0.474 |  |  |  | 2.83 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 7 | Valid | 2025-10-30 | 16:00 | 2025-10-30 | 14:40 | EVELIN |  | 101 | 103 | / | / | 0.474 |  |  |  | 0.76 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 8 | Valid | 2025-10-30 | 16:00 | 2025-10-30 | 14:40 | EVELIN |  | 102 | 102 | / | / | 0.478 |  |  |  | 0.75 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 9 | Valid | 2025-10-30 | 16:00 | 2025-10-30 | 14:40 | EVELIN |  | 101 | 102 | / | / | 0.475 |  | 1.510 |  | 0.81 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 10 | Old A | 2025-10-30 | 16:01 | 2025-10-30 | 14:40 | EVELIN |  | 407 | 409 | / | / | 1.859 |  |  |  | 2.29 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 11 | Old A | 2025-10-30 | 16:01 | 2025-10-30 | 14:40 | EVELIN |  | 404 | 405 | / | / | 1.848 |  |  |  | 0.75 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 12 | Valid | 2025-10-30 | 16:02 | 2025-10-30 | 14:40 | EVELIN |  | 412 | 415 | / | / | 1.883 |  |  |  | 0.61 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 13 | Valid | 2025-10-30 | 16:02 | 2025-10-30 | 14:40 | EVELIN |  | 411 | 415 | / | / | 1.879 |  |  |  | 0.62 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 14 | Valid | 2025-10-30 | 16:02 | 2025-10-30 | 14:40 | EVELIN |  | 411 | 414 | / | / | 1.877 |  | 1.595 |  | 0.75 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 15 | Old A | 2025-10-31 | 09:33 | 2025-10-31 | 07:51 | DORINA | 4 | 3 | 2 | / | / | 0.010 |  |  |  | 0.97 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 16 | Old A | 2025-10-31 | 09:33 | 2025-10-31 | 07:51 | DORINA | 4 | 2 | 2 | / | / | 0.009 |  |  |  | 0.89 |  | 1 | Andrea V |  | 3 | 1
2 | 100 | 17 | Old A | 2025-10-31 | 09:34 | 2025-10-31 | 07:51 | DORINA | 4 | 102 | 103 | / | / | 0.479 |  |  |  | 0.71 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 18 | Old A | 2025-10-31 | 09:35 | 2025-10-31 | 07:51 | DORINA | 4 | 102 | 103 | / | / | 0.477 |  |  |  | 1.15 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 19 | Old A | 2025-10-31 | 09:35 | 2025-10-31 | 07:51 | DORINA | 4 | 415 | 415 | / | / | 1.895 |  |  |  | 2.10 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 20 | Old A | 2025-10-31 | 09:37 | 2025-10-31 | 07:51 | DORINA | 4 | 415 | 417 | / | / | 1.896 |  |  |  | 2.34 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 21 | P/FINAL | 2025-10-31 | 09:44 | 2025-10-31 | 07:51 | DORINA | 4 | 2 | 2 | / | / | 0.007 |  |  |  | 0.47 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 22 | P/FINAL | 2025-10-31 | 09:45 | 2025-10-31 | 07:51 | DORINA | 4 | 2 | 2 | / | / | 0.007 |  | 1.448 |  | 0.70 |  | 1 | Andrea V |  | 3 | 1
2 | 100 | 23 | P/FINAL | 2025-10-31 | 09:46 | 2025-10-31 | 07:51 | DORINA | 4 | 102 | 102 | / | / | 0.477 |  |  |  | 0.64 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 24 | P/FINAL | 2025-10-31 | 09:47 | 2025-10-31 | 07:51 | DORINA | 4 | 101 | 102 | / | / | 0.475 |  | 1.515 |  | 0.77 | 141 | 1 | Andrea V |  | 3 | 2
2 | 100 | 25 | P/FINAL | 2025-10-31 | 09:48 | 2025-10-31 | 07:51 | DORINA | 4 | 101 | 102 | / | / | 0.473 |  |  |  | 0.69 | 135 | 1 | Andrea V |  | 3 | 2
3 | 400 | 26 | P/FINAL | 2025-10-31 | 09:49 | 2025-10-31 | 07:51 | DORINA | 4 | 417 | 418 | / | / | 1.905 |  |  |  | 1.38 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 27 | P/FINAL | 2025-10-31 | 09:50 | 2025-10-31 | 07:51 | DORINA | 4 | 413 | 414 | / | / | 1.887 |  |  |  | 2.08 | 136 | 1 | Andrea V |  | 3 | 3
3 | 400 | 28 | P/FINAL | 2025-10-31 | 09:51 | 2025-10-31 | 07:51 | DORINA | 4 | 413 | 414 | / | / | 1.885 |  | 1.566 |  | 0.87 | 137 | 1 | Andrea V |  | 3 | 3
3 | 400 | 29 | P/FINAL | 2025-10-31 | 09:52 | 2025-10-31 | 07:51 | DORINA | 4 | 415 | 416 | / | / | 1.895 |  |  |  | 0.86 |  | 1 | Andrea V |  | 3 | 3
2 | 100 | 30 | P/FINAL | 2025-10-31 | 16:04 | 2025-10-31 | 15:51 | ANA |  | 98 | 97 | / | / | 0.459 |  |  |  | 1.30 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 31 | P/FINAL | 2025-10-31 | 16:04 | 2025-10-31 | 15:51 | ANA |  | 97 | 102 | / | / | 0.456 |  |  |  | 7.89 | 126 | 1 | Andrea V |  | 3 | 2
2 | 100 | 32 | P/FINAL | 2025-10-31 | 16:05 | 2025-10-31 | 15:51 | ANA |  | 102 | 106 | / | / | 0.476 |  | 1.562 |  | 12.9 | 144 | 1 | Andrea V |  | 3 | 2
3 | 400 | 33 | P/FINAL | 2025-10-31 | 16:05 | 2025-10-31 | 15:51 | ANA |  | 395 | 397 | / | / | 1.806 |  |  |  | 4.08 | 118 | 1 | Andrea V |  | 3 | 3
3 | 400 | 34 | P/FINAL | 2025-10-31 | 16:06 | 2025-10-31 | 15:51 | ANA |  | 402 | 404 | / | / | 1.838 |  | 1.735 |  | 8.89 | 130 | 1 | Andrea V |  | 3 | 3
3 | 400 | 35 | P/FINAL | 2025-10-31 | 16:06 | 2025-10-31 | 15:51 | ANA |  | 396 | 398 | / | / | 1.808 |  |  |  | 1.99 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 36 | P/FINAL | 2025-10-31 | 16:06 | 2025-10-31 | 15:51 | ANA |  | 1 | 3 | / | / | 0.005 |  |  |  | 3.27 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 37 | P/FINAL | 2025-10-31 | 16:07 | 2025-10-31 | 15:51 | ANA |  | 3 | 4 | / | / | 0.010 |  |  |  | 3.75 |  | 1 | Andrea V |  | 3 | 1
2 | 100 | 38 | Old A | 2025-11-03 | 08:50 | 2025-11-03 | 07:26 | ANA | 1 | 98 | 98 | / | / | 0.460 |  |  |  | 3.78 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 39 | Old A | 2025-11-03 | 08:52 | 2025-11-03 | 07:26 | ANA | 1 | 102 | 103 | / | / | 0.478 |  |  |  | 0.14 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 40 | Old A | 2025-11-03 | 08:54 | 2025-11-03 | 07:26 | ANA | 1 | 401 | 400 | / | / | 1.831 |  |  |  | 20.4 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 41 | Old A | 2025-11-03 | 08:54 | 2025-11-03 | 07:26 | ANA | 1 | 401 | 401 | / | / | 1.834 |  |  |  | 17.7 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 42 | Old A | 2025-11-03 | 08:58 | 2025-11-03 | 07:26 | ANA | 1 | 0 | 0 | / | / |  |  |  |  | 22.0 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 43 | Old A | 2025-11-03 | 08:58 | 2025-11-03 | 07:26 | ANA | 1 | 3 | 3 | / | / |  |  |  |  | 21.0 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 44 | P/FINAL | 2025-11-03 | 09:03 | 2025-11-03 | 07:26 | ANA | 1 | 102 | 102 | / | / | 0.479 |  |  |  | 15.9 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 45 | P/FINAL | 2025-11-03 | 09:04 | 2025-11-03 | 07:26 | ANA | 1 | 105 | 104 | / | / | 0.490 |  |  |  | 19.2 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 46 | P/FINAL | 2025-11-03 | 09:04 | 2025-11-03 | 07:26 | ANA | 1 | 105 | 106 | / | / | 0.491 |  | 1.480 |  | 24.3 | 127 | 1 | Kinga |  | 3 | 2
3 | 400 | 47 | P/FINAL | 2025-11-03 | 09:09 | 2025-11-03 | 07:26 | ANA | 1 | 406 | 408 | / | / | 1.855 |  |  |  | 26.3 | 123 | 1 | Kinga |  | 3 | 3
3 | 400 | 48 | P/FINAL | 2025-11-03 | 09:09 | 2025-11-03 | 07:26 | ANA | 1 | 407 | 407 | / | / | 1.862 |  |  |  | 21.5 | 120 | 1 | Kinga |  | 3 | 3
3 | 400 | 49 | P/FINAL | 2025-11-03 | 09:10 | 2025-11-03 | 07:26 | ANA | 1 | 414 | 409 | / | / | 1.893 |  | 1.572 |  | 26.8 | 147 | 1 | Kinga |  | 3 | 3
1 | 0 | 50 | P/FINAL | 2025-11-03 | 09:13 | 2025-11-03 | 07:26 | ANA | 1 | 2 | 2 | / | / | 0.011 |  |  |  | 24.1 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 51 | P/FINAL | 2025-11-03 | 09:14 | 2025-11-03 | 07:26 | ANA | 1 | 8 | 8 | / | / | 0.038 |  | 1.425 |  | 22.2 |  | 1 | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3 mg/L | 6 | 12 | 3 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 102 mg/L | 9 | 18 | 102 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 408 mg/L | 10 | 20 | 408 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 3 | YES
100 | 94 ÷ 106 | 102 | YES
400 | 385 ÷ 415 | 408 | YES
Validation Date | by