## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771A-0 | HI83730B-0 | HI95771A-0 | MI590B-0
1245 | HI95771A-0 | CP-R21 | W 47/1 |  | Parameter Formula | Cl2 | Oxygen/kg | Cl2 | Peroxide
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent A | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
130 | 115 | 145
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1245 | 0956
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-11-01 | 2030-03-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-19 | 2025-11-26 | 4 HEAD |  |  | 1188
[6 empty] | Expiration A | Expiration B | Expiration D
2030-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 94 | 106 |  | CM133 |  | 3 | & | 3% | 100% |  | 7.0 | 6.8 | 7.2
3 | 400 | 385 | 415 | [8 empty] | 1.5 | 1.4 | 1.7
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97771 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | Old A | 2025-11-19 | 13:58 | 2025-11-19 | 13:46 | ERIKA |  | 96 | 97 | / | / | 0.452 |  |  |  | 1.19 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 2 | Old A | 2025-11-19 | 13:58 | 2025-11-19 | 13:46 | ERIKA |  | 103 | 102 | / | / | 0.483 |  |  |  | 8.43 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 3 | Old A | 2025-11-19 | 13:59 | 2025-11-19 | 13:46 | ERIKA |  | 386 | 389 | / | / | 1.766 |  |  |  | 11.3 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 4 | Old A | 2025-11-19 | 13:59 | 2025-11-19 | 13:46 | ERIKA |  | 387 | 388 | / | / | 1.771 |  |  |  | 9.71 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 5 | Old A | 2025-11-19 | 14:00 | 2025-11-19 | 13:46 | ERIKA |  | 1 | 2 | / | / | 0.005 |  |  |  | 1.00 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 6 | Old A | 2025-11-19 | 14:00 | 2025-11-19 | 13:46 | ERIKA |  | 1 | 1 | / | / | 0.004 |  |  |  | 0.93 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 7 | Valid | 2025-11-19 | 14:10 | 2025-11-19 | 13:46 | ERIKA |  | 106 | 103 | / | / | 0.497 |  |  |  | 21.2 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 8 | Valid | 2025-11-19 | 14:10 | 2025-11-19 | 13:46 | ERIKA |  | 105 | 102 | / | / | 0.491 |  |  |  | 16.7 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 9 | Valid | 2025-11-19 | 14:11 | 2025-11-19 | 13:46 | ERIKA |  | 105 | 102 | / | / | 0.491 |  | 1.561 |  | 12.8 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 10 | Valid | 2025-11-19 | 14:12 | 2025-11-19 | 13:46 | ERIKA |  | 393 | 388 | / | / | 1.798 |  |  |  | 26.6 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 11 | Valid | 2025-11-19 | 14:13 | 2025-11-19 | 13:46 | ERIKA |  | 391 | 388 | / | / | 1.789 |  | 1.611 |  | 18.3 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 12 | Valid | 2025-11-19 | 14:14 | 2025-11-19 | 13:46 | ERIKA |  | 394 | 389 | / | / | 1.800 |  |  |  | 23.7 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 13 | Valid | 2025-11-19 | 14:18 | 2025-11-19 | 13:46 | ERIKA |  | 1 | 0 | / | / | 0.003 |  |  |  | 0.92 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 14 | Valid | 2025-11-19 | 14:19 | 2025-11-19 | 13:46 | ERIKA |  | 1 | 0 | / | / | 0.001 |  | 6.629 |  | 1.18 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 15 | Old A | 2025-11-25 | 09:20 | 2025-11-25 | 08:19 | Dorina | 1 | 99 | 100 | / | / | 0.463 |  |  |  | 11.0 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 16 | Old A | 2025-11-25 | 09:20 | 2025-11-25 | 08:19 | Dorina | 1 | 100 | 104 | / | / | 0.470 |  |  |  | 5.47 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 17 | Old A | 2025-11-25 | 09:21 | 2025-11-25 | 08:19 | Dorina | 1 | 387 | 389 | / | / | 1.771 |  |  |  | 8.94 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 18 | Old A | 2025-11-25 | 09:21 | 2025-11-25 | 08:19 | Dorina | 1 | 386 | 389 | / | / | 1.766 |  |  |  | 8.94 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 19 | Old A | 2025-11-25 | 09:26 | 2025-11-25 | 08:19 | Dorina | 1 | 0 | 0 | / | / | -0.002 |  |  |  | 4.38 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 20 | Old A | 2025-11-25 | 09:27 | 2025-11-25 | 08:19 | Dorina | 1 | 0 | 3 | / | / | -0.002 |  |  |  | 4.38 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 21 | P/FINAL | 2025-11-25 | 09:27 | 2025-11-25 | 08:19 | Dorina | 1 | 0 | 2 | / | / | -0.003 |  |  |  | 4.44 | 135 | 1 | Kinga |  | 3 | 1
1 | 0 | 22 | P/FINAL | 2025-11-25 | 09:27 | 2025-11-25 | 08:19 | Dorina | 1 | 0 | 0 | / | / | 0.004 |  | 1.528 |  | 4.12 | 138 | 1 | Kinga |  | 3 | 1
2 | 100 | 23 | P/FINAL | 2025-11-25 | 09:32 | 2025-11-25 | 08:19 | Dorina | 1 | 99 | 101 | / | / | 0.463 |  |  |  | 2.73 | 138 | 1 | Kinga |  | 3 | 2
2 | 100 | 24 | P/FINAL | 2025-11-25 | 09:33 | 2025-11-25 | 08:19 | Dorina | 1 | 100 | 101 | / | / | 0.469 |  |  |  | 3.78 | 136 | 1 | Kinga |  | 3 | 2
2 | 100 | 25 | P/FINAL | 2025-11-25 | 09:33 | 2025-11-25 | 08:19 | Dorina | 1 | 101 | 104 | / | / | 0.478 |  | 1.513 |  | 3.88 | 149 | 1 | Kinga |  | 3 | 2
3 | 400 | 26 | P/FINAL | 2025-11-25 | 09:34 | 2025-11-25 | 08:19 | Dorina | 1 | 386 | 390 | / | / | 1.766 |  |  |  | 5.87 | 134 | 1 | Kinga |  | 3 | 3
3 | 400 | 27 | P/FINAL | 2025-11-25 | 09:34 | 2025-11-25 | 08:19 | Dorina | 1 | 391 | 392 | / | / | 1.788 |  |  |  | 4.87 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 28 | P/FINAL | 2025-11-25 | 09:35 | 2025-11-25 | 08:19 | Dorina | 1 | 387 | 397 | / | / | 1.770 |  | 1.557 |  | 9.09 |  | 1 | Kinga |  | 3 | 3
2 | 100 | 29 | P/FINAL | 2025-11-25 | 14:47 | 2025-11-25 | 14:31 | ANA | 1 | 96 | 99 | / | / | 0.448 |  |  |  | 3.41 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 30 | P/FINAL | 2025-11-25 | 14:48 | 2025-11-25 | 14:31 | ANA | 1 | 96 | 99 | / | / | 0.452 |  |  |  | 2.35 | 127 | 1 | Kinga |  | 3 | 2
2 | 100 | 31 | P/FINAL | 2025-11-25 | 14:49 | 2025-11-25 | 14:31 | ANA | 1 | 98 | 99 | / | / | 0.461 |  | 1.561 |  | 2.38 | 128 | 1 | Kinga |  | 3 | 2
3 | 400 | 32 | P/FINAL | 2025-11-25 | 14:49 | 2025-11-25 | 14:31 | ANA | 1 | 386 | 389 | / | / | 1.754 |  |  |  | 1.41 | 124 | 1 | Kinga |  | 3 | 3
3 | 400 | 33 | P/FINAL | 2025-11-25 | 14:50 | 2025-11-25 | 14:31 | ANA | 1 | 388 | 389 | / | / | 1.772 |  |  |  | 1.99 | 130 | 1 | Kinga |  | 3 | 3
3 | 400 | 34 | P/FINAL | 2025-11-25 | 14:51 | 2025-11-25 | 14:31 | ANA | 1 | 389 | 399 | / | / | 1.776 |  | 1.576 |  | 1.98 | 124 | 1 | Kinga |  | 3 | 3
1 | 0 | 35 | P/FINAL | 2025-11-25 | 14:51 | 2025-11-25 | 14:31 | ANA | 1 | 0 | 3 | / | / | -0.001 |  |  |  | 2.49 | 141 | 1 | Kinga |  | 3 | 1
1 | 0 | 36 | P/FINAL | 2025-11-25 | 14:52 | 2025-11-25 | 14:31 | ANA | 1 | 0 | 2 | / | / | -0.001 |  | 1.512 |  | 2.17 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 37 | Old A | 2025-11-26 | 08:33 | 2025-11-26 | 07:48 | DORINA |  | 98 | 97 | / | / | 0.461 |  |  |  | 1.48 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 38 | Old A | 2025-11-26 | 08:34 | 2025-11-26 | 07:48 | DORINA |  | 98 | 97 | / | / | 0.459 |  |  |  | 1.55 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 39 | Old A | 2025-11-26 | 08:37 | 2025-11-26 | 07:48 | DORINA |  | 387 | 386 | / | / | 1.767 |  |  |  | 1.96 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 40 | Old A | 2025-11-26 | 08:38 | 2025-11-26 | 07:48 | DORINA |  | 385 | 385 | / | / | 1.761 |  |  |  | 1.38 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 41 | Old A | 2025-11-26 | 08:40 | 2025-11-26 | 07:48 | DORINA |  | 2 | 2 | / | / | 0.007 |  |  |  | 2.47 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 42 | Old A | 2025-11-26 | 08:43 | 2025-11-26 | 07:48 | DORINA |  | 3 | 1 | / | / | 0.012 |  |  |  | 1.65 |  | 1 | Andrea V |  | 3 | 1
2 | 100 | 43 | P/FINAL | 2025-11-26 | 08:49 | 2025-11-26 | 07:48 | DORINA | 4 | 98 | 99 | / | / | 0.458 |  |  |  | 2.48 | 172 | 1 | Andrea V |  | 3 | 2
2 | 100 | 44 | P/FINAL | 2025-11-26 | 08:50 | 2025-11-26 | 07:48 | DORINA | 4 | 98 | 99 | / | / | 0.459 |  |  |  | 1.24 | 143 | 1 | Andrea V |  | 3 | 2
2 | 100 | 45 | P/FINAL | 2025-11-26 | 08:53 | 2025-11-26 | 07:48 | DORINA | 4 | 99 | 97 | / | / | 0.464 |  | 1.521 |  | 1.15 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 46 | P/FINAL | 2025-11-26 | 08:53 | 2025-11-26 | 07:48 | DORINA | 4 | 388 | 389 | / | / | 1.772 |  | 1.601 |  | 1.02 | 142 | 1 | Andrea V |  | 3 | 3
3 | 400 | 47 | P/FINAL | 2025-11-26 | 08:54 | 2025-11-26 | 07:48 | DORINA | 4 | 390 | 389 | / | / | 1.783 |  |  |  | 1.25 | 145 | 1 | Andrea V |  | 3 | 3
3 | 400 | 48 | P/FINAL | 2025-11-26 | 08:54 | 2025-11-26 | 07:48 | DORINA | 4 | 388 | 388 | / | / | 1.772 |  |  |  | 0.88 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 49 | P/FINAL | 2025-11-26 | 08:56 | 2025-11-26 | 07:48 | DORINA | 4 | 1 | 1 | / | / | 0.005 |  |  |  | 1.25 | 155 | 1 | Andrea V |  | 3 | 1
1 | 0 | 50 | P/FINAL | 2025-11-26 | 08:56 | 2025-11-26 | 07:48 | DORINA | 4 | 1 | 1 | / | / | 0.002 |  | 1.483 |  | 0.97 | 136 | 1 | Andrea V |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 99 mg/L | 9 | 18 | 99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 390 mg/L | 9 | 18 | 390 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1 mg/L | 6 | 12 | 1 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 1 | YES
100 | 94 ÷ 106 | 99 | YES
400 | 385 ÷ 415 | 390 | YES
Validation Date | by