## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI83741A-0 | HI93712A-0 | HI93748A-0 | MI552A-0
0950 | HI93712A-0 | CP-R23 | W 11/1 |  | Parameter Formula | Iron | Al | Mn | Iron
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent A | 2030-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
200 | 190 | 210
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0950 | 0586 | 0874
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-03-01 | 05/202 | 2029-12-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-10 | 2025-04-15 | 1HEAD |  |  | 0702
[6 empty] | Expiration A | Expiration B | Expiration D
2029-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
2 | 0.20 | 0.15 | 0.25 | [8 empty] | 3.3 | 3.2 | 3.5
3 | 0.80 | 0.73 | 0.87 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-03-10 | 12:18 | 2025-03-10 | 11:24 | ERIKA |  | 0.01 | 0.01 | / | / | 0.007 |  |  |  | 1.94 |  | 1 | Kinga |  | 3 | 1 | 13430
1 | 0.00 | 2 | Old A | 2025-03-10 | 12:19 | 2025-03-10 | 11:24 | ERIKA |  | 0.01 | 0.01 | / | / | 0.007 |  |  |  | 1.65 |  | 1 | Kinga |  | 3 | 1 | 13430
2 | 0.20 | 3 | Old A | 2025-03-10 | 12:20 | 2025-03-10 | 11:24 | ERIKA |  | 0.16 | 0.19 | / | / | 0.157 |  |  |  | 3.12 |  | 1 | Kinga |  | 3 | 2 | 13430
3 | 0.80 | 4 | Old A | 2025-03-10 | 12:22 | 2025-03-10 | 11:24 | ERIKA |  | 0.75 | 0.79 | / | / | 0.598 |  |  |  | 2.34 |  | 1 | Kinga |  | 3 | 3 | 13430
1 | 0.00 | 5 | Valid | 2025-03-10 | 12:35 | 2025-03-10 | 11:24 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.64 |  | 1 | Kinga |  | 3 | 1 | 13430
1 | 0.00 | 6 | Valid | 2025-03-10 | 12:35 | 2025-03-10 | 11:24 | ERIKA |  | 0.00 | 0.00 | / | / | -0.003 |  |  | 4.149 | 0.70 |  | 1 | Kinga |  | 3 | 1 | 13430
2 | 0.20 | 7 | Valid | 2025-03-10 | 12:37 | 2025-03-10 | 11:24 | ERIKA |  | 0.18 | 0.19 | / | / | 0.172 |  |  |  | 0.72 |  | 1 | Kinga |  | 3 | 2 | 13430
2 | 0.20 | 8 | Valid | 2025-03-10 | 12:38 | 2025-03-10 | 11:24 | ERIKA |  | 0.17 | 0.18 | / | / | 0.168 |  |  | 4.146 | 1.06 |  | 1 | Kinga |  | 3 | 2 | 13430
3 | 0.80 | 9 | Valid | 2025-03-10 | 12:41 | 2025-03-10 | 11:24 | ERIKA |  | 0.74 | 0.84 | / | / | 0.597 |  |  |  | 0.77 |  | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 10 | Valid | 2025-03-10 | 12:41 | 2025-03-10 | 11:24 | ERIKA |  | 0.77 | 0.85 | / | / | 0.612 |  |  |  | 0.75 |  | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 11 | Valid | 2025-03-10 | 12:42 | 2025-03-10 | 11:24 | ERIKA |  | 0.81 | 0.87 | / | / | 0.635 |  |  | 4.128 | 0.63 |  | 1 | Kinga |  | 3 | 3 | 13430
2 | 0.20 | 12 | P/FINAL | 2025-04-14 | 10:03 | 2025-04-14 | 07:28 | Tamara | 1 | 0.19 | 0.20 | / | / | 0.185 |  |  |  | 1 | 202 | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 13 | P/FINAL | 2025-04-14 | 10:04 | 2025-04-14 | 07:28 | Tamara | 1 | 0.19 | 0.20 | / | / | 0.186 |  |  |  | 1.27 | 203 | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 14 | P/FINAL | 2025-04-14 | 10:04 | 2025-04-14 | 07:28 | Tamara | 1 | 0.20 | 0.21 | / | / | 0.194 |  |  |  | 0.42 |  | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 15 | P/FINAL | 2025-04-14 | 10:05 | 2025-04-14 | 07:28 | Tamara | 1 | 0.19 | 0.21 | / | / | 0.186 |  |  |  | 1.78 |  | 1 | Brigitta P |  | 3 | 2 | 90639
1 | 0.00 | 16 | P/FINAL | 2025-04-14 | 10:06 | 2025-04-14 | 07:28 | Tamara | 1 | 0.00 | 0.01 | / | / | -0.002 |  |  |  | 0.55 | 188 | 1 | Brigitta P |  | 3 | 1 | 90639
1 | 0.00 | 17 | P/FINAL | 2025-04-14 | 10:06 | 2025-04-14 | 07:28 | Tamara | 1 | 0.01 | 0.01 | / | / | 0.009 |  |  |  | 0.49 |  | 1 | Brigitta P |  | 3 | 1 | 90639
3 | 0.80 | 18 | P/FINAL | 2025-04-14 | 10:07 | 2025-04-14 | 07:28 | Tamara | 1 | 0.75 | 0.83 | / | / | 0.598 |  |  |  | 6.64 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 19 | P/FINAL | 2025-04-14 | 10:08 | 2025-04-14 | 07:28 | Tamara | 1 | 0.74 | 0.83 | / | / |  |  |  |  | 6.93 | 178 | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 20 | P/FINAL | 2025-04-14 | 10:08 | 2025-04-14 | 07:28 | Tamara | 1 | 0.80 | 0.95 | / | / | 0.634 |  |  |  | 0.45 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 21 | P/FINAL | 2025-04-14 | 10:09 | 2025-04-14 | 07:28 | Tamara | 1 | 0.81 | 0.90 | / | / | 0.639 |  |  |  | 0.41 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 22 | P/FINAL | 2025-04-14 | 15:46 | 2025-04-14 | 14:35 | MARA |  | 0.74 | 0.82 | / | / | 0.596 |  |  |  | 0.49 | 220 | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 23 | P/FINAL | 2025-04-14 | 15:47 | 2025-04-14 | 14:35 | MARA |  | 0.74 | 0.82 | / | / | 0.592 |  |  |  | 0.54 | 228 | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 24 | P/FINAL | 2025-04-14 | 15:47 | 2025-04-14 | 14:35 | MARA |  | 0.76 | 0.85 | / | / | 0.610 |  |  |  | 2.71 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 25 | P/FINAL | 2025-04-14 | 15:47 | 2025-04-14 | 14:35 | MARA |  | 0.76 | 0.85 | / | / | 0.608 |  |  |  | 0.48 |  | 1 | Brigitta P |  | 3 | 3 | 90639
1 | 0.00 | 26 | P/FINAL | 2025-04-14 | 15:48 | 2025-04-14 | 14:35 | MARA |  | 0.01 | 0.01 | / | / | 0.011 |  |  |  | 0.83 | 239 | 1 | Brigitta P |  | 3 | 1 | 90639
1 | 0.00 | 27 | P/FINAL | 2025-04-14 | 15:48 | 2025-04-14 | 14:35 | MARA |  | 0.01 | 0.00 | / | / | 0.007 |  |  |  | 0.67 |  | 1 | Brigitta P |  | 3 | 1 | 90639
2 | 0.20 | 28 | P/FINAL | 2025-04-14 | 15:49 | 2025-04-14 | 14:35 | MARA |  | 0.19 | 0.20 | / | / | 0.180 |  |  |  | 0.52 | 234 | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 29 | P/FINAL | 2025-04-14 | 15:50 | 2025-04-14 | 14:35 | MARA |  | 0.19 | 0.20 | / | / | [5 empty] | 236 | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 30 | P/FINAL | 2025-04-14 | 15:51 | 2025-04-14 | 14:35 | MARA |  | 0.19 | 0.20 | / | / | 0.178 |  |  |  | 0.74 | 170 | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 31 | P/FINAL | 2025-04-14 | 15:51 | 2025-04-14 | 14:35 | MARA |  | 0.19 | 0.20 | / | / | 0.180 |  |  | 4.117 | 0.69 | 215 | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 32 | P/FINAL | 2025-04-15 | 10:50 | 2025-04-15 | 06:52 | TAMARA |  | 0.18 | 0.19 | / | / | 0.173 |  |  | 4.104 | 1.16 |  | 1 | Kinga |  | 3 | 2 | 90639
2 | 0.20 | 33 | P/FINAL | 2025-04-15 | 10:51 | 2025-04-15 | 06:52 | TAMARA |  | 0.19 | 0.20 | / | / | 0.178 |  |  |  | 2.71 |  | 1 | Kinga |  | 3 | 2 | 90639
2 | 0.20 | 34 | P/FINAL | 2025-04-15 | 10:52 | 2025-04-15 | 06:52 | TAMARA |  | 0.19 | 0.20 | / | / | 0.178 |  |  | 4.056 | 0.73 |  | 1 | Kinga |  | 3 | 2 | 90639
3 | 0.80 | 35 | P/FINAL | 2025-04-15 | 10:55 | 2025-04-15 | 06:52 | TAMARA |  | 0.73 | 0.81 | / | / | 0.583 |  |  | 4.069 | 0.40 | 168 | 1 | Kinga |  | 3 | 3 | 90639
3 | 0.80 | 36 | P/FINAL | 2025-04-15 | 10:55 | 2025-04-15 | 06:52 | TAMARA |  | 0.74 | 0.83 | / | / | 0.594 |  |  |  | 0.79 | 182 | 1 | Kinga |  | 3 | 3 | 90639
3 | 0.80 | 37 | P/FINAL | 2025-04-15 | 10:57 | 2025-04-15 | 06:52 | TAMARA |  | 0.76 | 0.81 | / | / | 0.636 |  |  |  | 0.74 | 172 | 1 | Kinga |  | 3 | 3 | 90639
1 | 0.00 | 38 | P/FINAL | 2025-04-15 | 10:58 | 2025-04-15 | 06:52 | TAMARA |  | 0.00 | 0.00 | / | / | -0.002 |  |  | 4.373 | 0.53 |  | 1 | Kinga |  | 3 | 1 | 90639
1 | 0.00 | 39 | P/FINAL | 2025-04-15 | 10:59 | 2025-04-15 | 06:52 | TAMARA |  | 0.01 | 0.00 | / | / | 0.006 |  |  | 4.117 | 0.54 |  | 1 | Kinga |  | 3 | 1 | 90639
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.01 mg/L | 6 | 12 | 0.01 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 0.2 mg/L | 11 | 22 | 0.2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 0.8 mg/L | 11 | 22 | 0.8 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.01 | YES
0.20 | 0.15 ÷ 0.25 | 0.20 | YES
0.80 | 0.73 ÷ 0.87 | 0.80 | YES
Validation Date | by