## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI83741A-0 | HI93712A-0 | HI93748A-0 | MI552A-0
1036 | HI93712A-0 | CP-R23 | W 20/1 |  | Parameter Formula | Iron | Al | Mn | Iron
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent A | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
200 | 190 | 210
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1036 | 0952 | 1028
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-05-01 | 2030-03-01 | 2030-05-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-20 | 2025-05-21 | 1HEAD |  |  | 0950
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 0.80 | 0.73 | 0.87 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
2 | 0.20 | 0.15 | 0.25 | [8 empty] | 3.3 | 3.2 | 3.5
1 | 0.00 | 0.00 | 0.04 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 0.80 | 1 | Old A | 2025-05-14 | 11:34 | 2025-05-14 |  | ERIKA |  | 0.73 | 0.79 | / | / | 0.569 |  |  |  | 0.40 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 2 | Old A | 2025-05-14 | 11:34 | 2025-05-14 |  | ERIKA |  | 0.73 | 0.79 | / | / | 0.576 |  |  |  | 0.79 |  | 1 | Kinga |  | 3 | 3
2 | 0.20 | 3 | Old A | 2025-05-14 | 11:35 | 2025-05-14 |  | ERIKA |  | 0.18 | 0.17 | / | / | 0.171 |  |  |  | 0.43 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 4 | Old A | 2025-05-14 | 11:35 | 2025-05-14 |  | ERIKA |  | 0.18 | 0.17 | / | / | 0.170 |  |  |  | 0.32 |  | 1 | Kinga |  | 3 | 2
1 | 0.00 | 5 | Old A | 2025-05-14 | 11:36 | 2025-05-14 |  | ERIKA |  | 0.01 | 0.00 | / | / | 0.008 |  |  |  | 0.28 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 6 | Old A | 2025-05-14 | 11:36 | 2025-05-14 |  | ERIKA |  | 0.00 | 0.01 | / | / | 0.002 |  |  |  | 0.21 |  | 1 | Kinga |  | 3 | 1
3 | 0.80 | 7 | Valid | 2025-05-14 | 11:42 | 2025-05-14 | 10:46 | ERIKA |  | 0.73 | 0.85 | / | / | 0.588 |  |  | 4.081 | 0.78 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 8 | Valid | 2025-05-14 | 11:42 | 2025-05-14 | 10:46 | ERIKA |  | 0.76 | 0.84 | / | / | 0.604 |  |  | 4.083 | 0.48 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 9 | Valid | 2025-05-14 | 11:43 | 2025-05-14 | 10:46 | ERIKA |  | 0.75 | 0.85 | / | / | 0.609 |  |  |  | 0.84 |  | 1 | Kinga |  | 3 | 3
2 | 0.20 | 10 | Valid | 2025-05-14 | 11:43 | 2025-05-14 | 10:46 | ERIKA |  | 0.18 | 0.20 | / | / | 0.162 |  |  | 4.075 | 0.46 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 11 | Valid | 2025-05-14 | 11:44 | 2025-05-14 | 10:46 | ERIKA |  | 0.18 | 0.21 | / | / | 0.174 |  |  | 4.071 | 0.41 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 12 | Valid | 2025-05-14 | 11:44 | 2025-05-14 | 10:46 | ERIKA |  | 0.19 | 0.21 | / | / | 0.180 |  |  |  | 0.41 |  | 1 | Kinga |  | 3 | 2
1 | 0.00 | 13 | Valid | 2025-05-14 | 11:45 | 2025-05-14 | 10:46 | ERIKA |  | 0.00 | 0.00 | / | / | 0.002 |  |  | 4.075 | 0.19 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 14 | Valid | 2025-05-14 | 11:45 | 2025-05-14 | 10:46 | ERIKA |  | 0.01 | 0.00 | / | / | 0.005 |  |  |  | 0.35 |  | 1 | Kinga |  | 3 | 1
2 | 0.20 | 15 | P/FINAL | 2025-05-21 | 13:40 | 2025-05-21 | 12:30 | MARA | 1 | 0.18 | 0.19 | / | / | 0.169 |  |  | 4.024 | 1.62 | 185 | 1 | Kinga |  | 3 | 2 | 101222
2 | 0.20 | 16 | P/FINAL | 2025-05-21 | 13:41 | 2025-05-21 | 12:30 | MARA | 1 | 0.18 | 0.19 | / | / | 0.169 |  |  |  | 1.47 | 189 | 1 | Kinga |  | 3 | 2 | 101222
3 | 0.80 | 17 | P/FINAL | 2025-05-21 | 13:41 | 2025-05-21 | 12:30 | MARA | 1 | 0.77 | 0.86 | / | / | 0.612 |  |  | 4.058 | 0.86 | 181 | 1 | Kinga |  | 3 | 3 | 101222
3 | 0.80 | 18 | P/FINAL | 2025-05-21 | 13:42 | 2025-05-21 | 12:30 | MARA | 1 | 0.76 | 0.85 | / | / | 0.610 |  |  |  | 0.79 | 189 | 1 | Kinga |  | 3 | 3 | 101222
1 | 0.00 | 19 | P/FINAL | 2025-05-21 | 13:42 | 2025-05-21 | 12:30 | MARA | 1 | 0.00 | 0.01 | / | / | -0.001 |  |  | 4.064 | 0.41 | 185 | 1 | Kinga |  | 3 | 1 | 101222
1 | 0.00 | 20 | P/FINAL | 2025-05-21 | 13:43 | 2025-05-21 | 12:30 | MARA | 1 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.34 |  | 1 | Kinga |  | 3 | 1 | 101222
2 | 0.20 | 21 | P/FINAL | 2025-05-21 | 14:40 | 2025-05-21 | 14:17 | TAMARA | 1 | 0.18 | 0.19 | / | / | 0.170 |  |  |  | 0.34 | 166 | 1 | Kinga |  | 3 | 2 | 101222
2 | 0.20 | 22 | P/FINAL | 2025-05-21 | 14:42 | 2025-05-21 | 14:17 | TAMARA | 1 | 0.18 | 0.20 | / | / | 0.177 |  |  | 4.067 | 0.20 | 170 | 1 | Kinga |  | 3 | 2 | 101222
3 | 0.80 | 23 | P/FINAL | 2025-05-21 | 14:44 | 2025-05-21 | 14:17 | TAMARA | 1 | 0.73 | 0.81 | / | / | 0.588 |  |  |  | 2.64 | 176 | 1 | Kinga |  | 3 | 3 | 101222
3 | 0.80 | 24 | P/FINAL | 2025-05-21 | 14:45 | 2025-05-21 | 14:17 | TAMARA | 1 | 0.74 | 0.83 | / | / | 0.593 |  |  | 4.059 | 2.41 | 191 | 1 | Kinga |  | 3 | 3 | 101222
1 | 0.00 | 25 | P/FINAL | 2025-05-21 | 14:47 | 2025-05-21 | 14:17 | TAMARA | 1 | 0.01 | 0.01 | / | / | 0.004 |  |  |  | 0.41 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 26 | P/FINAL | 2025-05-21 | 14:47 | 2025-05-21 | 14:17 | TAMARA | 1 | 0.01 | 0.01 | / | / | 0.007 |  |  |  | 0.40 |  | 1 | Kinga |  | 3 | 1
2 | 0.20 | 27 | P/FINAL | 2025-05-22 | 07:43 | 2025-05-22 | 06:46 | MARA | 1 | 0.19 | 0.21 | / | / | 0.179 |  |  |  | 0.41 | 208 | 1 | Brigitta P |  | 3 | 2 | 101222
2 | 0.20 | 28 | P/FINAL | 2025-05-22 | 07:44 | 2025-05-22 | 06:46 | MARA | 1 | 0.19 | 0.22 | / | / | 0.182 |  |  |  | 0.39 | 210 | 1 | Brigitta P |  | 3 | 2 | 101222
2 | 0.20 | 29 | P/FINAL | 2025-05-22 | 07:44 | 2025-05-22 | 06:46 | MARA | 1 | 0.19 | 0.21 | / | / | 0.182 |  |  |  | 0.91 | 216 | 1 | Brigitta P |  | 3 | 2 | 101222
2 | 0.20 | 30 | P/FINAL | 2025-05-22 | 07:45 | 2025-05-22 | 06:46 | MARA | 1 | 0.19 | 0.21 | / | / | 0.183 |  |  |  | 1.95 | 209 | 1 | Brigitta P |  | 3 | 2 | 101222
3 | 0.80 | 31 | P/FINAL | 2025-05-22 | 07:46 | 2025-05-22 | 06:46 | MARA | 1 | 0.80 | 0.90 | / | / | 0.632 |  |  |  | 13.9 | 207 | 1 | Brigitta P |  | 3 | 3 | 101222
3 | 0.80 | 32 | P/FINAL | 2025-05-22 | 07:48 | 2025-05-22 | 06:46 | MARA | 1 | 0.78 | 0.90 | / | / | 0.617 |  |  |  | 3.48 |  | 1 | Brigitta P |  | 3 | 3 | 101222
3 | 0.80 | 33 | P/FINAL | 2025-05-22 | 07:48 | 2025-05-22 | 06:46 | MARA | 1 | 0.78 | 0.90 | / | / | 0.622 |  |  |  | 3.48 |  | 1 | Brigitta P |  | 3 | 3 | 101222
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.82 mg/L | 7 | 14 | 0.82 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.19 mg/L | 8 | 16 | 0.19 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.01 mg/L | 4 | 8 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.01 | YES
0.20 | 0.15 ÷ 0.25 | 0.19 | YES
0.80 | 0.73 ÷ 0.87 | 0.82 | YES
Validation Date | by