## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI83741A-0 | HI93712A-0 | HI93748A-0 | MI552A-0
1098 | HI93712A-0 | CP-R23 | W 27/1 |  | Parameter Formula | Iron | Al | Mn | Iron
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent A | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
200 | 190 | 210
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1098 | 1042 | 1028
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-07-01 | 2030-05-01 | 2030-05-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA /MARK | 2025-07-04 | 2025-09-30 | 1 HEAD |  |  | 1036
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.20 | 0.15 | 0.25 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
3 | 0.80 | 0.73 | 0.87 | [8 empty] | 3.3 | 3.2 | 3.5
1 | 0.00 | 0.00 | 0.04 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97712 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.20 | 1 | Old A | 2025-07-04 | 11:18 | 2025-07-04 | 09:41 | ERIKA |  | 0.19 | 0.22 | / | / | 0.182 |  |  |  | 1.05 |  | 1 | Kinga |  | 3 | 2 | 101222
2 | 0.20 | 2 | Old A | 2025-07-04 | 11:19 | 2025-07-04 | 09:41 | ERIKA |  | 0.17 | 0.19 | / | / | 0.160 |  |  |  | 3.23 |  | 1 | Kinga |  | 3 | 2 | 101222
3 | 0.80 | 3 | Old A | 2025-07-04 | 11:20 | 2025-07-04 | 09:41 | ERIKA |  | 0.74 | 0.82 | / | / | 0.593 |  |  |  | 1.01 |  | 1 | Kinga |  | 3 | 3 | 101222
3 | 0.80 | 4 | Old A | 2025-07-04 | 11:21 | 2025-07-04 | 09:41 | ERIKA |  | 0.75 | 0.84 | / | / | 0.600 |  |  |  | 1.05 |  | 1 | Kinga |  | 3 | 3 | 101222
1 | 0.00 | 5 | Old A | 2025-07-04 | 11:23 | 2025-07-04 | 09:41 | ERIKA |  | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 0.65 |  | 1 | Kinga |  | 3 | 1 | 101222
1 | 0.00 | 6 | Old A | 2025-07-04 | 11:23 | 2025-07-04 | 09:41 | ERIKA |  | 0.01 | 0.01 | / | / | 0.008 |  |  |  | 0.88 |  | 1 | Kinga |  | 3 | 1 | 101222
2 | 0.20 | 7 | Valid | 2025-07-04 | 11:32 | 2025-07-04 | 09:41 | ERIKA |  | 0.18 | 0.20 | / | / | 0.172 |  |  | 4.127 | 0.88 |  | 1 | Kinga |  | 3 | 2 | 101222
2 | 0.20 | 8 | Valid | 2025-07-04 | 11:33 | 2025-07-04 | 09:41 | ERIKA |  | 0.19 | 0.20 | / | / | 0.172 |  |  |  | 1.10 |  | 1 | Kinga |  | 3 | 2 | 101222
2 | 0.20 | 9 | Valid | 2025-07-04 | 11:34 | 2025-07-04 | 09:41 | ERIKA |  | 0.19 | 0.21 | / | / | 0.182 |  |  | 4.129 | 1.07 |  | 1 | Kinga |  | 3 | 2 | 101222
3 | 0.80 | 10 | Valid | 2025-07-04 | 11:36 | 2025-07-04 | 09:41 | ERIKA |  | 0.75 | 0.83 | / | / | 0.599 |  |  | 4.117 | 0.99 |  | 1 | Kinga |  | 3 | 3 | 101222
3 | 0.80 | 11 | Valid | 2025-07-04 | 11:37 | 2025-07-04 | 09:41 | ERIKA |  | 0.76 | 0.84 | / | / | 0.604 |  |  |  | 0.98 |  | 1 | Kinga |  | 3 | 3 | 101222
3 | 0.80 | 12 | Valid | 2025-07-04 | 11:37 | 2025-07-04 | 09:41 | ERIKA |  | 0.77 | 0.85 | / | / | 0.612 |  |  | 4.117 | 1.13 |  | 1 | Kinga |  | 3 | 3 | 101222
1 | 0.00 | 13 | Valid | 2025-07-04 | 11:39 | 2025-07-04 | 09:41 | ERIKA |  | 0.01 | 0.01 | / | / | 0.006 |  |  |  | 1.76 |  | 1 | Kinga |  | 3 | 1 | 101222
1 | 0.00 | 14 | Valid | 2025-07-04 | 11:39 | 2025-07-04 | 09:41 | ERIKA |  | 0.01 | 0.02 | / | / | 0.007 |  |  | 4.130 | 1.04 |  | 1 | Kinga |  | 3 | 1 | 101222
1 | 0.00 | 15 | Old A | 2025-07-15 | 12:37 | 2025-07-15 | 09:39 | MARA | 1 | 0.03 | 0.60 | / | / | 0.030 |  |  |  | 2.83 |  | 1 | Kinga |  | 3 | 1 | 101222
1 | 0.00 | 16 | Old A | 2025-07-15 | 12:44 | 2025-07-15 | 09:39 | MARA | 1 | 0.14 | 0.10 | / | / | 0.135 |  |  |  | 2.83 |  | 1 | Kinga |  | 3 | 1 | 101222
2 | 0.20 | 17 | Old A | 2025-07-15 | 12:45 | 2025-07-15 | 09:39 | MARA | 1 | 0.24 | 0.25 | / | / | 0.251 |  |  | 3.967 | 2.83 |  | 1 | Kinga |  | 3 | 2 | 101222
2 | 0.20 | 18 | Old A | 2025-07-15 | 12:49 | 2025-07-15 | 09:39 | MARA | 1 | 0.32 | 0.34 | / | / | 0.293 |  |  |  | 1.35 |  | 1 | Kinga |  | 3 | 2 | 101222
3 | 0.80 | 19 | Old A | 2025-07-15 | 12:51 | 2025-07-15 | 09:39 | MARA | 1 | 0.87 | 0.88 | / | / | 0.677 |  |  | 3.971 | 2.63 |  | 1 | Kinga |  | 3 | 3 | 101222
3 | 0.80 | 20 | Old A | 2025-07-15 | 12:52 | 2025-07-15 | 09:39 | MARA | 1 | 0.88 | 0.89 | / | / | 0.681 |  |  |  | 1.74 |  | 1 | Kinga |  | 3 | 3 | 101222
1 | 0.00 | 21 | P/FINAL | 2025-07-15 | 14:09 | 2025-07-15 | 09:39 | MARA | 1 | 0.01 | 0.02 | / | / | 0.008 |  |  | 3.971 | 0.80 |  | 1 | Kinga |  | 3 | 1 | 101222
1 | 0.00 | 22 | P/FINAL | 2025-07-15 | 14:09 | 2025-07-15 | 09:39 | MARA | 1 | 0.01 | 0.01 | / | / |  |  |  |  | 0.81 |  | 1 | Kinga |  | 3 | 1 | 101222
1 | 0.00 | 23 | P/FINAL | 2025-07-15 | 14:10 | 2025-07-15 | 09:39 | MARA | 1 | 0.01 | 0.01 | / | / | 0.007 |  |  |  | 0.81 | 197 | 1 | Kinga |  | 3 | 1 | 101222
2 | 0.20 | 24 | P/FINAL | 2025-07-15 | 14:11 | 2025-07-15 | 09:39 | MARA | 1 | 0.19 | 0.21 | / | / | 0.180 |  |  |  | 0.60 | 201 | 1 | Kinga |  | 3 | 2 | 101222
2 | 0.20 | 25 | P/FINAL | 2025-07-15 | 14:12 | 2025-07-15 | 09:39 | MARA | 1 | 0.19 | 0.21 | / | / | 0.183 |  |  | 3.970 | 1.25 | 186 | 1 | Kinga |  | 3 | 2 | 101222
2 | 0.20 | 26 | P/FINAL | 2025-07-15 | 14:12 | 2025-07-15 | 09:39 | MARA | 1 | 0.20 | 0.22 | / | / | 0.188 |  |  |  | 0.80 | 195 | 1 | Kinga |  | 3 | 2 | 101222
3 | 0.80 | 27 | P/FINAL | 2025-07-15 | 14:14 | 2025-07-15 | 09:39 | MARA | 1 | 0.83 | 0.88 | / | / | 0.649 |  |  |  | 0.68 |  | 1 | Kinga |  | 3 | 3 | 101222
3 | 0.80 | 28 | P/FINAL | 2025-07-15 | 14:15 | 2025-07-15 | 09:39 | MARA | 1 | 0.84 | 0.86 | / | / | 0.656 |  |  | 3.984 | 0.63 |  | 1 | Kinga |  | 3 | 3 | 101222
3 | 0.80 | 29 | P/FINAL | 2025-07-15 | 14:16 | 2025-07-15 | 09:39 | MARA | 1 | 0.85 | 0.86 | / | / | 0.662 |  |  |  | 0.73 |  | 1 | Kinga |  | 3 | 3 | 101222
1 | 0.00 | 30 | Old A | 2025-09-01 | 09:54 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.01 | 0.01 | / | / | 0.009 |  |  |  | 0.46 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 31 | Old A | 2025-09-01 | 09:55 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.02 | 0.01 | / | / | 0.014 |  |  |  | 0.48 |  | 1 | Andrea V |  | 3 | 1
2 | 0.20 | 32 | Old A | 2025-09-01 | 09:55 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.22 | 0.24 | / | / | 0.206 |  |  |  | 0.90 |  | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 33 | Old A | 2025-09-01 | 09:56 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.17 | 0.19 | / | / | 0.165 |  |  |  | 0.59 |  | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 34 | Old A | 2025-09-01 | 09:56 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.17 | 0.19 | / | / | 0.165 |  |  |  | 0.59 |  | 1 | Andrea V |  | 3 | 2
3 | 0.80 | 35 | Old A | 2025-09-01 | 09:57 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.73 | 0.80 | / | / | 0.585 |  |  |  | 1.07 |  | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 36 | Old A | 2025-09-01 | 09:57 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.73 | 0.82 | / | / | 0.590 |  |  |  | 1.11 | 216 | 1 | Andrea V |  | 3 | 3
2 | 0.20 | 37 | P/FINAL | 2025-09-01 | 10:01 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.19 | 0.21 | / | / | 0.178 |  |  |  | 0.27 | 206 | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 38 | P/FINAL | 2025-09-01 | 10:03 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.19 | 0.21 | / | / | 0.183 |  |  |  | 0.38 | 205 | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 39 | P/FINAL | 2025-09-01 | 10:06 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.20 | 0.23 | / | / | 0.194 |  |  | 4.025 | 0.43 | 207 | 1 | Andrea V |  | 3 | 2
3 | 0.80 | 40 | P/FINAL | 2025-09-01 | 10:09 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.73 | 0.78 | / | / | 0.578 |  |  |  | 0.87 | 205 | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 41 | P/FINAL | 2025-09-01 | 10:09 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.76 | 0.85 | / | / | 0.604 |  |  |  | 2.71 |  | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 42 | P/FINAL | 2025-09-01 | 10:10 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.74 | 0.82 | / | / | 0.594 |  |  | 4.019 | 2.28 |  | 1 | Andrea V |  | 3 | 3
1 | 0.00 | 43 | P/FINAL | 2025-09-01 | 10:13 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.27 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 44 | P/FINAL | 2025-09-01 | 10:14 | 2025-09-01 | 07:12 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.001 |  |  | 4.011 | 0.35 |  | 1 | Andrea V |  | 3 | 1
2 | 0.20 | 45 | P/FINAL | 2025-09-01 | 15:43 | 2025-09-01 | 14:36 | MARA | 1 | 0.21 | 0.23 | / | / | 0.197 |  |  |  | 0.28 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 46 | P/FINAL | 2025-09-01 | 15:43 | 2025-09-01 | 14:36 | MARA | 1 | 0.18 | 0.20 | / | / | 0.176 |  |  |  | 0.34 | 178 | 1 | Kinga |  | 3 | 2
2 | 0.20 | 47 | P/FINAL | 2025-09-01 | 15:43 | 2025-09-01 | 14:36 | MARA | 1 | 0.21 | 0.23 | / | / | 0.199 |  |  | 4.020 | 0.30 | 197 | 1 | Kinga |  | 3 | 2
3 | 0.80 | 48 | P/FINAL | 2025-09-01 | 15:47 | 2025-09-01 | 14:36 | MARA | 1 | 0.78 | 0.87 | / | / | 0.619 |  |  |  | 0.38 | 201 | 1 | Kinga |  | 3 | 3
3 | 0.80 | 49 | P/FINAL | 2025-09-01 | 15:47 | 2025-09-01 | 14:36 | MARA | 1 | 0.79 | 0.87 | / | / | 0.626 |  |  |  | 0.40 | 187 | 1 | Kinga |  | 3 | 3
3 | 0.80 | 50 | P/FINAL | 2025-09-01 | 15:48 | 2025-09-01 | 14:36 | MARA | 1 | 0.80 | 0.89 | / | / | 0.633 |  |  | 4.028 | 0.36 | 182 | 1 | Kinga |  | 3 | 3
1 | 0.00 | 51 | P/FINAL | 2025-09-01 | 15:49 | 2025-09-01 | 14:36 | MARA | 1 | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.27 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 52 | P/FINAL | 2025-09-01 | 15:49 | 2025-09-01 | 14:36 | MARA | 1 | 0.00 | 0.00 | / | / | -0.006 |  |  | 4.022 | 0.24 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.21 mg/L | 9 | 18 | 0.21 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.82 mg/L | 9 | 18 | 0.82 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.01 mg/L | 7 | 14 | 0.01 mg/L