## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI83741A-0 | HI93712A-0 | HI93748A-0 | MI552A-0
0702 | HI93748A-0 | CP-R23 | W39/1 |  | Parameter Formula | Iron | Al | Mn | Iron
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese Low Range Reagent A | 2029-09-01 | L57 Powder |  |  | Laboratory | TAB 3 | Production
Ref Weight. | Min (mg) | Max (mg)
50 | 40 | 60
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0702 | 1833 | 1961
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-09-01 | 2029-05-01 | 2027-02-01
Reagent Range Min | Reagent Range Max
0 µg/L | 300 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-09-24 | 2024-10-02 | 1HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97748 | CTO-669
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-777
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 60 | 52 | 68 |  | MR37 |  | 7 | & | 2% | 80% |  | 3.0 | 2.9 | 3.2
3 | 240 | 229 | 251
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97748 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 60 | 1 | Old A | 2024-09-25 | 11:13 |  |  |  |  | 55 | 67 | / | / | 0.097 |  |  |  | 54.6 |  |  | Brigitta P |  | 3 | 2
2 | 60 | 2 | Old A | 2024-09-25 | 11:15 |  |  |  |  | 53 | 56 | / | / | 0.090 |  |  |  | 53.8 |  |  | Brigitta P |  | 3 | 2
2 | 60 | 3 | Valid | 2024-09-25 | 11:26 | 2024-09-24 |  | ERIKA |  | 51 | 58 | / | / | 0.088 |  |  |  | 53.6 |  |  | Brigitta P |  | 3 | 2
2 | 60 | 4 | Valid | 2024-09-25 | 11:27 | 2024-09-24 |  | ERIKA |  | 60 | 59 | / | / | 0.100 |  |  |  | 53.8 |  |  | Brigitta P |  | 3 | 2
2 | 60 | 5 | Valid | 2024-09-25 | 11:28 | 2024-09-24 |  | ERIKA |  | 59 | 57 | / | / | 0.100 |  |  |  | 52.9 |  |  | Brigitta P |  | 3 | 2
3 | 240 | 6 | Valid | 2024-09-25 | 11:34 | 2024-09-24 |  | ERIKA |  | 234 | 221 | / | / | 0.364 |  |  |  | 45.3 |  |  | Brigitta P |  | 3 | 3
3 | 240 | 7 | Valid | 2024-09-25 | 11:35 | 2024-09-24 |  | ERIKA |  | 243 | 243 | / | / | 0.378 |  |  |  | 53.5 |  |  | Brigitta P |  | 3 | 3
3 | 240 | 8 | Valid | 2024-09-25 | 11:38 | 2024-09-24 |  | ERIKA |  | 234 | 221 | / | / | 0.363 |  |  |  | 4.52 |  |  | Brigitta P |  | 3 | 3
1 | 0 | 9 | Valid | 2024-09-25 | 11:42 | 2024-09-24 |  | ERIKA |  | 2 | 0 | / | / | 0.03 |  |  |  | 49.9 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 10 | Valid | 2024-09-25 | 11:43 | 2024-09-24 |  | ERIKA |  | 2 | 0 | / | / | 0.003 |  |  |  | 48.9 |  |  | Brigitta P |  | 3 | 1
2 | 60 | 11 | P/Prod | 2024-10-01 | 12:30 | 2024-09-30 | 17:46 | Mara | 1 | 51 | 54 | / | / | 0.084 |  |  |  | 18.6 |  | 1 | Brigitta T |  | 3 | 2 | 10354
2 | 60 | 12 | P/Prod | 2024-10-01 | 12:37 | 2024-09-30 | 17:46 | Mara | 1 | 53 | 59 | / | / | 0.090 |  |  |  | 24.2 |  | 1 | Brigitta T |  | 3 | 2 | 10354
3 | 240 | 13 | P/Prod | 2024-10-01 | 12:44 | 2024-09-30 | 17:46 | Mara | 1 | 235 | 232 | / | / | 0.366 |  |  |  | 21.2 |  | 1 | Brigitta T |  | 3 | 3 | 10354
3 | 240 | 14 | P/Prod | 2024-10-01 | 12:44 | 2024-09-30 | 17:46 | Mara | 1 | 240 | 233 | / | / | 0.373 |  |  |  | 18.6 |  | 1 | Brigitta T |  | 3 | 3 | 10354
1 | 0 | 15 | P/Prod | 2024-10-01 | 12:45 | 2024-09-30 | 17:46 | Mara | 1 | 1 | 2 | / | / | 0.002 |  |  |  | 18.6 |  | 1 | Brigitta T |  | 3 | 1
1 | 0 | 16 | P/Prod | 2024-10-01 | 12:46 | 2024-09-30 | 17:46 | Mara | 1 | 0 | 0 | / | / | -0.005 |  |  |  | 20.4 |  | 1 | Brigitta T |  | 3 | 1
2 | 60 | 17 | P/Prod | 2024-10-01 | 12:56 | 2024-10-01 | 07:01 | Irina | 1 | 51 | 56 | / | / | 0.087 |  |  |  | 21.0 |  | 1 | Brigitta T |  | 3 | 2 | 10354
2 | 60 | 18 | P/Prod | 2024-10-01 | 12:57 | 2024-10-01 | 07:01 | Irina | 1 | 60 | 57 | / | / | 0.101 |  |  |  | 18.6 |  | 1 | Brigitta T |  | 3 | 2 | 10354
2 | 60 | 19 | P/Prod | 2024-10-01 | 12:58 | 2024-10-01 | 07:01 | Irina | 1 | 56 | 57 | / | / | 0.095 |  |  |  | 18.4 |  | 1 | Brigitta T |  | 3 | 2 | 10354
3 | 240 | 20 | P/Prod | 2024-10-01 | 13:06 | 2024-10-01 | 07:01 | Irina | 1 | 235 | 229 | / | / | 0.365 |  |  |  | 20.3 |  | 1 | Brigitta T |  | 3 | 3 | 10354
3 | 240 | 21 | P/Prod | 2024-10-01 | 13:06 | 2024-10-01 | 07:01 | Irina | 1 | 234 | 234 | / | / | 0.363 |  |  |  | 20.5 |  | 1 | Brigitta T |  | 3 | 3 | 10354
3 | 240 | 22 | P/Prod | 2024-10-01 | 13:07 | 2024-10-01 | 07:01 | Irina | 1 | 234 | 229 | / | / | 0.363 |  |  |  | 18.4 |  | 1 | Brigitta T |  | 3 | 3 | 10354
1 | 0 | 23 | P/Prod | 2024-10-01 | 13:07 | 2024-10-01 | 07:01 | Irina | 1 | 0 | 1 | / | / | -0.004 |  |  |  | 18.6 |  | 1 | Brigitta T |  | 3 | 1
2 | 60 | 24 | P/Final | 2024-10-02 | 16:04 | 2024-10-01 | 14:23 | Mara | 1 | 53 | 57 | / | / | 0.091 |  |  |  | 25.9 |  | 1 | Brigitta P |  | 3 | 2
2 | 60 | 25 | P/Final | 2024-10-02 | 16:04 | 2024-10-01 | 14:23 | Mara | 1 | 53 | 56 | / | / | 0.090 |  |  |  | 27.2 |  | 1 | Brigitta P |  | 3 | 2
2 | 60 | 26 | P/Final | 2024-10-02 | 16:05 | 2024-10-01 | 14:23 | Mara | 1 | 55 | 61 | / | / | 0.094 |  |  |  | 25.3 |  | 1 | Brigitta P |  | 3 | 2
3 | 240 | 27 | P/Final | 2024-10-02 | 16:08 | 2024-10-01 | 14:23 | Mara | 1 | 240 | 240 | / | / | 0.373 |  |  |  | 46.7 |  | 1 | Brigitta P |  | 3 | 3
3 | 240 | 28 | P/Final | 2024-10-02 | 16:09 | 2024-10-01 | 14:23 | Mara | 1 | 235 | 238 | / | / | 0.365 |  |  |  | 36.4 |  | 1 | Brigitta P |  | 3 | 3
3 | 240 | 29 | P/Final | 2024-10-02 | 16:09 | 2024-10-01 | 14:23 | Mara | 1 | 238 | 240 | / | / | 0.367 |  |  |  | 43.8 |  | 1 | Brigitta P |  | 3 | 3
1 | 0 | 30 | P/Final | 2024-10-02 | 16:09 | 2024-10-01 | 14:23 | Mara | 1 | 3 | 0 | / | / | 0.004 |  |  |  | 23.1 |  | 1 | Brigitta P |  | 3 | 1
1 | 0 | 31 | P/Final | 2024-10-02 | 16:10 | 2024-10-01 | 14:23 | Mara | 1 | 2 | 0 | / | / | 0.003 |  |  |  | 20.1 |  | 1 | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 56 µg/L | 8 | 16 | 56 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 235 µg/L | 8 | 16 | 235 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 1 µg/L | 5 | 10 | 1 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 1 | YES
60 | 52 ÷ 68 | 56 | YES
240 | 229 ÷ 251 | 235 | YES
Validation Date | by