## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI83741A-0 | HI93712A-0 | HI93748A-0 | MI552A-0
0814 | HI93748A-0 | CP-R23 | W46/1 |  | Parameter Formula | Iron | Al | Mn | Iron
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese Low Range Reagent A | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
50 | 40 | 60
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0814 | 1833 | 1787
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01 | 2029-05-01 | 2026-10-01
Reagent Range Min | Reagent Range Max
0 µg/L | 300 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-11-18 | 2024-11-19 | 1HEAD |  |  | 0702
[6 empty] | Expiration A | Expiration B | Expiration D
2029-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97748 | CTO-669
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CTO-860
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 60 | 52 | 68 |  | MR37 |  | 7 | & | 2% | 80% |  | 3.0 | 2.9 | 3.2
3 | 240 | 229 | 251
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 60 | 1 | Old A | 2024-11-12 | 10:58 | 2024-11-12 | 09:43 | MARK |  | 51 | 52 | / | / | 0.088 |  |  |  | 22.9 |  | 1 | Brigitta P |  | 3 | 2 | 103541
2 | 60 | 2 | Old A | 2024-11-12 | 10:59 | 2024-11-12 | 09:43 | MARK |  | 52 | 52 | / | / | 0.90 |  |  |  | 22.9 |  | 1 | Brigitta P |  | 3 | 2 | 103541
3 | 240 | 3 | Old A | 2024-11-12 | 11:00 | 2024-11-12 | 09:43 | MARK |  | 230 | 217 | / | / | 0.357 |  |  |  | 17.1 |  | 1 | Brigitta P |  | 3 | 3 | 103541
3 | 240 | 4 | Old A | 2024-11-12 | 11:01 | 2024-11-12 | 09:43 | MARK |  | 229 | 218 | / | / | 0.356 |  |  |  | 22.9 |  | 1 | Brigitta P |  | 3 | 3 | 103541
3 | 240 | 5 | Valid | 2024-11-12 | 11:11 | 2024-11-12 | 09:43 | MARK |  | 234 | 223 | / | / | 0.363 |  |  |  | 18.8 |  | 1 | Brigitta P |  | 3 | 3 | 103541
3 | 240 | 6 | Valid | 2024-11-12 | 11:12 | 2024-11-12 | 09:43 | MARK |  | 244 | 236 | / | / | 0.381 |  |  |  | 18.6 |  | 1 | Brigitta P |  | 3 | 3 | 103541
3 | 240 | 7 | Valid | 2024-11-12 | 11:13 | 2024-11-12 | 09:43 | MARK |  | 244 | 239 | / | / | 0.381 |  |  |  | 21.8 |  | 1 | Brigitta P |  | 3 | 3 | 103541
2 | 60 | 8 | Valid | 2024-11-12 | 11:20 | 2024-11-12 | 09:43 | MARK |  | 44 | 43 | / | / | 0.076 |  |  |  | 18.8 |  | 1 | Brigitta P |  | 3 | 2 | 103541
2 | 60 | 9 | Valid | 2024-11-12 | 11:24 | 2024-11-12 | 09:43 | MARK |  | 56 | 58 | / | / | 0.095 |  |  |  | 18.8 |  | 1 | Brigitta P |  | 3 | 2 | 103541
2 | 60 | 10 | Valid | 2024-11-12 | 11:25 | 2024-11-12 | 09:43 | MARK |  | 54 | 58 | / | / | 0.092 |  |  |  | 18.0 |  | 1 | Brigitta P |  | 3 | 2 | 103541
1 | 0 | 11 | Valid | 2024-11-12 | 11:27 | 2024-11-12 | 09:43 | MARK |  | 0 | 0 | / | / | -0.004 |  |  |  | 17.6 |  | 1 | Brigitta P |  | 3 | 1 | 103541
1 | 0 | 12 | Valid | 2024-11-12 | 11:27 | 2024-11-12 | 09:43 | MARK |  | 0 | 0 | / | / | -0.004 |  |  |  | 17.6 |  | 1 | Brigitta P |  | 3 | 1 | 103541
2 | 60 | 13 | Old A | 2024-11-19 | 12:09 | 2024-11-19 | 07:20 | MARA | 1 | 53 | 66 | / | / | 0.090 |  |  |  | 26.3 |  | 1 | Kinga |  | 3 | 2 | 103541
3 | 240 | 14 | Old A | 2024-11-19 | 12:09 | 2024-11-19 | 07:20 | MARA | 1 | 230 | 229 | / | / | 0.357 |  |  |  | 23.0 |  | 1 | Kinga |  | 3 | 3 | 103541
1 | 0 | 15 | Old A | 2024-11-19 | 12:10 | 2024-11-19 | 07:20 | MARA | 1 | 8 | 6 | / | / | 0.014 |  |  |  | 27.4 |  | 1 | Kinga |  | 3 | 1 | 103541
1 | 0 | 16 | P/Final | 2024-11-19 | 12:10 | 2024-11-19 | 07:20 | MARA | 1 | 0 | 0 | / | / | -0.008 |  |  |  | 20.9 |  | 1 | Kinga |  | 3 | 1 | 103541
1 | 0 | 17 | P/Final | 2024-11-19 | 12:11 | 2024-11-19 | 07:20 | MARA | 1 | 1 | 0 | / | / | 0.002 | 9.325 |  |  | 22.2 | 49 | 1 | Kinga |  | 3 | 1 | 103541
2 | 60 | 18 | P/Final | 2024-11-19 | 12:12 | 2024-11-19 | 07:20 | MARA | 1 | 53 | 55 | / | / | 0.091 | 9.208 |  |  | 24.7 | 49 | 1 | Kinga |  | 3 | 2 | 103541
2 | 60 | 19 | P/Final | 2024-11-19 | 12:12 | 2024-11-19 | 07:20 | MARA | 1 | 53 | 59 | / | / | 0.091 | 9.247 |  |  | 22.5 | 44 | 1 | Kinga |  | 3 | 2 | 103541
3 | 240 | 20 | P/Final | 2024-11-19 | 12:13 | 2024-11-19 | 07:20 | MARA | 1 | 235 | 238 | / | / | 0.357 | 9.288 |  |  | 21.1 | 62 | 1 | Kinga |  | 3 | 3 | 103541
3 | 240 | 21 | P/Final | 2024-11-19 | 12:14 | 2024-11-19 | 07:20 | MARA | 1 | 231 | 230 | / | / | 0.558 | 9.276 |  |  | 20.2 |  | 1 | Kinga |  | 3 | 3 | 103541
1 | 0 | 22 | P/Final | 2024-11-19 | 15:44 | 2024-11-19 | 14:22 | TAMARA |  | 1 | 1 | / | / | 0.002 |  |  |  | 21.4 |  | 1 | Kinga |  | 3 | 1 | 103541
1 | 0 | 23 | P/Final | 2024-11-19 | 15:45 | 2024-11-19 | 14:22 | TAMARA |  | 1 | 0 | / | / | 0.002 | 9.137 |  |  | 22.2 | 34 | 1 | Kinga |  | 3 | 1 | 103541
2 | 60 | 24 | P/Final | 2024-11-19 | 15:45 | 2024-11-19 | 14:22 | TAMARA |  | 52 | 56 | / | / | 0.098 | 9.311 |  |  | 20.7 | 78 | 1 | Kinga |  | 3 | 2 | 103541
2 | 60 | 25 | P/Final | 2024-11-19 | 15:46 | 2024-11-19 | 14:22 | TAMARA |  | 53 | 59 | / | / | 0.091 | 9.312 |  |  | 22.5 | 58 | 1 | Kinga |  | 3 | 2 | 103541
3 | 240 | 26 | P/Final | 2024-11-19 | 15:47 | 2024-11-19 | 14:22 | TAMARA |  | 237 | 247 | / | / | 0.369 | 9.212 |  |  | 16.5 | 58 | 1 | Kinga |  | 3 | 3 | 103541
3 | 240 | 27 | P/Final | 2024-11-19 | 15:47 | 2024-11-19 | 14:22 | TAMARA |  | 232 | 237 | / | / | 0.353 |  |  |  | 18.7 |  | 1 | Kinga |  | 3 | 3 | 103541
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 55 µg/L | 4 | 8 | 55 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 236 µg/L | 4 | 8 | 236 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1 µg/L | 4 | 8 | 1 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 1 | YES
60 | 52 ÷ 68 | 55 | YES
240 | 229 ÷ 251 | 236 | YES
Validation Date | by