## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI83741A-0 | HI93712A-0 | HI93748A-0 | MI552A-0
1291 | HI93748A-0 | CP-R23 | W 51/1 |  | Parameter Formula | Iron | Al | Mn | Iron
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese LR Reagent A | 2030-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
50 | 40 | 60
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1291 | 2959 | 2816 | 2870
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-12-01 | 2030-11-01 | 2028-03-01 | 2030-10-01
Reagent Range Min | Reagent Range Max
0 µg/L | 300 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-12-19 | 2026-01-12 | 1 HEAD |  |  | 1194
[6 empty] | Expiration A | Expiration B | Expiration D
2030-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97748 | CTO-669
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 10 |  | MR37 |  | 7 | & | 3% | 100% |  | 3.0 | 2.9 | 3.2
2 | 60 | 51 | 69
3 | 240 | 226 | 254
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97748 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-12-19 | 12:13 | 2025-12-19 | 10:49 | ERIKA |  | 0 | 0 | / | / | -0.003 |  |  |  | 21.5 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 2 | Old A | 2025-12-19 | 12:14 | 2025-12-19 | 10:49 | ERIKA |  | 0 | 3 | / | / | -0.001 |  |  |  | 22.0 |  | 1 | Andrea V |  | 3 | 1
2 | 60 | 3 | Old A | 2025-12-19 | 12:24 | 2025-12-19 | 10:49 | ERIKA |  | 51 | 58 | / | / | 0.088 |  |  |  | 22.6 |  | 1 | Andrea V |  | 3 | 2
2 | 60 | 4 | Old A | 2025-12-19 | 12:25 | 2025-12-19 | 10:49 | ERIKA |  | 51 | 56 | / | / | 0.088 |  |  |  | 23.5 |  | 1 | Andrea V |  | 3 | 2
3 | 240 | 5 | Old A | 2025-12-19 | 12:35 | 2025-12-19 | 10:49 | ERIKA |  | 246 | 242 | / | / | 0.384 |  |  |  | 24.5 |  | 1 | Andrea V |  | 3 | 3 | 34508
3 | 240 | 6 | Old A | 2025-12-19 | 12:36 | 2025-12-19 | 10:49 | ERIKA |  | 245 | 239 | / | / | 0.382 |  |  |  | 22.7 |  | 1 | Andrea V |  | 3 | 3 | 34508
1 | 0 | 7 | Valid | 2025-12-19 | 12:44 | 2025-12-19 | 10:49 | ERIKA |  | 1 | 0 | / | / | 0.001 | 9.333 |  |  | 26.1 |  | 1 | Andrea V |  | 3 | 1 | 34508
1 | 0 | 8 | Valid | 2025-12-19 | 12:45 | 2025-12-19 | 10:49 | ERIKA |  | 0 | 0 | / | / | -0.007 |  |  |  | 23.4 |  | 1 | Andrea V |  | 3 | 1 | 34508
2 | 60 | 9 | Valid | 2025-12-19 | 14:45 | 2025-12-19 | 10:49 | ERIKA |  | 53 | 53 | / | / | 0.090 |  |  |  | 21.1 |  | 1 | Andrea V |  | 3 | 2 | 34508
2 | 60 | 10 | Valid | 2025-12-19 | 14:46 | 2025-12-19 | 10:49 | ERIKA |  | 52 | 52 | / | / | 0.089 | 9.332 |  |  | 19.8 |  | 1 | Andrea V |  | 3 | 2 | 34508
2 | 60 | 11 | Valid | 2025-12-19 | 14:47 | 2025-12-19 | 10:49 | ERIKA |  | 53 | 53 | / | / | 0.091 |  |  |  | 20.5 |  | 1 | Andrea V |  | 3 | 2 | 34508
3 | 240 | 12 | Valid | 2025-12-19 | 14:50 | 2025-12-19 | 10:49 | ERIKA |  | 240 | 229 | / | / | 0.373 |  |  |  | 19.8 |  | 1 | Andrea V |  | 3 | 3 | 34508
3 | 240 | 13 | Valid | 2025-12-19 | 14:51 | 2025-12-19 | 10:49 | ERIKA |  | 235 | 224 | / | / | 0.366 |  |  |  | 19.4 |  | 1 | Andrea V |  | 3 | 3 | 34508
3 | 240 | 14 | Valid | 2025-12-19 | 14:51 | 2025-12-19 | 10:49 | ERIKA |  | 238 | 229 | / | / | 0.371 | 9.365 |  |  | 19.2 |  | 1 | Andrea V |  | 3 | 3 | 34508
2 | 60 | 15 | Old A | 2026-01-08 | 12:51 | 2026-01-08 | 08:54 | TAMARA | 1 | 59 | 63 | / | / | 0.100 |  |  |  | 10.2 |  | 1 | Kinga |  | 3 | 2
2 | 60 | 16 | Old A | 2026-01-08 | 12:52 | 2026-01-08 | 08:54 | TAMARA | 1 | 60 | 66 | / | / | 0.102 |  |  |  | 10.1 |  | 1 | Kinga |  | 3 | 2
2 | 60 | 17 | P/FINAL | 2026-01-08 | 12:59 | 2026-01-08 | 08:54 | TAMARA | 1 | 56 | 54 | / | / | 0.096 |  |  |  | 9.03 |  | 1 | Kinga |  | 3 | 2
2 | 60 | 18 | P/FINAL | 2026-01-08 | 13:00 | 2026-01-08 | 08:54 | TAMARA | 1 | 65 | 61 | / | / | 0.109 |  |  |  | 10.7 |  | 1 | Kinga |  | 3 | 2
2 | 60 | 19 | P/FINAL | 2026-01-08 | 13:44 | 2026-01-08 | 08:54 | TAMARA | 1 | 64 | 66 | / | / | 0.107 |  |  |  | 10.7 |  | 1 | Kinga |  | 3 | 2
3 | 240 | 20 | Old A | 2026-01-08 | 13:50 | 2026-01-08 | 08:54 | TAMARA | 1 | 243 | 232 | / | / | 0.379 | - |  |  | 13.7 |  | 1 | Kinga |  | 3 | 3
3 | 240 | 21 | Old A | 2026-01-08 | 13:52 | 2026-01-08 | 08:54 | TAMARA | 1 | 240 | 227 | / | / | 0.373 | 9.296 |  |  | 12.4 | 52 | 1 | Kinga |  | 3 | 3
3 | 240 | 22 | P/FINAL | 2026-01-08 | 13:58 | 2026-01-08 | 08:54 | TAMARA | 1 | 240 | 250 | / | / | 0.375 |  |  |  | 14.0 | 54 | 1 | Kinga |  | 3 | 3
3 | 240 | 23 | P/FINAL | 2026-01-08 | 13:59 | 2026-01-08 | 08:54 | TAMARA | 1 | 240 | 245 | / | / | 0.374 |  |  |  | 12.7 | 54 | 1 | Kinga |  | 3 | 3
3 | 240 | 24 | P/FINAL | 2026-01-08 | 14:05 | 2026-01-08 | 08:54 | TAMARA | 1 | 264 | 250 | / | / | 0.414 | 9.374 |  |  | 14.1 | 53 | 1 | Kinga |  | 3 | 3
1 | 0 | 25 | Old A | 2026-01-08 | 14:07 | 2026-01-08 | 08:54 | TAMARA | 1 | 1 | 1 | / | / | 0.002 |  |  |  | 12.7 | 45 | 1 | Kinga |  | 3 | 1
1 | 0 | 26 | Old A | 2026-01-08 | 14:07 | 2026-01-08 | 08:54 | TAMARA | 1 | 1 | 2 | / | / | 0.002 |  |  |  | 13.1 | 33 | 1 | Kinga |  | 3 | 1
1 | 0 | 27 | P/FINAL | 2026-01-08 | 14:07 | 2026-01-08 | 08:54 | TAMARA | 1 | 1 | 1 | / | / | 0.003 |  |  |  | 12.9 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 28 | P/FINAL | 2026-01-08 | 14:08 | 2026-01-08 | 08:54 | TAMARA | 1 | 1 | 3 | / | / | 0.003 | 9.422 |  |  | 13.3 |  | 1 | Kinga |  | 3 | 1
2 | 60 | 29 | P/FINAL | 2026-01-08 | 15:23 | 2026-01-08 | 14:35 | MARA | 1 | 65 | 66 | / | / | 0.109 |  |  |  | 11.9 |  | 1 | Kinga |  | 3 | 2
2 | 60 | 30 | P/FINAL | 2026-01-08 | 15:24 | 2026-01-08 | 14:35 | MARA | 1 | 51 | 58 | / | / | 0.087 | 9.443 |  |  | 11.9 | 52 | 1 | Kinga |  | 3 | 2
2 | 60 | 31 | P/FINAL | 2026-01-08 | 15:24 | 2026-01-08 | 14:35 | MARA | 1 | 54 | 56 | / | / | 0.097 |  |  |  | 11.8 | 48 | 1 | Kinga |  | 3 | 2
3 | 240 | 32 | P/FINAL | 2026-01-08 | 15:31 | 2026-01-08 | 14:35 | MARA | 1 | 235 | 226 | / | / | 0.365 |  |  |  | 12.6 | 55 | 1 | Kinga |  | 3 | 3
3 | 240 | 33 | P/FINAL | 2026-01-08 | 15:32 | 2026-01-08 | 14:35 | MARA | 1 | 237 | 226 | / | / | 0.368 | 9.422 |  |  | 13.2 | 47 | 1 | Kinga |  | 3 | 3
3 | 240 | 34 | P/FINAL | 2026-01-08 | 15:33 | 2026-01-08 | 14:35 | MARA | 1 | 239 | 229 | / | / | 0.369 |  |  |  | 13.3 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 35 | P/FINAL | 2026-01-08 | 15:37 | 2026-01-08 | 14:35 | MARA | 1 | 0 | 0 | / | / | -0.001 |  |  |  | 14.3 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 36 | P/FINAL | 2026-01-08 | 15:38 | 2026-01-08 | 14:35 | MARA | 1 | 0 | 0 | / | / | -0.001 | 9.427 |  |  | 13.6 |  | 1 | Kinga |  | 3 | 1
2 | 60 | 37 | Old A | 2026-01-09 | 09:35 | 2026-01-09 | 06:54 | TAMARA | 1 | 58 | 54 | / | / | 0.092 |  |  |  | 8.89 |  | 1 | Kinga |  | 3 | 2 | 122015
2 | 60 | 38 | Old A | 2026-01-09 | 09:37 | 2026-01-09 | 06:54 | TAMARA | 1 | 62 | 51 | / | / | 0.105 |  |  |  | 11.8 |  | 1 | Kinga |  | 3 | 2 | 122015
2 | 60 | 39 | P/FINAL | 2026-01-09 | 09:43 | 2026-01-09 | 06:54 | TAMARA | 1 | 58 | 61 | / | / | 0.099 |  |  |  | 11.6 |  | 1 | Kinga |  | 3 | 2 | 122015
2 | 60 | 40 | P/FINAL | 2026-01-09 | 09:44 | 2026-01-09 | 06:54 | TAMARA | 1 | 52 | 66 | / | / | 0.089 |  |  |  | 9.56 |  | 1 | Kinga |  | 3 | 2 | 122015
2 | 60 | 41 | P/FINAL | 2026-01-09 | 09:48 | 2026-01-09 | 06:54 | TAMARA | 1 | 51 | 63 | / | / | 0.086 | 9.394 |  |  | 11.3 |  | 1 | Kinga |  | 3 | 2 | 122015
1 | 0 | 42 | Old A | 2026-01-09 | 09:49 | 2026-01-09 | 06:54 | TAMARA | 1 | 0 | 0 | / | / | -0.001 |  |  |  | 14.2 |  | 1 | Kinga |  | 3 | 1 | 122015
1 | 0 | 43 | Old A | 2026-01-09 | 09:51 | 2026-01-09 | 06:54 | TAMARA | 1 | 0 | 0 | / | / | -0.001 |  |  |  | 14.2 |  | 1 | Kinga |  | 3 | 1 | 122015
1 | 0 | 44 | P/FINAL | 2026-01-09 | 09:52 | 2026-01-09 | 06:54 | TAMARA | 1 | 0 | 0 | / | / | -0.002 | 9.221 |  |  | 14.0 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 45 | P/FINAL | 2026-01-09 | 09:53 | 2026-01-09 | 06:54 | TAMARA | 1 | 0 | 0 | / | / | -0.001 |  |  |  | 14.6 |  | 1 | Kinga |  | 3 | 1
3 | 240 | 46 | Old A | 2026-01-09 | 09:58 | 2026-01-09 | 06:54 | TAMARA | 1 | 236 | 221 | / | / | 0.367 |  |  |  | 10.3 |  | 1 | Kinga |  | 3 | 3
3 | 240 | 47 | Old A | 2026-01-09 | 09:59 | 2026-01-09 | 06:54 | TAMARA | 1 | 236 | 226 | / | / | 0.367 | 9.432 |  |  | 10.7 |  | 1 | Kinga |  | 3 | 3
3 | 240 | 48 | P/FINAL | 2026-01-09 | 10:32 | 2026-01-09 | 06:54 | TAMARA | 1 | 236 | 227 | / | / | 0.367 |  |  |  | 12.4 |  | 1 | Kinga |  | 3 | 3
3 | 240 | 49 | P/FINAL | 2026-01-09 | 10:33 | 2026-01-09 | 06:54 | TAMARA | 1 | 235 | 226 | / | / | 0.366 |  |  |  | 12.0 |  | 1 | Kinga |  | 3 | 3
3 | 240 | 50 | P/FINAL | 2026-01-09 | 10:34 | 2026-01-09 | 06:54 | TAMARA | 1 | 235 | 227 | / | / | 0.366 |  |  |  | 12.7 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 51 | P/FINAL | 2026-01-09 | 15:43 | 2026-01-09 | 14:45 | MARA | 1 | 1 | 0 | / | / | 0.001 |  |  |  | 11.8 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 52 | P/FINAL | 2026-01-09 | 15:44 | 2026-01-09 | 14:45 | MARA | 1 | 3 | 3 | / | / | 0.007 | 9.357 |  |  | 13.7 |  | 1 | Kinga |  | 3 | 1
2 | 60 | 53 | P/FINAL | 2026-01-09 | 15:49 | 2026-01-09 | 14:45 | MARA | 1 | 58 | 56 | / | / | 0.098 |  |  |  | 8.37 | 58 | 1 | Kinga |  | 3 | 2
2 | 60 | 54 | P/FINAL | 2026-01-09 | 15:49 | 2026-01-09 | 14:45 | MARA | 1 | 59 | 60 | / | / | 0.100 |  |  |  | 9.23 | 36 | 1 | Kinga |  | 3 | 2
2 | 60 | 55 | P/FINAL | 2026-01-09 | 15:50 | 2026-01-09 | 14:45 | MARA | 1 | 58 | 59 | / | / | 0.099 | 9.515 |  |  | 8.75 | 37 | 1 | Kinga |  | 3 | 2
3 | 240 | 56 | P/FINAL | 2026-01-09 | 15:54 | 2026-01-09 | 14:45 | MARA | 1 | 243 | 235 | / | / | 0.378 |  |  |  | 10.1 | 45 | 1 | Kinga |  | 3 | 3
3 | 240 | 57 | P/FINAL | 2026-01-09 | 15:55 | 2026-01-09 | 14:45 | MARA | 1 | 244 | 232 | / | / | 0.381 |  |  |  | 10.9 |  | 1 | Kinga |  | 3 | 3
3 | 240 | 58 | P/FINAL | 2026-01-09 | 15:59 | 2026-01-09 | 14:45 | MARA | 1 | 239 | 227 | / | / | 0.372 | 9.540 |  |  | 9.11 |  | 1 | Kinga |  | 3 | 3
2 | 60 | 59 | P/FINAL | 2026-01-12 | 09:55 | 2026-01-12 | 06:27 | MARA | 1 | 61 | 68 | / | / | 0.103 |  |  |  | 14.3 |  | 1 | Kinga |  | 3 | 2 | 122015
2 | 60 | 60 | P/FINAL | 2026-01-12 | 09:55 | 2026-01-12 | 06:27 | MARA | 1 | 65 | 68 | / | / | 0.110 |  |  |  | 14.2 |  | 1 | Kinga |  | 3 | 2 | 122015
2 | 60 | 61 | P/FINAL | 2026-01-12 | 09:56 | 2026-01-12 | 06:27 | MARA | 1 | 60 | 56 | / | / | 0.101 |  |  |  | 12.9 |  | 1 | Kinga |  | 3 | 2 | 122015
2 | 60 | 62 | Old A | 2026-01-12 | 09:56 | 2026-01-12 | 06:27 | MARA | 1 | 65 | 66 | / | / | 0.110 | 9.489 |  |  | 11.8 |  | 1 | Kinga |  | 3 | 2 | 122015
2 | 60 | 63 | Old A | 2026-01-12 | 09:57 | 2026-01-12 | 06:27 | MARA | 1 | 67 | 69 | / | / | 0.113 |  |  |  | 13.5 |  | 1 | Kinga |  | 3 | 2 | 122015
1 | 0 | 64 | P/FINAL | 2026-01-12 | 10:15 | 2026-01-12 | 06:27 | MARA | 1 | 3 | 10 | / | / | 0.004 |  |  |  | 12.9 |  | 1 | Kinga |  | 3 | 1 | 122015
1 | 0 | 65 | P/FINAL | 2026-01-12 | 10:15 | 2026-01-12 | 06:27 | MARA | 1 | 1 | 2 | / | / | 0.002 |  |  |  | 11.3 |  | 1 | Kinga |  | 3 | 1 | 122015
1 | 0 | 66 | Old A | 2026-01-12 | 10:16 | 2026-01-12 | 06:27 | MARA | 1 | 2 | 3 | / | / | 0.003 | 9.310 |  |  | 10.8 | 53 | 1 | Kinga |  | 3 | 1 | 122015
1 | 0 | 67 | Old A | 2026-01-12 | 10:17 | 2026-01-12 | 06:27 | MARA | 1 | 2 | 4 | / | / | 0.003 |  |  |  | 10.9 | 43 | 1 | Kinga |  | 3 | 1 | 122015
3 | 240 | 68 | P/FINAL | 2026-01-12 | 10:22 | 2026-01-12 | 06:27 | MARA | 1 | 245 | 230 | / | / | 0.382 |  |  |  | 13.4 | 57 | 1 | Kinga |  | 3 | 3 | 122015
3 | 240 | 69 | P/FINAL | 2026-01-12 | 10:23 | 2026-01-12 | 06:27 | MARA | 1 | 238 | 223 | / | / | 0.370 |  |  |  | 13.4 | 47 | 1 | Kinga |  | 3 | 3 | 122015
3 | 240 | 70 | P/FINAL | 2026-01-12 | 10:24 | 2026-01-12 | 06:27 | MARA | 1 | 246 | 227 | / | / | 0.384 | 9.297 |  |  | 13.1 | 50 | 1 | Kinga |  | 3 | 3 | 122015
3 | 240 | 71 | Old A | 2026-01-12 | 10:28 | 2026-01-12 | 06:27 | MARA | 1 | 247 | 229 | / | / | 0.386 |  |  |  | 13.7 |  | 1 | Kinga |  | 3 | 3 | 122015
3 | 240 | 72 | Old A | 2026-01-12 | 10:28 | 2026-01-12 | 06:27 | MARA | 1 | 249 | 229 | / | / | 0.389 |  |  |  | 23.5 |  | 1 | Kinga |  | 3 | 3 | 122015
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 1 µg/L | 10 | 20 | 1 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 60 µg/L | 15 | 30 | 60 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 237 µg/L | 15 | 30 | 237 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 1 | YES
60 | 51 ÷ 69 | 60 | YES
240 | 226 ÷ 254 | 237 | YES
Validation Date | by