## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0822 | HI701-0 | CP-R25 | 46/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2024-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-10-25 | 2024-10-25 | 4 HEAD |  |  | 0651
[6 empty] | Expiration A | Expiration B | Expiration D
2026-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI93711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 2.00 | 1.95 | 2.05 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.50 | 0.47 | 0.53
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI93711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 2.00 | 1 | Valid | 2024-11-14 | 15:10 | 2024-11-14 | 13:43 | MARK |  | 1.98 | 1.97 | / | / | 1.003 | [6 empty] | Brigitta P |  | 3 | 3 | 24610
3 | 2.00 | 2 | Valid | 2024-11-14 | 15:12 | 2024-11-14 | 13:43 | MARK |  | 1.97 | 1.97 | / | / |  |  |  |  | 0.29 |  |  | Brigitta P |  | 3 | 3 | 24610
3 | 2.00 | 3 | Valid | 2024-11-14 | 15:12 | 2024-11-14 | 13:43 | MARK |  | 1.92 | 1.95 | / | / | 0.978 |  |  |  | 0.29 |  |  | Brigitta P |  | 3 | 3 | 24610
2 | 0.50 | 4 | Valid | 2024-11-14 | 15:15 | 2024-11-14 | 13:43 | MARK |  | 0.52 | 0.49 | / | / | 0.274 |  |  |  | 0.15 |  |  | Brigitta P |  | 3 | 2 | 24610
2 | 0.50 | 5 | Valid | 2024-11-14 | 15:16 | 2024-11-14 | 13:43 | MARK |  | 0.50 | 0.48 | / | / | 0.264 |  |  |  | 0.36 |  |  | Brigitta P |  | 3 | 2 | 24610
2 | 0.50 | 6 | Valid | 2024-11-14 | 15:17 | 2024-11-14 | 13:43 | MARK |  | 0.49 | 0.47 | / | / | 0.260 |  |  |  | 0.38 |  |  | Brigitta P |  | 3 | 2 | 24610
3 | 2.00 | 7 | Valid | 2024-11-14 | 15:15 | 2024-11-14 | 13:43 | MARK |  | 1.97 | 1.99 | / | / | 0.998 |  |  |  | 0.40 |  |  | Brigitta P |  | 3 | 2 | 24610
1 | 0.00 | 8 | Valid | 2024-11-14 | 15:22 | 2024-11-14 | 13:43 | MARK |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.13 |  |  | Brigitta P |  | 3 | 1 | 24610
1 | 0.00 | 9 | Old A | 2024-11-14 | 15:22 | 2024-11-14 | 13:43 | MARK |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.69 |  |  | Brigitta P |  | 3 | 1 | 24610
2 | 0.50 | 10 | Old A | 2024-11-14 | 15:25 | 2024-11-14 | 13:43 | MARK |  | 0.49 | 0.47 | / | / | 0.260 |  |  |  | 0.89 |  |  | Brigitta P |  | 3 | 1 | 24610
2 | 0.50 | 11 | Old A | 2024-11-14 | 15:25 | 2024-11-14 | 13:43 | MARK |  | 0.49 | 0.46 | / | / | 0.260 |  |  |  | 0.75 |  |  | Brigitta P |  | 3 | 1 | 24610
3 | 2.00 | 12 | Old A | 2024-11-14 | 15:25 | 2024-11-14 | 13:43 | MARK |  | 1.99 | 2.00 | / | / | 1.008 |  |  |  | 1.97 |  |  | Brigitta P |  | 3 | 1 | 24610
3 | 2.00 | 13 | Old A | 2024-11-14 | 15:25 | 2024-11-14 | 13:43 | MARK |  | 1.99 | 2.00 | / | / | 1.008 |  |  |  | 1.30 |  |  | Brigitta P |  | 3 | 1 | 24610
2 | 0.50 | 14 | Old A | 2024-12-03 | 11:09 | 2024-12-03 | 07:05 | Giorgiana | 4 | 0.47 | 0.47 | / | / | 0.248 |  |  |  | 0.94 |  |  | Kinga |  | 3 | 2 | 65031
3 | 2.00 | 15 | Old A | 2024-12-03 | 11:09 | 2024-12-03 | 07:05 | Giorgiana | 4 | 1.96 | 1.96 | / | / | 0.922 |  |  |  | 1.01 |  |  | Kinga |  | 3 | 3 | 65031
1 | 0.00 | 16 | Old A | 2024-12-03 | 11:12 | 2024-12-03 | 07:05 | Giorgiana | 4 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 1.02 |  |  | Kinga |  | 3 | 1 | 65031
2 | 0.50 | 17 | P/Final | 2024-12-03 | 11:17 | 2024-12-03 | 07:05 | Giorgiana | 4 | 0.47 | 0.48 | / | / | 0.243 | 6.276 |  |  | 0.20 | 111 |  | Kinga |  | 3 | 2 | 65031
2 | 0.50 | 18 | P/Final | 2024-12-03 | 11:18 | 2024-12-03 | 07:05 | Giorgiana | 4 | 0.48 | 0.48 | / | / | 0.248 | 6.034 |  |  | 0.23 | 122 |  | Kinga |  | 3 | 2 | 65031
3 | 2.00 | 19 | P/Final | 2024-12-03 | 11:20 | 2024-12-03 | 07:05 | Giorgiana | 4 | 1.95 | 1.96 | / | / | 0.984 | 5.943 |  |  | 2.30 | 117 |  | Kinga |  | 3 | 3 | 65031
3 | 2.00 | 20 | P/Final | 2024-12-03 | 11:23 | 2024-12-03 | 07:05 | Giorgiana | 4 | 2.05 | 2.05 | / | / | 1.040 | 6.021 |  |  | 0.20 |  |  | Kinga |  | 3 | 3 | 65031
1 | 0.00 | 21 | P/Final | 2024-12-03 | 11:25 | 2024-12-03 | 07:05 | Giorgiana | 4 | 0.03 | 0.03 | / | / | 0.058 | 6.018 |  |  | 0.21 |  |  | Kinga |  | 3 | 1 | 65031
1 | 0.00 | 22 | P/Final | 2024-12-03 | 11:26 | 2024-12-03 | 07:05 | Giorgiana | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.250 |  |  | 0.22 |  |  | Kinga |  | 3 | 1 | 65031
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 2 mg/L | 2 | 4 | 2 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.48 mg/L | 2 | 4 | 0.48 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.02 mg/L | 2 | 4 | 0.02 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.02 | YES
0.50 | 0.47 ÷ 0.53 | 0.48 | YES
2.00 | 1.95 ÷ 2.05 | 2.00 | YES
Validation Date | by