## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0879 | HI701-0 | CP-R25 | W 02/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-01-15 | 2025-01-16 | 1HEAD |  |  | 0788
[6 empty] | Expiration A | Expiration B | Expiration D
2026-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.47 | 0.53 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.00 | 1.95 | 2.05
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-01-15 | 08:37 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 0.49 | 0.49 | / | / | 0.253 |  |  |  | 1.34 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 2 | Old A | 2025-01-15 | 08:38 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 2.04 | 2.05 | / | / | 0.032 |  |  |  | 0.43 |  |  | Kinga |  | 3 | 3
2 | 0.50 | 3 | P/FINAL | 2025-01-15 | 08:39 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 0.49 | 0.47 | / | / | 0.258 |  |  |  | 0.16 | 126 |  | Kinga |  | 3 | 2
2 | 0.50 | 4 | P/FINAL | 2025-01-15 | 08:39 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 0.49 | 0.47 | / | / | 0.257 |  |  |  | 0.12 | 116 |  | Kinga |  | 3 | 2
2 | 0.50 | 5 | P/FINAL | 2025-01-15 | 08:40 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 0.49 | 0.50 | / | / | 0.259 | 6.277 |  |  | 1.11 | 105 |  | Kinga |  | 3 | 2
3 | 2.00 | 6 | P/FINAL | 2025-01-15 | 08:41 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 1.96 | 2.00 | / | / | 0.994 |  |  |  | 2.13 | 105 |  | Kinga |  | 3 | 3
3 | 2.00 | 7 | P/FINAL | 2025-01-15 | 08:41 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 1.97 | 1.93 | / | / | 0.998 | 6.193 |  |  | 1.31 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 8 | P/FINAL | 2025-01-15 | 08:42 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 2.04 | 2.05 | / | / | 1.033 |  |  |  | 0.31 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 9 | P/FINAL | 2025-01-15 | 08:44 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.75 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 10 | P/FINAL | 2025-01-15 | 08:45 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.015 |  |  | 0.41 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 11 | Old A | 2025-01-15 | 08:45 | 2025-01-15 | 06:40 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 1
3 | 2.00 | 12 | P/FINAL | 2025-01-15 | 15:54 | 2025-01-15 | 14:39 | DORINA | 4 | 1.95 | 2.04 | / | / | 0.990 |  |  |  | 0.79 | 118 |  | Kinga |  | 3 | 3
3 | 2.00 | 13 | P/FINAL | 2025-01-15 | 15:55 | 2025-01-15 | 14:39 | DORINA | 4 | 1.99 | 2.04 | / | / | 1.011 |  |  |  | 0.25 | 121 |  | Kinga |  | 3 | 3
3 | 2.00 | 14 | P/FINAL | 2025-01-15 | 15:55 | 2025-01-15 | 14:39 | DORINA | 4 | 2.00 | 2.04 | / | / | 1.016 |  |  |  | 0.22 | 106 |  | Kinga |  | 3 | 3
2 | 0.50 | 15 | P/FINAL | 2025-01-15 | 15:58 | 2025-01-15 | 14:39 | DORINA | 4 | 0.48 | 0.50 | / | / | 0.253 |  |  |  | 0.34 | 128 |  | Kinga |  | 3 | 2
2 | 0.50 | 16 | P/FINAL | 2025-01-15 | 15:58 | 2025-01-15 | 14:39 | DORINA | 4 | 0.47 | 0.47 | / | / | 0.250 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 17 | P/FINAL | 2025-01-15 | 15:59 | 2025-01-15 | 14:39 | DORINA | 4 | 0.48 | 0.46 | / | / | 0.253 |  |  |  | 0.17 |  |  | Kinga |  | 3 | 2
1 | 0.00 | 18 | P/FINAL | 2025-01-15 | 16:00 | 2025-01-15 | 14:39 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.95 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 19 | P/FINAL | 2025-01-15 | 16:01 | 2025-01-15 | 14:39 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.28 |  |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.48 mg/L | 6 | 12 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 2 mg/L | 6 | 12 | 2 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.48 | YES
2.00 | 1.95 ÷ 2.05 | 2.00 | YES
Validation Date | by