## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0943 | HI701-0 | CP-R25 | 08/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-02-28 | 2025-02-28 | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 2.00 | 1.95 | 2.05 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
1 | 0.00 | 0.00 | 0.03
2 | 0.50 | 0.47 | 0.53
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 2.00 | 1 | P/Prod | 2025-02-28 | 08:33 | 2025-02-28 | 06:421 | GIORGIANA | 4 | 1.96 | 1.96 | / | / | 0.994 | 6.518 |  |  | 0.56 | 104 |  | Brigitta P |  | 3 | 3 | 82845
3 | 2.00 | 2 | P/Prod | 2025-02-28 | 08:34 | 2025-02-28 | 06:421 | GIORGIANA | 4 | 1.96 | 1.96 | / | / | 0.993 | 6.357 |  |  | 0.36 | 113 |  | Brigitta P |  | 3 | 3 | 82845
1 | 0.00 | 3 | P/Prod | 2025-02-28 | 08:34 | 2025-02-28 | 06:421 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.108 |  |  | 0.27 | 113 |  | Brigitta P |  | 3 | 1 | 82845
2 | 0.50 | 4 | P/Prod | 2025-02-28 | 08:38 | 2025-02-28 | 06:421 | GIORGIANA | 4 | 0.48 | 0.48 | / | / | 0.251 | 6.450 |  |  | 0.22 | 114 |  | Brigitta P |  | 3 | 2 | 82845
2 | 0.50 | 5 | P/Prod | 2025-02-28 | 08:39 | 2025-02-28 | 06:421 | GIORGIANA | 4 | 0.48 | 0.46 | / | / | 0.251 | 6.452 |  |  | 0.85 | 113 |  | Brigitta P |  | 3 | 2 | 82845
2 | 0.50 | 6 | P/Prod | 2025-02-28 | 14:53 | 2025-02-28 | 14:37 | DORINA | 4 | 0.48 | 0.50 | / | / | 0.254 | 5.901 |  |  | 0.24 | 105 |  | Kinga |  | 3 | 2
2 | 0.50 | 7 | P/Prod | 2025-02-28 | 14:54 | 2025-02-28 | 14:37 | DORINA | 4 | 0.48 | 0.47 | / | / | 0.255 |  |  |  | 0.33 | 105 |  | Kinga |  | 3 | 2
3 | 2.00 | 8 | P/Prod | 2025-02-28 | 14:59 | 2025-02-28 | 14:37 | DORINA | 4 | 1.97 | 1.95 | / | / | 0.954 | 6.095 |  |  | 0.56 | 101 |  | Kinga |  | 3 | 3
3 | 2.00 | 9 | P/Prod | 2025-02-28 | 15:00 | 2025-02-28 | 14:37 | DORINA | 4 | 1.98 | 1.99 | / | / | 0.963 |  |  |  | 0.19 | 107 |  | Kinga |  | 3 | 3
1 | 0.00 | 10 | P/Prod | 2025-02-28 | 15:05 | 2025-02-28 | 14:37 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 | 6.087 |  |  | 0.26 |  |  | Kinga |  | 3 | 1 | 82845
1 | 0.00 | 11 | P/Prod | 2025-02-28 | 15:05 | 2025-02-28 | 14:37 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.018 |  |  |  | 0.69 |  |  | Kinga |  | 3 | 1 | 82845
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1.97 mg/L | 4 | 8 | 1.97 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.48 mg/L | 4 | 8 | 0.48 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.48 | YES
2.00 | 1.95 ÷ 2.05 | 1.97 | YES
Validation Date | by
2025-03-05 | Eugenia