## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0945 | HI701-0 | CP-R25 | W09/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-04 | 2025-03-04 | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.47 | 0.53 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.00 | 1.95 | 2.05
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | P/FINAL | 2025-03-04 | 15:27 | 2025-03-04 | 14:29 | DORINA | 4 | 0.48 | 0.46 | / | / | 0.251 |  |  |  | 0.45 | 108 |  | Brigitta P |  | 3 | 2
2 | 0.50 | 2 | P/FINAL | 2025-03-04 | 15:28 | 2025-03-04 | 14:29 | DORINA | 4 | 0.48 | 0.47 | / | / | 0.251 | 6.240 |  |  | 0.46 | 121 |  | Brigitta P |  | 3 | 2
3 | 2.00 | 3 | P/FINAL | 2025-03-04 | 15:28 | 2025-03-04 | 14:29 | DORINA | 4 | 1.95 | 1.95 | / | / | 0.988 |  |  |  | 0.50 | 133 |  | Brigitta P |  | 3 | 3
3 | 2.00 | 4 | P/FINAL | 2025-03-04 | 15:29 | 2025-03-04 | 14:29 | DORINA | 4 | 1.97 | 1.97 | / | / | 1.002 | 6.253 |  |  | 0.25 | 99 |  | Brigitta P |  | 3 | 3
1 | 0.00 | 5 | P/FINAL | 2025-03-04 | 15:29 | 2025-03-04 | 14:29 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.20 |  |  | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.47 mg/L | 2 | 4 | 0.47 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 1.96 mg/L | 2 | 4 | 1.96 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0 mg/L | 1 | 2 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.47 | YES
2.00 | 1.95 ÷ 2.05 | 1.96 | YES
Validation Date | by