## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0967 | HI701-0 | CP-R25 | W 12/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0907
[6 empty] | Expiration A | Expiration B | Expiration D
2027-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.50 | 0.47 | 0.53
3 | 2.00 | 1.95 | 2.05
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-03-20 | 12:19 | 2025-03-20 | 12:01 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.68 |  |  | Kinga |  | 3 | 1 | 82927
2 | 0.50 | 2 | Old A | 2025-03-20 | 12:22 | 2025-03-20 | 12:01 | DORINA | 4 | 0.48 | 0.47 | / | / | 0.254 |  |  |  | 1.94 |  |  | Kinga |  | 3 | 2 | 82927
3 | 2.00 | 3 | Old A | 2025-03-20 | 12:23 | 2025-03-20 | 12:01 | DORINA | 4 | 1.99 | 2.03 | / | / | 1.012 |  |  |  | 2.12 |  |  | Kinga |  | 3 | 3 | 82927
2 | 0.50 | 4 | P/FINAL | 2025-03-20 | 12:27 | 2025-03-20 | 12:01 | DORINA | 4 | 0.49 | 0.47 | / | / | 0.258 |  |  |  | 0.58 |  |  | Kinga |  | 3 | 2 | 82927
2 | 0.50 | 5 | P/FINAL | 2025-03-20 | 12:28 | 2025-03-20 | 12:01 | DORINA | 4 | 0.49 | 0.47 | / | / | 0.256 | 7.053 |  |  | 0.19 |  |  | Kinga |  | 3 | 2 | 82927
3 | 2.00 | 6 | P/FINAL | 2025-03-20 | 12:29 | 2025-03-20 | 12:01 | DORINA | 4 | 2.01 | 2.04 | / | / | 1.020 |  |  |  | 0.22 | 111 |  | Kinga |  | 3 | 3 | 82927
3 | 2.00 | 7 | P/FINAL | 2025-03-20 | 12:29 | 2025-03-20 | 12:01 | DORINA | 4 | 1.97 | 2.01 | / | / | 1.000 | 6.643 |  |  | 1.68 | 119 |  | Kinga |  | 3 | 3 | 82927
1 | 0.00 | 8 | P/FINAL | 2025-03-20 | 12:31 | 2025-03-20 | 12:01 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 0.46 | 119 |  | Kinga |  | 3 | 1 | 82927
1 | 0.00 | 9 | P/FINAL | 2025-03-20 | 12:32 | 2025-03-20 | 12:01 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.009 | 6.748 |  |  | 0.45 | 121 |  | Kinga |  | 3 | 1 | 82927
2 | 0.50 | 10 | P/Prod | 2025-03-20 | 14:50 | 2025-03-20 | 14:27 | GIORGIANA | 4 | 0.47 | 0.47 | / | / | 0.250 | 6.197 |  |  | 0.73 | 124 |  | Kinga |  | 3 | 2
2 | 0.50 | 11 | P/Prod | 2025-03-20 | 14:50 | 2025-03-20 | 14:27 | GIORGIANA | 4 | 0.50 | 0.47 | / | / | 0.265 |  |  |  | 0.32 | 118 |  | Kinga |  | 3 | 2
3 | 2.00 | 12 | P/Prod | 2025-03-20 | 14:53 | 2025-03-20 | 14:27 | GIORGIANA | 4 | 1.99 | 2.01 | / | / | 1.011 | 6.640 |  |  | 2.44 | 106 |  | Kinga |  | 3 | 3 | 82927
3 | 2.00 | 13 | P/Prod | 2025-03-20 | 14:53 | 2025-03-20 | 14:27 | GIORGIANA | 4 | 1.95 | 1.97 | / | / | 0.990 |  |  |  | 0.95 | 98 |  | Kinga |  | 3 | 3 | 82927
1 | 0.00 | 14 | P/Prod | 2025-03-20 | 14:56 | 2025-03-20 | 14:27 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.15 |  |  | Kinga |  | 3 | 1 | 82927
1 | 0.00 | 15 | P/Prod | 2025-03-20 | 14:57 | 2025-03-20 | 14:27 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.327 |  |  | 0.25 |  |  | Kinga |  | 3 | 1 | 82927
2 | 0.50 | 16 | Old A | 2025-03-21 | 08:37 | 2025-03-21 | 06:37 | DORINA | 4 | 0.48 | 0.49 | / | / | 0.252 |  |  |  | 1.52 |  |  | Kinga |  | 3 | 2 | 82927
3 | 2.00 | 17 | Old A | 2025-03-21 | 08:38 | 2025-03-21 | 06:37 | DORINA | 4 | 1.96 | 1.97 | / | / | 0.994 |  |  |  | 1.52 |  |  | Kinga |  | 3 | 3 | 82927
1 | 0.00 | 18 | Old A | 2025-03-21 | 08:39 | 2025-03-21 | 06:37 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.60 |  |  | Kinga |  | 3 | 1 | 82927
2 | 0.50 | 19 | P/Prod | 2025-03-21 | 08:42 | 2025-03-21 | 06:37 | DORINA | 4 | 0.50 | 0.48 | / | / | 0.265 |  |  |  | 0.97 |  |  | Kinga |  | 3 | 2 | 82927
2 | 0.50 | 20 | P/Prod | 2025-03-21 | 08:43 | 2025-03-21 | 06:37 | DORINA | 4 | 0.47 | 0.49 | / | / | 0.247 | 6.306 |  |  | 0.51 | 119 |  | Kinga |  | 3 | 2 | 82927
3 | 2.00 | 21 | P/Prod | 2025-03-21 | 08:46 | 2025-03-21 | 06:37 | DORINA | 4 | 2.05 | 2.05 | / | / | 1.041 |  |  |  | 0.99 | 110 |  | Kinga |  | 3 | 3 | 82927
3 | 2.00 | 22 | P/Prod | 2025-03-21 | 08:47 | 2025-03-21 | 06:37 | DORINA | 4 | 2.03 | 2.05 | / | / | 1.030 | 6.463 |  |  | 0.1 | 111 |  | Kinga |  | 3 | 3 | 82927
1 | 0.00 | 23 | P/Prod | 2025-03-21 | 08:48 | 2025-03-21 | 06:37 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.17 | 119 |  | Kinga |  | 3 | 1 | 82927
1 | 0.00 | 24 | P/Prod | 2025-03-21 | 08:48 | 2025-03-21 | 06:37 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 | 6.422 |  |  | 0.21 |  |  | Kinga |  | 3 | 1 | 82927
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.48 mg/L | 6 | 12 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 2.01 mg/L | 6 | 12 | 2.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.48 | YES
2.00 | 1.95 ÷ 2.05 | 2.01 | YES
Validation Date | by