## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0987 | HI701-0 | CP-R25 | W13/3 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-04-10 | 2025-04-10 | 4HEAD |  |  | 0967
[6 empty] | Expiration A | Expiration B | Expiration D
2027-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97710 | CTO-705
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.47 | 0.53 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.00 | 1.95 | 2.05
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97710 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-04-11 | 08:43 |  |  |  |  | 0.50 | 0.47 | / | / | 0.261 |  |  |  | 3.42 |  |  | Brigitta P |  | 3 | 2
2 | 0.50 | 2 | Old A | 2025-04-11 | 08:45 |  |  |  |  | 0.49 | 0.49 | / | / | 0.256 |  |  |  | 2.00 | 108 |  | Brigitta P |  | 3 | 2
3 | 2.00 | 3 | Old A | 2025-04-11 | 08:48 |  |  |  |  | 1.98 | 1.97 | / | / | 1.004 |  |  |  | 1.41 |  |  | Brigitta P |  | 3 | 3
3 | 2.00 | 4 | Old A | 2025-04-11 | 08:49 |  |  |  |  | 1.99 | 1.97 | / | / | 1.009 | 6.698 |  |  | 2.76 | 118 |  | Brigitta P |  | 3 | 3
3 | 2.00 | 5 | P/FINAL | 2025-04-11 | 08:54 |  |  |  |  | 1.97 | 1.97 | / | / | 1.002 |  |  |  | 2.32 |  |  | Brigitta P |  | 3 | 3
3 | 2.00 | 6 | P/FINAL | 2025-04-11 | 08:57 |  |  |  |  | 1.98 | 1.96 | / | / | 1.007 |  |  |  | 128 |  |  | Brigitta P |  | 3 | 3
3 | 2.00 | 7 | P/FINAL | 2025-04-11 | 08:59 |  |  |  |  | 1.99 | 1.98 | / | / | 1.011 |  |  |  | 0.58 | 130 |  | Brigitta P |  | 3 | 3
2 | 0.50 | 8 | P/FINAL | 2025-04-11 | 09:02 |  |  |  |  | 0.48 | 0.49 | / | / | 0.255 | 6.319 |  |  | 2.79 |  |  | Brigitta P |  | 3 | 2
2 | 0.50 | 9 | P/FINAL | 2025-04-11 | 09:08 |  |  |  |  | 0.53 | 0.46 | / | / | 0.277 |  |  |  | 0.85 |  |  | Brigitta P |  | 3 | 2
2 | 0.50 | 10 | P/FINAL | 2025-04-11 | 09:10 |  |  |  |  | 0.48 | 0.52 | / | / | 0.255 | 6.549 |  |  | 4.29 | 105 |  | Brigitta P |  | 3 | 2
2 | 0.50 | 11 | P/FINAL | 2025-04-11 | 09:11 |  |  |  |  | 0.48 | 0.47 | / | / | 0.254 |  |  |  | 0.98 |  |  | Brigitta P |  | 3 | 2
1 | 0.00 | 12 | P/FINAL | 2025-04-11 | 09:15 |  |  |  |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.73 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 13 | P/FINAL | 02025/04/11 | 09:15 |  |  |  |  | 0.03 | 0.00 | / | / | 0.022 |  |  |  | 0.44 |  |  | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.49 mg/L | 4 | 8 | 0.49 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.98 mg/L | 3 | 6 | 1.98 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.01 mg/L | 2 | 4 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
0.50 | 0.47 ÷ 0.53 | 0.49 | YES
2.00 | 1.95 ÷ 2.05 | 1.98 | YES
Validation Date | by