## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1043 | HI701-0 | CP-R25 | 20/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-05-23 | 2025-05-26 | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.47 | 0.53 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
1 | 0.00 | 0.00 | 0.03
3 | 2.00 | 1.95 | 2.05
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | P/FINAL | 2025-05-23 | 07:07 | 2025-05-22 | 17:47 | DORINA | 4 | 0.49 | 0.46 | / | / | 0.257 |  |  |  | 2 |  |  | Brigitta P |  | 3 | 2 | 32524
2 | 0.50 | 2 | P/FINAL | 2025-05-23 | 07:08 | 2025-05-22 | 17:47 | DORINA | 4 | 0.49 | 0.49 | / | / | 0.260 |  |  |  | 2.06 |  |  | Brigitta P |  | 3 | 2 | 32524
1 | 0.00 | 3 | P/FINAL | 2025-05-23 | 07:09 | 2025-05-22 | 17:47 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.023 |  |  |  | 0.39 |  |  | Brigitta P |  | 3 | 1 | 32524
1 | 0.00 | 4 | P/FINAL | 0.02025/05/23 | 07:09 | 2025-05-22 | 06:43 | GIORGIANA | 4 | 0.01 | 0.00 | / | / |  |  |  |  | 0.30 |  |  | Brigitta P |  | 3 | 1 | 32524
2 | 0.50 | 5 | P/FINAL | 0.02025/05/23 | 07:10 | 2025-05-22 | 06:43 | GIORGIANA | 4 | 0.49 | 0.50 | / | / | 0.260 |  |  |  | 2.61 |  |  | Brigitta P |  | 3 | 2 | 32524
2 | 0.50 | 6 | P/FINAL | 0.02025/05/23 | 07:11 | 2025-05-22 | 06:43 | GIORGIANA | 4 | 0.49 | 0.47 | / | / | 0.257 |  |  |  | 0.24 |  |  | Brigitta P |  | 3 | 2 | 32524
3 | 2.00 | 7 | P/FINAL | 2025-05-23 | 07:16 | 2025-05-22 | 17:47 | DORINA | 4 | 1.92 | 1.93 | / | / | 0.975 |  |  |  | 1.88 |  |  | Brigitta P |  | 3 | 3 | 32524
3 | 2.00 | 8 | P/FINAL | 2025-05-23 | 07:17 | 2025-05-22 | 17:47 | DORINA | 4 | 1.99 | 1.99 | / | / | 1.010 |  |  |  | 0.47 |  |  | Brigitta P |  | 3 | 3 | 32524
3 | 2.00 | 9 | P/FINAL | 2025-05-23 | 07:18 | 2025-05-22 | 17:47 | DORINA | 4 | 1.97 | 1.99 | / | / | 1.010 |  |  |  | 0.23 |  |  | Brigitta P |  | 3 | 3 | 32524
3 | 2.00 | 10 | P/FINAL | 2025-05-23 | 7:50 | 2025-05-23 | 06:43 | GIORGIANA | 4 | 1.99 | 1.97 | / | / | 1.010 |  |  |  | 0.73 |  |  | Brigitta P |  | 3 | 3 | 32524
3 | 2.00 | 11 | P/FINAL | 2025-05-23 | 7:50 | 2025-05-23 | 06:43 | GIORGIANA | 4 | 1.99 | 1.96 | / | / | 1.00 |  |  |  | 0.39 |  |  | Brigitta P |  | 3 | 3 | 32524
2 | 0.50 | 12 | Old A | 2025-05-23 | 14:37 | 2025-05-23 | 14:27 | DORINA | 4 | 0.49 | 0.48 | / | / | 0.258 |  |  |  | 0.96 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 13 | P/FINAL | 2025-05-23 | 14:37 | 2025-05-23 | 14:27 | DORINA | 4 | 1.97 | 2.01 | / | / | 1000 |  |  |  | 1.69 |  |  | Kinga |  | 3 | 3
2 | 0.50 | 14 | P/FINAL | 2025-05-23 | 14:42 | 2025-05-23 | 14:27 | DORINA | 4 | 0.50 | 0.47 | / | / | 0.262 | 6.350 |  |  | 2.25 | 96 |  | Kinga |  | 3 | 2
2 | 0.50 | 15 | P/FINAL | 2025-05-23 | 14:43 | 2025-05-23 | 14:27 | DORINA | 4 | 0.49 | 0.47 | / | / | 0.271 |  |  |  | 0.63 | 97 |  | Kinga |  | 3 | 2
3 | 2.00 | 16 | P/FINAL | 2025-05-23 | 14:43 | 2025-05-23 | 14:27 | DORINA | 4 | 2.00 | 2.02 | / | / | 1.013 | 6.393 |  |  | 0.63 | 98 |  | Kinga |  | 3 | 3
3 | 2.00 | 17 | P/FINAL | 2025-05-23 | 14:44 | 2025-05-23 | 14:27 | DORINA | 4 | 1.95 | 1.97 | / | / | 0.990 |  |  |  | 0.17 | 110 |  | Kinga |  | 3 | 3
1 | 0.00 | 18 | P/FINAL | 2025-05-23 | 14:46 | 2025-05-23 | 14:27 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.417 |  |  | 0.26 | 125 |  | Kinga |  | 3 | 1
1 | 0.00 | 19 | P/FINAL | 2025-05-23 | 14:46 | 2025-05-23 | 14:27 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.20 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 20 | P/FINAL | 2025-05-26 | 08:37 | 2025-05-26 | 06:51 | DORINA | 4 | 0.48 | 0.47 | / | / | 0.252 |  |  |  | 0.49 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 21 | P/FINAL | 2025-05-26 | 08:37 | 2025-05-26 | 06:51 | DORINA | 4 | 0.48 | 0.49 | / | / | 0.255 | 6.151 |  |  | 1.14 | 101 |  | Kinga |  | 3 | 2
3 | 2.00 | 22 | P/FINAL | 2025-05-26 | 08:39 | 2025-05-26 | 06:51 | DORINA | 4 | 1.99 | 2.02 | / | / | 1.012 |  |  |  | 3.06 | 113 |  | Kinga |  | 3 | 3
3 | 2.00 | 23 | P/FINAL | 2025-05-26 | 08:40 | 2025-05-26 | 06:51 | DORINA | 4 | 1.95 | 1.96 | / | / | 0.973 | 6.052 |  |  | 0.26 | 126 |  | Kinga |  | 3 | 3
1 | 0.00 | 24 | P/FINAL | 2025-05-26 | 08:41 | 2025-05-26 | 06:51 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.43 | 121 |  | Kinga |  | 3 | 1
1 | 0.00 | 25 | P/FINAL | 2025-05-26 | 08:41 | 2025-05-26 | 06:51 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.339 |  |  | 0.39 | 122 |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.48 mg/L | 8 | 16 | 0.48 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 1.98 mg/L | 10 | 20 | 1.98 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.48 | YES
2.00 | 1.95 ÷ 2.05 | 1.98 | YES
Validation Date | by