## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1113 | HI701-0 | CP-R25 | W 29/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | 2025-08-04 |  |  |  |  | 1097
[6 empty] | Expiration A | Expiration B | Expiration D
2027-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-781
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.00 | 1.95 | 2.05
2 | 0.50 | 0.47 | 0.53
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-08-04 | 09:48 | 2025-08-04 | 07:37 | ANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.28 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-08-04 | 09:49 | 2025-08-04 | 07:37 | ANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.23 |  |  | Andrea V |  | 3 | 1
3 | 2.00 | 3 | Old A | 2025-08-04 | 09:55 | 2025-08-04 | 07:37 | ANA | 4 | 1.97 | 1.99 | / | / | 1.001 |  |  |  | 1.16 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 4 | Old A | 2025-08-04 | 10:01 | 2025-08-04 | 07:37 | ANA | 4 | 1.96 | 1.95 | / | / | 0.995 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 3 | 121947
1 | 0.00 | 5 | P/FINAL | 2025-08-04 | 10:26 | 2025-08-04 | 07:37 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.268 |  |  | 0.24 |  |  | Andrea V |  | 3 | 1 | 121947
1 | 0.00 | 6 | P/FINAL | 2025-08-04 | 10:27 | 2025-08-04 | 07:37 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 1 | 121947
3 | 2.00 | 7 | P/FINAL | 2025-08-04 | 10:41 | 2025-08-04 | 07:37 | ANA | 4 | 1.97 | 1.99 | / | / | 1.001 |  |  |  | 0.37 | 89 |  | Andrea V |  | 3 | 3 | 121947
3 | 2.00 | 8 | P/FINAL | 2025-08-04 | 10:49 | 2025-08-04 | 07:37 | ANA | 4 | 1.97 | 2.00 | / | / | 0.001 |  |  |  | 0.29 | 87 |  | Andrea V |  | 3 | 3 | 121947
3 | 2.00 | 9 | P/FINAL | 2025-08-04 | 10:51 | 2025-08-04 | 07:37 | ANA | 4 | 1.96 | 1.98 | / | / | 0.997 | 6.291 |  |  | 0.32 | 99 |  | Andrea V |  | 3 | 3 | 121947
2 | 0.50 | 10 | P/FINAL | 2025-08-04 | 10:57 | 2025-08-04 | 07:37 | ANA | 4 | 0.49 | 0.47 | / | / | 0.260 | 6.268 |  |  | 0.32 | 107 |  | Andrea V |  | 3 | 2 | 121947
2 | 0.50 | 11 | P/FINAL | 2025-08-04 | 10:59 | 2025-08-04 | 07:37 | ANA | 4 | 0.48 | 0.47 | / | / | 0.255 |  |  |  | 0.30 | 106 |  | Andrea V |  | 3 | 2 | 121947
2 | 0.50 | 12 | P/FINAL | 2025-08-04 | 11:06 | 2025-08-04 | 07:37 | ANA | 4 | 0.50 | 0.48 | / | / | 0.263 |  |  |  | 0.33 | 91 |  | Andrea V |  | 3 | 2 | 121947
2 | 0.50 | 13 | Old A | 2025-08-04 | 11:12 | 2025-08-04 | 07:37 | ANA | 4 | 0.50 | 0.47 | / | / | 0.264 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 2 | 121947
2 | 0.50 | 14 | Old A | 2025-08-04 | 11:13 | 2025-08-04 | 07:37 | ANA | 4 | 0.50 | 0.48 | / | / | 0.265 |  |  |  | 0.20 |  |  | Andrea V |  | 3 | 2 | 121947
1 | 0.00 | 15 | Old A | 2025-08-05 | 12:36 | 2025-08-05 | 06:39 | ANA | 4 | 0.00 | 0.00 | / | / | -0.004 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | Old A | 2025-08-05 | 12:38 | 2025-08-05 | 06:39 | ANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.22 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 17 | Old A | 2025-08-05 | 12:40 | 2025-08-05 | 06:39 | ANA | 4 | 0.48 | 0.49 | / | / | 0.251 |  |  |  | 0.94 |  |  | Andrea V |  | 3 | 2 | 123623
2 | 0.50 | 18 | Old A | 2025-08-05 | 12:40 | 2025-08-05 | 06:39 | ANA | 4 | 0.49 | 0.47 | / | / | 0.256 |  |  |  | 0.43 |  |  | Andrea V |  | 3 | 2 | 123623
3 | 2.00 | 19 | Old A | 2025-08-05 | 12:42 | 2025-08-05 | 06:39 | ANA | 4 | 1.95 | 1.98 | / | / | 0.988 |  |  |  | 0.58 |  |  | Andrea V |  | 3 | 3 | 123623
3 | 2.00 | 20 | Old A | 2025-08-05 | 12:43 | 2025-08-05 | 06:39 | ANA | 4 | 1.96 | 1.99 | / | / | 0.995 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 3 | 123623
1 | 0.00 | 21 | P/FINAL | 2025-08-05 | 12:45 | 2025-08-05 | 06:39 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.297 |  |  | 0.19 |  |  | Andrea V |  | 3 | 1 | 123623
1 | 0.00 | 22 | P/FINAL | 2025-08-05 | 12:46 | 2025-08-05 | 06:39 | ANA | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.25 |  |  | Andrea V |  | 3 | 1 | 123623
2 | 0.50 | 23 | P/FINAL | 2025-08-05 | 12:47 | 2025-08-05 | 06:39 | ANA | 4 | 0.48 | 0.47 | / | / | 0.254 | 6.316 |  |  | 0.24 | 89 |  | Andrea V |  | 3 | 2 | 123623
2 | 0.50 | 24 | P/FINAL | 2025-08-05 | 12:48 | 2025-08-05 | 06:39 | ANA | 4 | 0.48 | 0.47 | / | / | 0.253 |  |  |  | 0.23 | 87 |  | Andrea V |  | 3 | 2 | 123623
2 | 0.50 | 25 | P/FINAL | 2025-08-05 | 12:51 | 2025-08-05 | 06:39 | ANA | 4 | 0.48 | 0.48 | / | / | 0.253 |  |  |  | 0.28 | 99 |  | Andrea V |  | 3 | 2 | 123623
3 | 2.00 | 26 | P/FINAL | 2025-08-05 | 12:52 | 2025-08-05 | 06:39 | ANA | 4 | 1.99 | 2.02 | / | / | 1.009 |  |  |  | 0.18 | 107 |  | Andrea V |  | 3 | 3 | 123623
3 | 2.00 | 27 | P/FINAL | 2025-08-05 | 12:53 | 2025-08-05 | 06:39 | ANA | 4 | 1.98 | 2.02 | / | / | 1.005 | 6.299 |  |  | 0.27 | 106 |  | Andrea V |  | 3 | 3 | 123623
3 | 2.00 | 28 | P/FINAL | 2025-08-05 | 12:54 | 2025-08-05 | 06:39 | ANA | 4 | 2.00 | 2.03 | / | / | 1.013 |  |  |  | 0.25 | 91 |  | Andrea V |  | 3 | 3 | 123623
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1.99 mg/L | 6 | 12 | 1.99 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.48 mg/L | 6 | 12 | 0.48 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.48 | YES
2.00 | 1.95 ÷ 2.05 | 1.99 | YES
Validation Date | by