## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1189 | HI701-0 | CP-R25 | W39/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-03 | 2025-10-03 | 4HEAD |  |  | 1153
[6 empty] | Expiration A | Expiration B | Expiration D
2029-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97104 | CTO-710
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-222 | HI98703 | CTO-784
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.50 | 0.47 | 0.53
3 | 2.00 | 1.95 | 2.05
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-10-06 | 10:31 | 2025-10-03 |  | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.51 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-10-06 | 10:32 | 2025-10-03 |  | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 | 6.036 |  |  | 0.37 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 3 | P/FINAL | 2025-10-06 | 10:33 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.17 | 107 |  | Brigitta P |  | 3 | 1
1 | 0.00 | 4 | P/FINAL | 2025-10-06 | 10:34 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 | 6.100 |  |  | 0.30 | 118 |  | Brigitta P |  | 3 | 1
2 | 0.50 | 5 | Old A | 2025-10-06 | 10:52 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 0.50 | 0.48 | / | / | 0.264 |  |  |  | 0.50 |  |  | Brigitta P |  | 3 | 2 | 112844
2 | 0.50 | 6 | Old A | 2025-10-06 | 10:52 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 0.49 | 0.47 | / | / | 0.256 | 6.069 |  |  | 0.42 |  |  | Brigitta P |  | 3 | 2 | 112844
3 | 2.00 | 7 | Old A | 2025-10-06 | 10:55 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 1.98 | 1.97 | / | / | 1.004 |  |  |  | 0.62 |  |  | Brigitta P |  | 3 | 3 | 112844
3 | 2.00 | 8 | Old A | 2025-10-06 | 10:55 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 2.03 | 2.02 | / | / | 1.029 | 6.087 |  |  | 0.45 |  |  | Brigitta P |  | 3 | 3 | 112844
2 | 0.50 | 9 | P/FINAL | 2025-10-06 | 11:05 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 0.48 | 0.47 | / | / | 0.254 | 6.087 |  |  | 0.43 |  |  | Brigitta P |  | 3 | 2 | 112844
2 | 0.50 | 10 | P/FINAL | 2025-10-06 | 11:06 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 0.50 | 0.49 | / | / | 0.263 | 6.077 |  |  | 0.33 | 108 |  | Brigitta P |  | 3 | 2 | 112844
2 | 0.50 | 11 | P/FINAL | 2025-10-06 | 11:06 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 0.50 | 0.48 | / | / | 0.261 | 6.088 |  |  | 0.33 | 101 |  | Brigitta P |  | 3 | 2 | 112844
3 | 2.00 | 12 | P/FINAL | 2025-10-06 | 11:07 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 1.96 | 1.95 | / | / | 0.996 | 6.093 |  |  | 0.76 | 118 |  | Brigitta P |  | 3 | 3 | 112844
3 | 2.00 | 13 | P/FINAL | 2025-10-06 | 11:08 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 1.99 | 1.98 | / | / | 1.010 | 6.091 |  |  | 0.28 | 106 |  | Brigitta P |  | 3 | 3 | 112844
3 | 2.00 | 14 | P/FINAL | 2025-10-06 | 11:08 | 2025-10-03 | 16:16 | GIORGIANA | 4 | 1.96 | 1.98 | / | / | 0.995 |  |  |  | 0.69 | 94 |  | Brigitta P |  | 3 | 3 | 112844
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.49 mg/L | 3 | 6 | 0.49 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.97 mg/L | 3 | 6 | 1.97 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.49 | YES
2.00 | 1.95 ÷ 2.05 | 1.97 | YES
Validation Date | by