## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1195 | HI701-0 | CP-R25 | W 40/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-09 | 2025-10-15 | 4 HEAD |  |  | 1189
[6 empty] | Expiration A | Expiration B | Expiration D
2027-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-830 | HI97104 | CTO-702
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.50 | 0.47 | 0.53
3 | 2.00 | 1.95 | 2.05
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-10-09 | 15:15 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.24 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-10-09 | 15:16 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.28 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 3 | Old A | 2025-10-09 | 15:20 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 0.48 | 0.48 | / | / | 0.251 |  |  |  | 0.83 |  |  | Andrea V |  | 3 | 2 | 104315
2 | 0.50 | 4 | Old A | 2025-10-09 | 15:21 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 0.49 | 0.48 | / | / | 0.253 |  |  |  | 0.43 |  |  | Andrea V |  | 3 | 2 | 104315
3 | 2.00 | 5 | Old A | 2025-10-09 | 15:29 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 2.05 | 1.97 | / | / | 0.999 |  |  |  | 0.40 |  |  | Andrea V |  | 3 | 3 | 104315
3 | 2.00 | 6 | Old A | 2025-10-09 | 15:35 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 2.02 | 2.00 | / | / | 0.984 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 3 | 104315
2 | 0.50 | 7 | P/FINAL | 2025-10-09 | 15:39 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 0.48 | 0.47 | / | / | 0.251 |  |  |  | 0.21 | 97 |  | Andrea V |  | 3 | 2
2 | 0.50 | 8 | P/FINAL | 2025-10-09 | 15:44 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 0.48 | 0.47 | / | / | 0.251 | 6.162 |  |  | 0.22 | 120 |  | Andrea V |  | 3 | 2
2 | 0.50 | 9 | P/FINAL | 2025-10-09 | 15:48 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 0.49 | 0.48 | / | / | 0.254 |  |  |  | 0.36 |  |  | Andrea V |  | 3 | 2
3 | 2.00 | 10 | P/FINAL | 2025-10-09 | 15:51 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 2.05 | 1.97 | / | / | 1.001 |  |  |  | 0.30 | 118 |  | Andrea V |  | 3 | 3
3 | 2.00 | 11 | P/FINAL | 2025-10-09 | 15:55 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 2.04 | 1.96 | / | / | 0.996 | 6.181 |  |  | 0.32 | 110 |  | Andrea V |  | 3 | 3
3 | 2.00 | 12 | P/FINAL | 2025-10-09 | 15:56 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 2.05 | 1.96 | / | / | 0.999 |  |  |  | 0.28 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 13 | P/FINAL | 2025-10-09 | 16:00 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.002 | 6.183 |  |  | 0.24 | 116 |  | Andrea V |  | 3 | 1
1 | 0.00 | 14 | P/FINAL | 2025-10-09 | 16:01 | 2025-10-09 | 11:20 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.17 | 102 |  | Andrea V |  | 3 | 1
1 | 0.00 | 15 | Old A | 2025-10-10 | 08:40 | 2025-10-09 | 14:50 | DORINA | 4 | 0.01 | 0.02 | / | / | 0.013 |  |  |  | 1.36 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | Old A | 2025-10-10 | 08:42 | 2025-10-09 | 14:50 | DORINA | 4 | 0.01 | 0.01 | / | / | 0.013 |  |  |  | 0.37 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 17 | Old A | 2025-10-10 | 08:42 | 2025-10-09 | 14:50 | DORINA | 4 | 0.52 | 0.53 | / | / | 0.276 |  |  |  | 0.46 |  |  | Andrea V |  | 3 | 2 | 82513
2 | 0.50 | 18 | Old A | 2025-10-10 | 08:43 | 2025-10-09 | 14:50 | DORINA | 4 | 0.51 | 0.52 | / | / | 0.270 |  |  |  | 0.43 |  |  | Andrea V |  | 3 | 2 | 82513
3 | 2.00 | 19 | Old A | 2025-10-10 | 08:44 | 2025-10-09 | 14:50 | DORINA | 4 | 2.01 | 2.01 | / | / | 1.017 |  |  |  | 0.55 |  |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 20 | Old A | 2025-10-10 | 08:50 | 2025-10-09 | 14:50 | DORINA | 4 | 2.03 | 2.03 | / | / | 1.030 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 3 | 82513
1 | 0.00 | 21 | P/FINAL | 2025-10-10 | 08:51 | 2025-10-09 | 14:50 | DORINA | 4 | 0.00 | 0.01 | / | / | 0.006 |  |  |  | 0.32 |  |  | Andrea V |  | 3 | 1 | 82513
1 | 0.00 | 22 | P/FINAL | 2025-10-10 | 08:52 | 2025-10-09 | 14:50 | DORINA | 4 | 0.00 | 0.01 | / | / | 0.006 | 6.068 |  |  | 0.28 |  |  | Andrea V |  | 3 | 1 | 82513
2 | 0.50 | 23 | P/FINAL | 2025-10-10 | 08:52 | 2025-10-09 | 14:50 | DORINA | 4 | 0.52 | 0.53 | / | / | 0.274 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 2 | 82513
2 | 0.50 | 24 | P/FINAL | 2025-10-10 | 08:53 | 2025-10-09 | 14:50 | DORINA | 4 | 0.50 | 0.50 | / | / | 0.263 | 6.049 |  |  | 0.28 | 95 |  | Andrea V |  | 3 | 2 | 82513
2 | 0.50 | 25 | P/FINAL | 2025-10-10 | 08:54 | 2025-10-09 | 14:50 | DORINA | 4 | 0.52 | 0.52 | / | / | 0.271 |  |  |  | 0.29 | 110 |  | Andrea V |  | 3 | 2 | 82513
3 | 2.00 | 26 | P/FINAL | 2025-10-10 | 09:03 | 2025-10-09 | 14:50 | DORINA | 4 | 2.05 | 2.05 | / | / | 1.038 |  |  |  | 0.20 | 96 |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 27 | P/FINAL | 2025-10-10 | 09:04 | 2025-10-09 | 14:50 | DORINA | 4 | 2.04 | 2.04 | / | / | 1.034 | 6.101 |  |  | 0.17 | 125 |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 28 | P/FINAL | 2025-10-10 | 09:05 | 2025-10-09 | 14:50 | DORINA | 4 | 2.04 | 2.04 | / | / | 1.033 |  |  |  | 0.22 | 108 |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 29 | P/FINAL | 2025-10-10 | 09:09 | 2025-10-09 | 14:50 | DORINA | 4 | 2.03 | 2.03 | / | / | 1.029 | 6.094 |  |  | 0.25 | 125 |  | Andrea V |  | 3 | 3 | 82513
2 | 0.50 | 30 | Old A | 2025-10-14 | 10:53 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 0.49 | 0.49 | / | / | 0.260 |  |  |  | 0.83 |  |  | Andrea V |  | 3 | 2 | 82513
2 | 0.50 | 31 | Old A | 2025-10-14 | 10:54 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 0.48 | 0.48 | / | / | 0.253 |  |  |  | 0.97 |  |  | Andrea V |  | 3 | 2 | 82513
3 | 2.00 | 32 | Old A | 2025-10-14 | 10:55 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 2.06 | 2.05 | / | / | 1.041 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 33 | Old A | 2025-10-14 | 10:56 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 2.04 | 2.03 | / | / | 1.032 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 3 | 82513
1 | 0.00 | 34 | Old A | 2025-10-14 | 10:58 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.41 |  |  | Andrea V |  | 3 | 1 | 82513
1 | 0.00 | 35 | Old A | 2025-10-14 | 10:58 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 1.13 |  |  | Andrea V |  | 3 | 1 | 82513
3 | 2.00 | 36 | Old A | 2025-10-14 | 10:59 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 2.03 | 2.02 | / | / | 1.028 |  |  |  | 0.75 |  |  | Andrea V |  | 3 | 3 | 82513
1 | 0.00 | 37 | P/FINAL | 2025-10-14 | 11:02 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.30 | 107 |  | Andrea V |  | 3 | 1 | 82513
1 | 0.00 | 38 | P/FINAL | 2025-10-14 | 11:03 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.132 |  |  | 0.18 | 117 |  | Andrea V |  | 3 | 1 | 82513
2 | 0.50 | 39 | P/FINAL | 2025-10-14 | 11:04 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 0.48 | 0.48 | / | / | 0.255 | 6.153 |  |  | 0.25 |  |  | Andrea V |  | 3 | 2 | 82513
2 | 0.50 | 40 | P/FINAL | 2025-10-14 | 11:05 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 0.49 | 0.49 | / | / | 0.260 |  |  |  | 0.31 | 103 |  | Andrea V |  | 3 | 2 | 82513
2 | 0.50 | 41 | P/FINAL | 2025-10-14 | 11:05 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 0.49 | 0.49 | / | / | 0.260 |  |  |  | 0.20 | 113 |  | Andrea V |  | 3 | 2 | 82513
3 | 2.00 | 42 | P/FINAL | 2025-10-14 | 11:09 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 2.08 | 2.08 | / | / | 1.054 |  |  |  | 0.15 |  |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 43 | P/FINAL | 2025-10-14 | 11:10 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 2.06 | 2.06 | / | / | 1.044 |  |  |  | 0.15 |  |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 44 | P/FINAL | 2025-10-14 | 11:13 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 2.03 | 2.02 | / | / | 1.028 | 6.095 |  |  | 0.21 |  |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 45 | P/FINAL | 2025-10-14 | 11:14 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 1.99 | 1.98 | / | / | 1.008 |  |  |  | 0.14 | 116 |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 46 | P/FINAL | 2025-10-14 | 11:15 | 2025-10-13 | 20:24 | GIORGIANA | 4 | 1.98 | 1.97 | / | / | 1.003 |  |  |  | 0.16 | 111 |  | Andrea V |  | 3 | 3 | 82513
1 | 0.00 | 47 | P/FINAL | 2025-10-14 | 11:20 | 2025-10-14 | 06:56 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.22 | 98 |  | Andrea V |  | 3 | 1 | 82513
1 | 0.00 | 48 | P/FINAL | 2025-10-14 | 11:21 | 2025-10-14 | 06:56 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.096 |  |  | 0.18 | 109 |  | Andrea V |  | 3 | 1 | 82513
2 | 0.50 | 49 | P/FINAL | 2025-10-14 | 11:22 | 2025-10-14 | 06:56 | DORINA | 4 | 0.50 | 0.50 | / | / | 0.261 |  |  |  | 0.21 |  |  | Andrea V |  | 3 | 2 | 82513
2 | 0.50 | 50 | P/FINAL | 2025-10-14 | 11:22 | 2025-10-14 | 06:56 | DORINA | 4 | 0.50 | 0.49 | / | / | 0.263 | 6.110 |  |  | 0.38 | 117 |  | Andrea V |  | 3 | 2 | 82513
2 | 0.50 | 51 | P/FINAL | 2025-10-14 | 11:23 | 2025-10-14 | 06:56 | DORINA | 4 | 0.49 | 0.49 | / | / | 0.260 |  |  |  | 0.36 | 108 |  | Andrea V |  | 3 | 2 | 82513
3 | 2.00 | 52 | P/FINAL | 2025-10-14 | 11:26 | 2025-10-14 | 06:56 | DORINA | 4 | 2.08 | 2.08 | / | / | 1.054 |  |  |  | 0.15 |  |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 53 | P/FINAL | 2025-10-14 | 11:26 | 2025-10-14 | 06:56 | DORINA | 4 | 2.06 | 2.06 | / | / | 1.045 |  |  |  | 0.12 |  |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 54 | P/FINAL | 2025-10-14 | 11:43 | 2025-10-14 | 06:56 | DORINA | 4 | 2.06 | 2.05 | / | / | 1.042 | 6.120 |  |  | 0.14 |  |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 55 | P/FINAL | 2025-10-14 | 11:50 | 2025-10-14 | 06:56 | DORINA | 4 | 2.04 | 2.04 | / | / | 1.034 |  |  |  | 0.13 | 105 |  | Andrea V |  | 3 | 3 | 82513
3 | 2.00 | 56 | P/FINAL | 2025-10-14 | 12:01 | 2025-10-14 | 06:56 | DORINA | 4 | 2.04 | 2.05 | / | / | 1.026 |  |  |  | 0.12 | 105 |  | Andrea V |  | 3 | 3
3 | 2.00 | 57 | P/FINAL | 2025-10-14 | 12:02 | 2025-10-14 | 06:56 | DORINA | 4 | 2.05 | 2.05 | / | / | 1.038 |  |  |  | 0.11 |  |  | Andrea V |  | 3 | 3
2 | 0.50 | 58 | P/FINAL | 2025-10-15 | 11:42 | 2025-10-14 | 20:09 | ANA | 4 | 0.48 | 0.49 | / | / | 0.254 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 59 | P/FINAL | 2025-10-15 | 11:42 | 2025-10-14 | 20:09 | ANA | 4 | 0.49 | 0.49 | / | / | 0.259 |  |  |  | 0.30 | 111 |  | Andrea V |  | 3 | 2
2 | 0.50 | 60 | P/FINAL | 2025-10-15 | 11:43 | 2025-10-14 | 20:09 | ANA | 4 | 0.47 | 0.47 | / | / | 0.246 | 6.155 |  |  | 0.32 | 118 |  | Andrea V |  | 3 | 2
3 | 2.00 | 61 | P/FINAL | 2025-10-15 | 11:47 | 2025-10-14 | 20:09 | ANA | 4 | 2.03 | 2.03 | / | / | 1.031 |  |  |  | 0.22 |  |  | Andrea V |  | 3 | 3 | 113457
3 | 2.00 | 62 | P/FINAL | 2025-10-15 | 11:48 | 2025-10-14 | 20:09 | ANA | 4 | 1.94 | 1.93 | / | / | 0.984 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 3 | 113457
3 | 2.00 | 63 | P/FINAL | 2025-10-15 | 11:49 | 2025-10-14 | 20:09 | ANA | 4 | 1.99 | 1.99 | / | / | 1.011 | 6.018 |  |  | 0.21 | 112 |  | Andrea V |  | 3 | 3 | 113457
3 | 2.00 | 64 | P/FINAL | 2025-10-15 | 11:55 | 2025-10-14 | 20:09 | ANA | 4 | 1.99 | 1.99 | / | / | 1.009 |  |  |  | 0.25 | 92 |  | Andrea V |  | 3 | 3 | 113457
1 | 0.00 | 65 | P/FINAL | 2025-10-15 | 11:58 | 2025-10-14 | 20:09 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.32 | 96 |  | Andrea V |  | 3 | 1 | 113457
1 | 0.00 | 66 | P/FINAL | 2025-10-15 | 12:00 | 2025-10-14 | 20:09 | ANA | 4 | 0.00 | 0.01 | / | / | 0.006 | 6.121 |  |  | 0.28 |  |  | Andrea V |  | 3 | 1 | 113457
2 | 0.50 | 67 | P/FINAL | 2025-10-15 | 12:07 | 2025-10-15 | 07:37 | DORINA | 4 | 0.50 | 0.50 | / | / | 0.261 |  |  |  | 0.32 | 114 |  | Andrea V |  | 3 | 2 | 113457
2 | 0.50 | 68 | P/FINAL | 2025-10-15 | 12:08 | 2025-10-15 | 07:37 | DORINA | 4 | 0.49 | 0.49 | / | / | 0.257 | 1.158 |  |  | 0.27 |  |  | Andrea V |  | 3 | 2 | 113457
2 | 0.50 | 69 | P/FINAL | 2025-10-15 | 12:08 | 2025-10-15 | 07:37 | DORINA | 4 | 0.48 | 0.49 | / | / | 0.251 |  |  |  | 0.81 | 124 |  | Andrea V |  | 3 | 2 | 113457
3 | 2.00 | 70 | P/FINAL | 2025-10-15 | 12:09 | 2025-10-15 | 07:37 | DORINA | 4 | 2.07 | 2.06 | / | / | 1.046 |  |  |  | 0.20 |  |  | Andrea V |  | 3 | 3 | 113457
3 | 2.00 | 71 | P/FINAL | 2025-10-15 | 12:11 | 2025-10-15 | 07:37 | DORINA | 4 | 2.04 | 2.05 | / | / | 1.036 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 3 | 113457
3 | 2.00 | 72 | P/FINAL | 2025-10-15 | 12:11 | 2025-10-15 | 07:37 | DORINA | 4 | 1.99 | 1.99 | / | / | 1.010 | 6.103 |  |  | 0.20 | 114 |  | Andrea V |  | 3 | 3 | 113457
3 | 2.00 | 73 | P/FINAL | 2025-10-15 | 12:14 | 2025-10-15 | 07:37 | DORINA | 4 | 1.97 | 1.97 | / | / | 1.000 |  |  |  | 0.18 | 129 |  | Andrea V |  | 3 | 3 | 113457
1 | 0.00 | 74 | P/FINAL | 2025-10-15 | 12:15 | 2025-10-15 | 07:37 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.21 | 121 |  | Andrea V |  | 3 | 1
1 | 0.00 | 75 | P/FINAL | 2025-10-15 | 12:17 | 2025-10-15 | 07:37 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.078 |  |  | 0.23 | 114 |  | Andrea V |  | 3 | 1
2 | 0.50 | 76 | Old A | 2025-10-15 | 12:46 | 2025-10-15 | 07:37 | DORINA | 4 | 0.49 | 0.48 | / | / | 0.259 |  |  |  | 0.49 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 77 | Old A | 2025-10-15 | 12:48 | 2025-10-15 | 07:37 | DORINA | 4 | 0.49 | 0.47 | / | / | 0.256 |  |  |  | 0.49 |  |  | Andrea V |  | 3 | 2
3 | 2.00 | 78 | Old A | 2025-10-15 | 12:51 | 2025-10-15 | 07:37 | DORINA | 4 | 2.01 | 2.00 | / | / | 1.020 |  |  |  | 0.49 |  |  | Andrea V |  | 3 | 3 | 113457
3 | 2.00 | 79 | Old A | 2025-10-15 | 12:53 | 2025-10-15 | 07:37 | DORINA | 4 | 1.98 | 1.97 | / | / | 1.006 |  |  |  | 0.47 |  |  | Andrea V |  | 3 | 3 | 113457
1 | 0.00 | 80 | Old A | 2025-10-15 | 12:54 | 2025-10-15 | 07:37 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.73 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 81 | Old A | 2025-10-15 | 12:55 | 2025-10-15 | 07:37 | DORINA | 4 | 0.01 | 0.01 | / | / | 0.009 |  |  |  | 0.92 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 82 | P/FINAL | 2025-10-15 | 15:58 | 2025-10-15 |  | GIORGIANA | 4 | 0.50 | 0.50 | / | / | 0.263 |  |  |  | 0.94 |  |  | Andrea V |  | 3 | 2 | 113457
2 | 0.50 | 83 | P/FINAL | 2025-10-15 | 15:58 | 2025-10-15 |  | GIORGIANA | 4 | 0.50 | 0.50 | / | / | 0.262 | 6.167 |  |  | 0.48 | 93 |  | Andrea V |  | 3 | 2 | 113457
2 | 0.50 | 84 | P/FINAL | 2025-10-15 | 15:59 | 2025-10-15 | 14:18 | GIORGIANA | 4 | 0.50 | 0.50 | / | / | 0.264 |  |  |  | 0.21 | 103 |  | Andrea V |  | 3 | 2 | 113457
3 | 2.00 | 85 | P/FINAL | 2025-10-15 | 16:00 | 2025-10-15 | 14:18 | GIORGIANA | 4 | 2.05 | 2.05 | / | / | 1.040 |  |  |  | 0.35 |  |  | Andrea V |  | 3 | 3 | 113457
3 | 2.00 | 86 | P/FINAL | 2025-10-15 | 16:01 | 2025-10-15 | 14:18 | GIORGIANA | 4 | 2.05 | 2.05 | / | / | 1.037 |  |  |  | 0.32 | 101 |  | Andrea V |  | 3 | 3 | 113457
3 | 2.00 | 87 | P/FINAL | 2025-10-15 | 16:03 | 2025-10-15 | 14:18 | GIORGIANA | 4 | 2.05 | 2.04 | / | / | 1.039 | 6.038 |  |  | 0.13 | 103 |  | Andrea V |  | 3 | 3 | 113457
1 | 0.00 | 88 | P/FINAL | 2025-10-15 | 16:07 | 2025-10-15 | 14:18 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.20 | 99 |  | Andrea V |  | 3 | 1 | 113457
1 | 0.00 | 89 | P/FINAL | 2025-10-15 | 16:08 | 2025-10-15 | 14:18 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.108 |  |  | 0.24 | 81 |  | Andrea V |  | 3 | 1 | 113457
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
14 | 28 | 0 mg/L | 14 | 28 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
21 | 42 | 0.49 mg/L | 21 | 42 | 0.49 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
29 | 58 | 2.03 mg/L | 29 | 58 | 2.03 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.49 | YES
2.00 | 1.95 ÷ 2.05 | 2.03 | YES
Validation Date | by