## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1251 | HI701-0 | CP-R25 | W 48/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-24 | 2025-12-08 | 1 HEAD |  |  | 1195
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97104 | CTO-702
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.47 | 0.53 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.00 | 1.95 | 2.05
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-11-24 | 14:24 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 0.47 | 0.50 | / | / | 0.250 |  |  |  | 5.17 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 2 | Old A | 2025-11-24 | 14:25 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 0.48 | 0.48 | / | / | 0.255 |  |  |  | 1.45 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 3 | Old A | 2025-11-24 | 14:28 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 1.96 | 1.97 | / | / | 0.987 |  |  |  | 3.34 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 4 | Old A | 2025-11-24 | 14:30 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 1.95 | 2.00 | / | / | 0.989 |  |  |  | 1.67 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 5 | Old A | 2025-11-24 | 14:31 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 0.01 | 0.00 | / | / | 0.012 |  |  |  | 1.09 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Valid | 2025-11-24 | 14:32 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 0.01 | 0.00 | / | / | 0.012 |  |  |  | 1.09 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 7 | Valid | 2025-11-24 | 14:35 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 0.51 | 0.49 | / | / | 0.268 | 6.057 |  |  | 2.89 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 8 | Valid | 2025-11-24 | 14:36 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 0.48 | 0.48 | / | / | 0.253 |  |  |  | 4.20 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 9 | Valid | 2025-11-24 | 14:37 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 0.48 | 0.47 | / | / | 0.253 |  |  |  | 1.46 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 10 | Valid | 2025-11-24 | 14:39 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 1.98 | 1.95 | / | / | 1.005 | 6.053 |  |  | 8.54 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 11 | Valid | 2025-11-24 | 14:40 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 1.95 | 1.97 | / | / | 0.976 |  |  |  | 1.04 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 12 | Valid | 2025-11-24 | 14:41 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 2.05 | 1.95 | / | / | 1.037 |  |  |  | 0.75 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 13 | Valid | 2025-11-24 | 14:44 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 1.09 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 14 | Valid | 2025-11-24 | 14:45 | 2025-11-24 | 14:22 | ERIKA14:22 |  | 0.00 | 0.00 | / | / | 0.008 | 6.017 |  |  | 0.55 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 15 | Old A | 2025-12-04 | 10:30 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 0.50 | 0.47 | / | / | 0.264 |  |  |  | 4.69 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 16 | Old A | 2025-12-04 | 10:31 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 0.50 | 0.51 | / | / | 0.267 |  |  |  | 4.71 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 17 | Old A | 2025-12-04 | 10:32 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 2.01 | 2.00 | / | / | 1.018 |  |  |  | 15.1 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 18 | Old A | 2025-12-04 | 10:32 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 2.02 | 2.04 | / | / | 1.021 |  |  |  | 16.2 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 19 | Old A | 2025-12-04 | 10:33 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 12.1 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 20 | Old A | 2025-12-04 | 10:34 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 12.9 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 21 | P/FINAL | 2025-12-04 | 10:34 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 0.48 | 0.48 | / | / | 0.253 |  |  |  | 18.1 | 131 |  | Kinga |  | 3 | 2
2 | 0.50 | 22 | P/FINAL | 2025-12-04 | 10:35 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 0.48 | 0.47 | / | / | 0.252 | 6.650 |  |  | 18.1 | 111 |  | Kinga |  | 3 | 2
2 | 0.50 | 23 | P/FINAL | 2025-12-04 | 10:35 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 0.50 | 0.49 | / | / | 0.256 |  |  |  | 1.29 | 119 |  | Kinga |  | 3 | 2
3 | 2.00 | 24 | P/FINAL | 2025-12-04 | 10:38 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 1.96 | 1.95 | / | / | 0.992 |  |  |  | 9.37 | 106 |  | Kinga |  | 3 | 3
3 | 2.00 | 25 | P/FINAL | 2025-12-04 | 10:38 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 1.97 | 1.97 | / | / | 1.000 | 6.234 |  |  | 11.2 | 136 |  | Kinga |  | 3 | 3
3 | 2.00 | 26 | P/FINAL | 2025-12-04 | 10:39 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 1.98 | 1.97 | / | / | 1.005 |  |  |  | 10.9 | 102 |  | Kinga |  | 3 | 3
1 | 0.00 | 27 | P/FINAL | 2025-12-04 | 10:39 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 0.00 | 0.00 | / | / | -0.007 |  |  |  | 0.13 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 28 | P/FINAL | 2025-12-04 | 10:40 | 2025-12-04 | 06:31 | GIORGIANA | 2 | 0.00 | 0.00 | / | / | -0.005 | 6.244 |  |  | 0.13 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 29 | Old A | 2025-12-05 | 09:37 | 2025-12-04 | 14:53 | DORINA | 4 | 0.47 | 0.47 | / | / | 0.248 |  |  |  | 1.51 |  |  | Kinga |  | 3 | 2 | 124600
2 | 0.50 | 30 | Old A | 2025-12-05 | 09:37 | 2025-12-04 | 14:53 | DORINA | 4 | 0.48 | 0.47 | / | / | 0.247 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 2 | 124600
3 | 2.00 | 31 | Old A | 2025-12-05 | 09:39 | 2025-12-04 | 14:53 | DORINA | 4 | 1.99 | 1.97 | / | / | 1.009 |  |  |  | 1.24 | 97 |  | Kinga |  | 3 | 3 | 124600
3 | 2.00 | 32 | Old A | 2025-12-05 | 09:40 | 2025-12-04 | 14:53 | DORINA | 4 | 1.99 | 1.96 | / | / | 0.987 |  |  |  | 1.24 | 97 |  | Kinga |  | 3 | 3 | 124600
1 | 0.00 | 33 | Old A | 2025-12-05 | 09:40 | 2025-12-04 | 14:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.47 | 100 |  | Kinga |  | 3 | 1 | 124600
1 | 0.00 | 34 | Old A | 2025-12-05 | 09:41 | 2025-12-04 | 14:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 1.45 | 113 |  | Kinga |  | 3 | 1 | 124600
1 | 0.00 | 35 | P/FINAL | 2025-12-05 | 09:45 | 2025-12-04 | 14:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.30 | 98 |  | Kinga |  | 3 | 1 | 124600
1 | 0.00 | 36 | P/FINAL | 2025-12-05 | 09:45 | 2025-12-04 | 14:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 1 | 124600
2 | 0.50 | 37 | P/FINAL | 2025-12-05 | 09:48 | 2025-12-04 | 14:53 | DORINA | 4 | 0.47 | 0.47 | / | / | 0.243 |  |  |  | 1.26 |  |  | Kinga |  | 3 | 2 | 124600
3 | 2.00 | 38 | P/FINAL | 2025-12-05 | 09:51 | 2025-12-04 | 14:53 | DORINA | 4 | 2.00 | 1.98 | / | / | 1.013 |  |  |  | 0.28 |  |  | Kinga |  | 3 | 3 | 124600
2 | 0.50 | 39 | P/FINAL | 2025-12-05 | 11:49 | 2025-12-04 | 14:53 | DORINA | 4 | 0.49 | 0.49 | / | / | 0.257 |  |  |  | 1.15 |  |  | Kinga |  | 3 | 2 | 124600
2 | 0.50 | 40 | P/FINAL | 2025-12-05 | 11:50 | 2025-12-04 | 14:53 | DORINA | 4 | 0.48 | 0.49 | / | / | 0.249 |  |  |  | 0.77 |  |  | Kinga |  | 3 | 2 | 124600
3 | 2.00 | 41 | P/FINAL | 2025-12-05 | 11:53 | 2025-12-04 | 14:53 | DORINA | 4 | 1.99 | 2.00 | / | / | 0.959 |  |  |  | 0.59 |  |  | Kinga |  | 3 | 3 | 124600
3 | 2.00 | 42 | P/FINAL | 2025-12-05 | 11:53 | 2025-12-04 | 14:53 | DORINA | 4 | 2.00 | 2.04 | / | / | 0.968 |  |  |  | 0.61 | 118 |  | Kinga |  | 3 | 3 | 124600
2 | 0.50 | 43 | P/FINAL | 2025-12-05 | 12:04 | 2025-12-05 | 06:32 | GIORGIANA | 2 | 0.49 | 0.48 | / | / | 0.260 |  |  |  | 0.44 | 106 |  | Kinga |  | 3 | 2 | 114204
2 | 0.50 | 44 | P/FINAL | 2025-12-05 | 12:05 | 2025-12-05 | 06:32 | GIORGIANA | 2 | 0.47 | 0.47 | / | / | 0.246 | 6.189 |  |  | 0.72 | 116 |  | Kinga |  | 3 | 2 | 114204
2 | 0.50 | 45 | P/FINAL | 2025-12-05 | 12:05 | 2025-12-05 | 06:32 | GIORGIANA | 2 | 0.48 | 0.47 | / | / | 0.246 |  |  |  | 0.73 | 103 |  | Kinga |  | 3 | 2 | 114204
3 | 2.00 | 46 | P/FINAL | 2025-12-05 | 12:08 | 2025-12-05 | 06:32 | GIORGIANA | 2 | 1.95 | 1.96 | / | / | 0.970 |  |  |  | 1.76 |  |  | Kinga |  | 3 | 3 | 114204
3 | 2.00 | 47 | P/FINAL | 2025-12-05 | 12:10 | 2025-12-05 | 06:32 | GIORGIANA | 2 | 1.99 | 2.00 | / | / | 0.978 | 6.190 |  |  | 1.89 |  |  | Kinga |  | 3 | 3 | 114204
3 | 2.00 | 48 | P/FINAL | 2025-12-05 | 12:13 | 2025-12-05 | 06:32 | GIORGIANA | 2 | 1.99 | 2.02 | / | / | 0.976 |  |  |  | 2.11 |  |  | Kinga |  | 3 | 3 | 114204
1 | 0.00 | 49 | P/FINAL | 2025-12-05 | 12:15 | 2025-12-05 | 06:32 | GIORGIANA | 2 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.56 |  |  | Kinga |  | 3 | 1 | 114204
1 | 0.00 | 50 | P/FINAL | 2025-12-05 | 12:16 | 2025-12-05 | 06:32 | GIORGIANA | 2 | 0.00 | 0.00 | / | / | 0.001 | 6.145 |  |  | 0.29 |  |  | Kinga |  | 3 | 1 | 114204
2 | 0.50 | 51 | P/FINAL | 2025-12-05 | 15:47 | 2025-12-05 | 14:28 | DORINA | 4 | 0.53 | 0.50 | / | / | 0.281 |  |  |  | 18.9 | 97 |  | Kinga |  | 3 | 2
2 | 0.50 | 52 | P/FINAL | 2025-12-05 | 15:48 | 2025-12-05 | 14:28 | DORINA | 4 | 0.47 | 0.48 | / | / | 0.250 |  |  |  | 8.38 | 84 |  | Kinga |  | 3 | 2
2 | 0.50 | 53 | P/FINAL | 2025-12-05 | 15:48 | 2025-12-05 | 14:28 | DORINA | 4 | 0.48 | 0.49 | / | / | 0.253 |  |  |  | 1.66 | 114 |  | Kinga |  | 3 | 2
3 | 2.00 | 54 | P/FINAL | 2025-12-05 | 15:48 | 2025-12-05 | 14:28 | DORINA | 4 | 1.96 | 1.97 | / | / | 0.981 |  |  |  | 30.2 | 99 |  | Kinga |  | 3 | 3
3 | 2.00 | 55 | P/FINAL | 2025-12-05 | 15:49 | 2025-12-05 | 14:28 | DORINA | 4 | 1.99 | 1.99 | / | / | 0.939 |  |  |  | 3.18 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 56 | P/FINAL | 2025-12-05 | 15:49 | 2025-12-05 | 14:28 | DORINA | 4 | 2.04 | 1.97 | / | / | 1.057 |  |  |  | 10.4 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 57 | P/FINAL | 2025-12-05 | 15:50 | 2025-12-05 | 14:28 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 0.98 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 58 | P/FINAL | 2025-12-05 | 15:51 | 2025-12-05 | 14:28 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 59 | Old A | 2025-12-08 | 08:30 | 2025-12-08 | 06:51 | DORINA | 2 | 0.51 | 0.49 | / | / | 0.270 |  |  |  | 31.5 |  |  | Kinga |  | 3 | 2 | 114204
2 | 0.50 | 60 | Old A | 2025-12-08 | 08:31 | 2025-12-08 | 06:51 | DORINA | 2 | 0.52 | 0.49 | / | / | 0.285 |  |  |  | 18.5 |  |  | Kinga |  | 3 | 2 | 114204
3 | 2.00 | 61 | Old A | 2025-12-08 | 08:32 | 2025-12-08 | 06:51 | DORINA | 2 | 1.96 | 1.96 | / | / | 0.996 |  |  |  | 35.0 |  |  | Kinga |  | 3 | 3 | 114204
3 | 2.00 | 62 | Old A | 2025-12-08 | 08:33 | 2025-12-08 | 06:51 | DORINA | 2 | 1.95 | 1.97 | / | / | 0.953 |  |  |  | 32.6 |  |  | Kinga |  | 3 | 3 | 114204
1 | 0.00 | 63 | Old A | 2025-12-08 | 08:34 | 2025-12-08 | 06:51 | DORINA | 2 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 6.86 |  |  | Kinga |  | 3 | 1 | 114204
1 | 0.00 | 64 | Old A | 2025-12-08 | 08:35 | 2025-12-08 | 06:51 | DORINA | 2 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 6.98 |  |  | Kinga |  | 3 | 1 | 114204
2 | 0.50 | 65 | P/FINAL | 2025-12-08 | 08:39 | 2025-12-08 | 06:51 | DORINA | 2 | 0.51 | 0.48 | / | / | 0.267 | 6.288 |  |  | 17.2 |  |  | Kinga |  | 3 | 2 | 114204
2 | 0.50 | 66 | P/FINAL | 2025-12-08 | 08:40 | 2025-12-08 | 06:51 | DORINA | 2 | 0.51 | 0.48 | / | / | 0.269 |  |  |  | 13.2 | 124 |  | Kinga |  | 3 | 2 | 114204
2 | 0.50 | 67 | P/FINAL | 2025-12-08 | 08:43 | 2025-12-08 | 06:51 | DORINA | 2 | 0.48 | 0.47 | / | / | 0.251 |  |  |  | 1.40 | 117 |  | Kinga |  | 3 | 2 | 114204
3 | 2.00 | 68 | P/FINAL | 2025-12-08 | 08:45 | 2025-12-08 | 06:51 | DORINA | 2 | 1.97 | 1.95 | / | / | 1.001 | 6.298 |  |  | 46.6 | 106 |  | Kinga |  | 3 | 3 | 114204
3 | 2.00 | 69 | P/FINAL | 2025-12-08 | 08:47 | 2025-12-08 | 06:51 | DORINA | 2 | 2.03 | 2.05 | / | / | 1.029 |  |  |  | 39.5 | 114 |  | Kinga |  | 3 | 3 | 114204
1 | 0.00 | 70 | P/FINAL | 2025-12-08 | 08:49 | 2025-12-08 | 06:51 | DORINA | 2 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.61 |  |  | Kinga |  | 3 | 1 | 114204
1 | 0.00 | 71 | P/FINAL | 2025-12-08 | 08:50 | 2025-12-08 | 06:51 | DORINA | 2 | 0.03 | 0.01 | / | / | 0.020 | 6.247 |  |  | 1.92 | 110 |  | Kinga |  | 3 | 1 | 114204
2 | 0.50 | 72 | P/FINAL | 2025-12-08 | 15:22 | 2025-12-08 | 14:55 | ANA | 4 | 0.49 | 0.50 | / | / | 0.257 |  |  |  | 6.63 | 114 |  | Kinga |  | 3 | 2 | 124204
2 | 0.50 | 73 | P/FINAL | 2025-12-08 | 15:22 | 2025-12-08 | 14:55 | ANA | 4 | 0.51 | 0.46 | / | / | 0.269 | 6.144 |  |  | 4.76 | 120 |  | Kinga |  | 3 | 2 | 124204
2 | 0.50 | 74 | P/FINAL | 2025-12-08 | 15:26 | 2025-12-08 | 14:55 | ANA | 4 | 0.50 | 0.45 | / | / | 0.262 |  |  |  | 7.24 | 107 |  | Kinga |  | 3 | 2 | 124204
3 | 2.00 | 75 | P/FINAL | 2025-12-08 | 15:28 | 2025-12-08 | 14:55 | ANA | 4 | 1.96 | 1.95 | / | / | 0.994 | 6.150 |  |  | 6.13 |  |  | Kinga |  | 3 | 3 | 124204
3 | 2.00 | 76 | P/FINAL | 2025-12-08 | 15:29 | 2025-12-08 | 14:55 | ANA | 4 | 2.02 | 1.88 | / | / | 1.023 |  |  |  | 9.79 |  |  | Kinga |  | 3 | 3 | 124204
1 | 0.00 | 77 | P/FINAL | 2025-12-08 | 15:32 | 2025-12-08 | 14:55 | ANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 1 | 124204
1 | 0.00 | 78 | P/FINAL | 2025-12-08 | 15:32 | 2025-12-08 | 14:55 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.159 |  |  | 0.54 |  |  | Kinga |  | 3 | 1 | 124204
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 0.48 mg/L | 18 | 36 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 1.98 mg/L | 16 | 32 | 1.98 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.48 | YES
2.00 | 1.95 ÷ 2.05 | 1.98 | YES
Validation Date | by