## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1295 | HI701-0 | CP-R25 | W 03/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2028-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-14 | 2026-01-16 | 4 HEAD |  |  | 1251
[6 empty] | Expiration A | Expiration B | Expiration D
2027-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-783
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.50 | 0.47 | 0.53
3 | 2.00 | 1.95 | 2.05
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2026-01-14 | 09:40 | 2026-01-13 | 19:49 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.43 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2026-01-14 | 09:41 | 2026-01-13 | 19:49 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.67 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 3 | P/FINAL | 2026-01-14 | 09:42 | 2026-01-13 | 19:49 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.51 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 4 | P/FINAL | 2026-01-14 | 09:42 | 2026-01-13 | 19:49 | DORINA | 4 | 0.01 | 0.02 | / | / | 0.009 | 6.293 |  |  | 0.23 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 5 | Old A | 2026-01-14 | 09:46 | 2026-01-13 | 19:49 | DORINA | 4 | 0.50 | 0.51 | / | / | 0.265 |  |  |  | 0.37 |  |  | Andrea V |  | 3 | 2 | 92618
2 | 0.50 | 6 | Old A | 2026-01-14 | 09:47 | 2026-01-13 | 19:49 | DORINA | 4 | 0.50 | 0.50 | / | / | 0.262 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 2 | 92618
2 | 0.50 | 7 | P/FINAL | 2026-01-14 | 09:49 | 2026-01-13 | 19:49 | DORINA | 4 | 0.52 | 0.53 | / | / | 0.276 |  |  |  | 0.13 | 121 |  | Andrea V |  | 3 | 2 | 92618
2 | 0.50 | 8 | P/FINAL | 2026-01-14 | 09:50 | 2026-01-13 | 19:49 | DORINA | 4 | 0.52 | 0.51 | / | / | 0.276 |  |  |  | 0.26 | 121 |  | Andrea V |  | 3 | 2 | 92618
2 | 0.50 | 9 | P/FINAL | 2026-01-14 | 09:51 | 2026-01-13 | 19:49 | DORINA | 4 | 0.52 | 0.52 | / | / | 0.271 | 6.259 |  |  | 0.13 |  |  | Andrea V |  | 3 | 2 | 92618
3 | 2.00 | 10 | Old A | 2026-01-14 | 09:55 | 2026-01-13 | 19:49 | DORINA | 4 | 2.05 | 2.05 | / | / | 1.037 |  |  |  | 0.35 | 104 |  | Andrea V |  | 3 | 3 | 92618
3 | 2.00 | 11 | Old A | 2026-01-14 | 09:55 | 2026-01-13 | 19:49 | DORINA | 4 | 2.03 | 2.05 | / | / | 1.030 |  |  |  | 0.39 | 108 |  | Andrea V |  | 3 | 3 | 92618
3 | 2.00 | 12 | P/FINAL | 2026-01-14 | 09:59 | 2026-01-13 | 19:49 | DORINA | 4 | 2.01 | 2.02 | / | / | 1.017 |  |  |  | 0.09 |  |  | Andrea V |  | 3 | 3 | 92618
3 | 2.00 | 13 | P/FINAL | 2026-01-14 | 10:00 | 2026-01-13 | 19:49 | DORINA | 4 | 2.05 | 2.05 | / | / | 1.040 | 6.386 |  |  | 0.09 | 100 |  | Andrea V |  | 3 | 3 | 92618
3 | 2.00 | 14 | P/FINAL | 2026-01-14 | 10:04 | 2026-01-13 | 19:49 | DORINA | 4 | 2.04 | 2.05 | / | / | 1.033 |  |  |  | 0.08 | 105 |  | Andrea V |  | 3 | 3 | 92618
2 | 0.50 | 15 | P/FINAL | 2026-01-14 | 10:33 | 2026-01-14 | 07:13 | ANA | 4 | 0.51 | 0.52 | / | / | 0.268 |  |  |  | 0.12 |  |  | Andrea V |  | 3 | 2 | 92618
2 | 0.50 | 16 | P/FINAL | 2026-01-14 | 10:34 | 2026-01-14 | 07:13 | ANA | 4 | 0.50 | 0.51 | / | / | 0.265 | 6.298 |  |  | 0.18 | 88 |  | Andrea V |  | 3 | 2 | 92618
2 | 0.50 | 17 | P/FINAL | 2026-01-14 | 10:35 | 2026-01-14 | 07:13 | ANA | 4 | 0.51 | 0.51 | / | / | 0.266 |  |  |  | 0.10 | 107 |  | Andrea V |  | 3 | 2 | 92618
3 | 2.00 | 18 | P/FINAL | 2026-01-14 | 10:37 | 2026-01-14 | 07:13 | ANA | 4 | 2.01 | 2.03 | / | / | 1.019 |  |  |  | 0.12 |  |  | Andrea V |  | 3 | 3 | 92618
3 | 2.00 | 19 | P/FINAL | 2026-01-14 | 10:38 | 2026-01-14 | 07:13 | ANA | 4 | 1.96 | 1.98 | / | / | 0.996 | 6.304 |  |  | 0.12 | 120 |  | Andrea V |  | 3 | 3 | 92618
3 | 2.00 | 20 | P/FINAL | 2026-01-14 | 10:40 | 2026-01-14 | 07:13 | ANA | 4 | 2.04 | 2.05 | / | / | 1.036 |  |  |  | 0.21 | 110 |  | Andrea V |  | 3 | 3 | 92618
1 | 0.00 | 21 | P/FINAL | 2026-01-14 | 10:41 | 2026-01-14 | 07:13 | ANA | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.17 | 113 |  | Andrea V |  | 3 | 1 | 92618
1 | 0.00 | 22 | P/FINAL | 2026-01-14 | 10:41 | 2026-01-14 | 07:13 | ANA | 4 | 0.00 | 0.00 | / | / | -0.002 | 6.362 |  |  | 0.40 |  |  | Andrea V |  | 3 | 1 | 92618
2 | 0.50 | 23 | P/FINAL | 2026-01-14 | 14:29 | 2026-01-14 | 14:17 | DORINA | 4 | 0.52 | 0.52 | / | / | 0.277 |  |  |  | 2.05 |  |  | Andrea V |  | 3 | 2 | 92618
2 | 0.50 | 24 | P/FINAL | 2026-01-14 | 14:29 | 2026-01-14 | 14:17 | DORINA | 4 | 0.52 | 0.53 | / | / | 0.272 |  |  |  | 0.77 | 118 |  | Andrea V |  | 3 | 2 | 92618
2 | 0.50 | 25 | P/FINAL | 2026-01-14 | 14:30 | 2026-01-14 | 14:17 | DORINA | 4 | 0.51 | 0.53 | / | / | 0.276 | 6.357 |  |  | 0.79 | 118 |  | Andrea V |  | 3 | 2 | 92618
3 | 2.00 | 26 | P/FINAL | 2026-01-14 | 14:32 | 2026-01-14 | 14:17 | DORINA | 4 | 1.99 | 2.00 | / | / | 1.012 |  |  |  | 22.0 | 125 |  | Andrea V |  | 3 | 3 | 92618
3 | 2.00 | 27 | P/FINAL | 2026-01-14 | 14:33 | 2026-01-14 | 14:17 | DORINA | 4 | 2.02 | 2.02 | / | / | 1.023 |  |  |  | 6.11 | 118 |  | Andrea V |  | 3 | 3 | 92618
3 | 2.00 | 28 | P/FINAL | 2026-01-14 | 14:34 | 2026-01-14 | 14:17 | DORINA | 4 | 2.01 | 2.01 | / | / | 1.026 | 6.349 |  |  | 3.96 |  |  | Andrea V |  | 3 | 3 | 92618
1 | 0.00 | 29 | P/FINAL | 2026-01-14 | 14:34 | 2026-01-14 | 14:17 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 1.26 |  |  | Andrea V |  | 3 | 1 | 92618
1 | 0.00 | 30 | P/FINAL | 2026-01-14 | 14:35 | 2026-01-14 | 14:17 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.228 |  |  | 1.92 |  |  | Andrea V |  | 3 | 1 | 92618
1 | 0.00 | 31 | Old A | 2026-01-15 | 08:44 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.76 |  |  | Kinga |  | 3 | 1 | 92618
1 | 0.00 | 32 | Old A | 2026-01-15 | 08:44 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 1.05 |  |  | Kinga |  | 3 | 1 | 92618
2 | 0.50 | 33 | Old A | 2026-01-15 | 08:44 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 0.52 | 0.52 | / | / | 0.273 |  |  |  | 5.39 |  |  | Kinga |  | 3 | 2 | 92618
2 | 0.50 | 34 | Old A | 2026-01-15 | 08:45 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 0.49 | 0.48 | / | / | 0.258 |  |  |  | 1.47 |  |  | Kinga |  | 3 | 2 | 92618
3 | 2.00 | 35 | Old A | 2026-01-15 | 08:45 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 2.01 | 2.01 | / | / | 1.018 |  |  |  | 16.0 |  |  | Kinga |  | 3 | 3 | 92618
3 | 2.00 | 36 | Old A | 2026-01-15 | 08:46 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 2.03 | 2.02 | / | / | 1.031 |  |  |  | 20.8 |  |  | Kinga |  | 3 | 3 | 92618
2 | 0.50 | 37 | P/FINAL | 2026-01-15 | 08:49 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 0.53 | 0.53 | / | / | 0.284 |  |  |  | 5.45 |  |  | Kinga |  | 3 | 2 | 92618
2 | 0.50 | 38 | P/FINAL | 2026-01-15 | 08:50 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 0.53 | 0.52 | / | / | 0.280 |  |  |  | 1.10 | 115 |  | Kinga |  | 3 | 2 | 92618
2 | 0.50 | 39 | P/FINAL | 2026-01-15 | 08:50 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 0.52 | 0.52 | / | / | 0.282 | 6.304 |  |  | 1.82 | 104 |  | Kinga |  | 3 | 2 | 92618
1 | 0.00 | 40 | P/FINAL | 2026-01-15 | 08:51 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 1.63 | 115 |  | Kinga |  | 3 | 1 | 92618
1 | 0.00 | 41 | P/FINAL | 2026-01-15 | 08:52 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.003 | 6.373 |  |  | 0.55 | 108 |  | Kinga |  | 3 | 1 | 92618
3 | 2.00 | 42 | P/FINAL | 2026-01-15 | 08:56 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 2.05 | 2.03 | / | / | 1.016 |  |  |  | 1.07 | 106 |  | Kinga |  | 3 | 3 | 92618
3 | 2.00 | 43 | P/FINAL | 2026-01-15 | 08:56 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 2.05 | 1.99 | / | / | 1.001 |  |  |  | 1.14 |  |  | Kinga |  | 3 | 3 | 92618
3 | 2.00 | 44 | P/FINAL | 2026-01-15 | 08:57 | 2026-01-15 | 06:42 | GIORGIANA | 4 | 2.04 | 2.00 | / | / | 1.000 | 6.506 |  |  | 0.85 |  |  | Kinga |  | 3 | 3 | 92618
1 | 0.00 | 45 | P/FINAL | 2026-01-15 | 15:35 | 2026-01-15 | 14:58 | IRINA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.21 | 110 |  | Andrea V |  | 3 | 1
1 | 0.00 | 46 | P/FINAL | 2026-01-15 | 15:36 | 2026-01-15 | 14:58 | IRINA |  | 0.00 | 0.00 | / | / | 0.004 | 6.186 |  |  | 0.17 | 98 |  | Andrea V |  | 3 | 1
2 | 0.50 | 47 | P/FINAL | 2026-01-15 | 15:37 | 2026-01-15 | 14:58 | IRINA |  | 0.48 | 0.51 | / | / | 0.254 |  |  |  | 1.18 |  |  | Andrea V |  | 3 | 2 | 92618
2 | 0.50 | 48 | P/FINAL | 2026-01-15 | 15:38 | 2026-01-15 | 14:58 | IRINA |  | 0.49 | 0.52 | / | / | 0.260 | 6.332 |  |  | 0.70 | 102 |  | Andrea V |  | 3 | 2 | 92618
2 | 0.50 | 49 | P/FINAL | 2026-01-15 | 15:38 | 2026-01-15 | 14:58 | IRINA |  | 0.48 | 0.48 | / | / | 0.251 |  |  |  | 0.20 | 94 |  | Andrea V |  | 3 | 2 | 92618
3 | 2.00 | 50 | P/FINAL | 2026-01-15 | 15:42 | 2026-01-15 | 14:58 | IRINA |  | 2.01 | 1.97 | / | / | 1.017 |  |  |  | 1.20 |  |  | Andrea V |  | 3 | 3 | 92618
3 | 2.00 | 51 | P/FINAL | 2026-01-15 | 15:43 | 2026-01-15 | 14:58 | IRINA |  | 1.95 | 1.95 | / | / | 0.990 | 6.250 |  |  | 1.22 | 113 |  | Andrea V |  | 3 | 3 | 92618
3 | 2.00 | 52 | P/FINAL | 2026-01-15 | 15:43 | 2026-01-15 | 14:58 | IRINA |  | 2.01 | 1.98 | / | / | 1.019 |  |  |  | 2.06 | 100 |  | Andrea V |  | 3 | 3 | 92618
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0 mg/L | 10 | 20 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 0.51 mg/L | 15 | 30 | 0.51 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 2.01 mg/L | 15 | 30 | 2.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.51 | YES
2.00 | 1.95 ÷ 2.05 | 2.01 | YES
Validation Date | by