## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1101 | HI7014-0 | CP-R25 | W27/3 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ANA | 2025-07-03 | 2025-07-09 | 1 HEAD |  |  | 1075 |  | CTO-780
[6 empty] | Expiration A | Expiration B | Expiration D
2027-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 0.9% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.50 | 0.47 | 0.53
3 | 2.00 | 1.95 | 2.05
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-07-09 | 14:52 | 2025-07-09 | 14:28 | ANA |  | 0.00 | 0.01 | / | / | 0.007 |  |  |  | 0.51 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-07-09 | 14:52 | 2025-07-09 | 14:28 | ANA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.37 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 3 | Old A | 2025-07-09 | 14:55 | 2025-07-09 | 14:28 | ANA |  | 0.48 | 0.50 | / | / | 0.254 |  |  |  | 0.77 |  |  | Andrea V |  | 3 | 2 | 24412
2 | 0.50 | 4 | Old A | 2025-07-09 | 14:55 | 2025-07-09 | 14:28 | ANA |  | 0.47 | 0.47 | / | / | 0.247 |  |  |  | 0.56 |  |  | Andrea V |  | 3 | 2 | 24412
3 | 2.00 | 5 | Old A | 2025-07-09 | 14:58 | 2025-07-09 | 14:28 | ANA |  | 1.98 | 1.99 | / | / | 1.005 |  |  |  | 0.54 |  |  | Andrea V |  | 3 | 3 | 24412
3 | 2.00 | 6 | Old A | 2025-07-09 | 14:58 | 2025-07-09 | 14:28 | ANA |  | 1.95 | 1.99 | / | / | 0.989 |  |  |  | 0.71 |  |  | Andrea V |  | 3 | 3 | 24412
1 | 0.00 | 7 | P/FINAL | 2025-07-09 | 14:59 | 2025-07-09 | 14:28 | ANA |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 1 | 24412
1 | 0.00 | 8 | P/FINAL | 2025-07-09 | 15:00 | 2025-07-09 | 14:28 | ANA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.22 | 109 |  | Andrea V |  | 3 | 1 | 24412
2 | 0.50 | 9 | P/FINAL | 2025-07-09 | 15:03 | 2025-07-09 | 14:28 | ANA |  | 0.49 | 0.51 | / | / | 0.259 | 6.525 |  |  | 3.88 | 89 |  | Andrea V |  | 3 | 2 | 24412
2 | 0.50 | 10 | P/FINAL | 2025-07-09 | 15:03 | 2025-07-09 | 14:28 | ANA |  | 0.49 | 0.48 | / | / | 0.256 |  |  |  | 0.23 | 98 |  | Andrea V |  | 3 | 2 | 24412
2 | 0.50 | 11 | P/FINAL | 2025-07-09 | 15:04 | 2025-07-09 | 14:28 | ANA |  | 0.49 | 0.47 | / | / | 0.258 | 6.270 |  |  | 0.54 | 94 |  | Andrea V |  | 3 | 2 | 24412
3 | 2.00 | 12 | P/FINAL | 2025-07-09 | 15:07 | 2025-07-09 | 14:28 | ANA |  | 2.05 | 2.08 | / | / | 1.037 |  |  |  | 0.35 | 107 |  | Andrea V |  | 3 | 3 | 24412
3 | 2.00 | 13 | P/FINAL | 2025-07-09 | 15:08 | 2025-07-09 | 14:28 | ANA |  | 1.95 | 1.98 | / | / | 0.992 |  |  |  | 0.14 | 81 |  | Andrea V |  | 3 | 3 | 24412
3 | 2.00 | 14 | P/FINAL | 2025-07-09 | 15:11 | 2025-07-09 | 14:28 | ANA |  | 2.03 | 2.05 | / | / | 1.026 | 6.382 |  |  | 0.19 |  |  | Andrea V |  | 3 | 3 | 24412
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.49 mg/L | 3 | 6 | 0.49 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 2.02 mg/L | 3 | 6 | 2.02 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.47 ÷ 0.53 | 0.49 | YES
2.00 | 1.95 ÷ 2.05 | 2.02 | YES
Validation Date | by