## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0726 | HI93701-0 | CP-R25 | W40/3 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2026-10-01 | L57 Powder |  |  | Laboratory | TAB 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0726
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2026-10-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Mark | [5 empty] | 0643
[6 empty] | Expiration A | Expiration B | Expiration D
2026-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 4.00 | 3.85 | 4.15 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 4.00 | 1 | Old A | 2024-10-05 | 07:51 | 2024-10-04 | 11:21 | Mark |  | 4.03 | 4.09 | / | / | 1.912 | 6.146 |  |  | 1.57 |  | 1 | Monika |  | 3 | 3 | 103228 | NEW CUVETT OMPI+NEW CAPS
3 | 4.00 | 2 | Old A | 2024-10-05 | 07:54 | 2024-10-04 | 11:21 | Mark |  | 4.07 | 4.12 | / | / | 1.928 |  |  |  | 1.81 |  | 1 | Monika |  | 3 | 3 | 103228
3 | 4.00 | 3 | Valid | 2024-10-05 | 07:56 | 2024-10-04 | 11:21 | Mark |  | 4.02 | 4.09 | / | / | 1.910 | 6.549 |  |  | 0.65 |  | 1 | Monika |  | 3 | 3 | 103228
3 | 4.00 | 4 | Valid | 2024-10-05 | 07:59 | 2024-10-04 | 11:21 | Mark |  | 3.99 | 4.06 | / | / | 1.896 |  |  |  | 0.51 | 119 | 1 | Monika |  | 3 | 3 | 103228
3 | 4.00 | 5 | Valid | 2024-10-05 | 08:01 | 2024-10-04 | 11:21 | Mark |  | 4.06 | 4.15 | / | / | 1.923 |  |  |  | 0.30 |  | 1 | Monika |  | 3 | 3 | 103228
2 | 1.00 | 6 | Old A | 2024-10-05 | 08:52 | 2024-10-04 | 11:21 | Mark |  | 0.93 | 92.00 | / | / | 0.484 |  |  |  | 0.51 |  | 1 | Monika |  | 3 | 2 | 103228
2 | 1.00 | 7 | Old A | 2024-10-05 | 08:53 | 2024-10-04 | 11:21 | Mark |  | 1.03 | 1.02 | / | / | 0.533 | 6.168 |  |  | 0.67 |  | 1 | Monika |  | 3 | 2 | 84055 | NEW STD
2 | 1.00 | 8 | Old A | 2024-10-05 | 08:57 | 2024-10-04 | 11:21 | Mark |  | 1.01 | 1.00 | / | / | 0.522 |  |  |  | 0.63 |  | 1 | Monika |  | 3 | 2 | 84055
2 | 1.00 | 9 | Valid | 2024-10-05 | 08:58 | 2024-10-04 | 11:21 | Mark |  | 1.04 | 1.04 | / | / | 0.539 | 6.456 |  |  | 0.58 |  | 1 | Monika |  | 3 | 2 | 84055
2 | 1.00 | 10 | Valid | 2024-10-05 | 09:00 | 2024-10-04 | 11:21 | Mark |  | 1.04 | 1.03 | / | / | 0.537 | 6.480 |  |  | 0.57 |  | 1 | Monika |  | 3 | 2 | 84055
2 | 1.00 | 11 | Valid | 2024-10-05 | 09:01 | 2024-10-04 | 11:21 | Mark |  | 1.03 | 1.02 | / | / | 0.533 |  |  |  | 0.52 |  | 1 | Monika |  | 3 | 2 | 84055
1 | 0.00 | 12 | Valid | 2024-10-05 | 09:04 | 2024-10-04 | 11:21 | Mark |  | 0.00 | 0.00 | / | / | 0.003 | 6.629 |  |  | 0.47 |  | 1 | Monika |  | 3 | 1
1 | 0.00 | 13 | Valid | 2024-10-05 | 09:06 | 2024-10-04 | 11:21 | Mark |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.49 |  | 1 | Monika |  | 3 | 1 |  | 0.00 blinking
2 | 1.00 | 14 | Old A | 2024-10-15 | 10:22 | 2024-10-15 | 09:48 | DORINA | 4 | 0.97 | 0.94 | / | / | 0.504 |  |  |  | 0.40 |  | 1 | Brigitta P |  | 3 | 2 | 112816
3 | 4.00 | 15 | Old A | 2024-10-15 | 10:24 | 2024-10-15 | 09:48 | DORINA | 4 | 3.94 | 3.93 | / | / | 1.877 |  |  |  | 0.48 |  | 1 | Brigitta P |  | 3 | 3 | 112816
2 | 1.00 | 16 | P/Final | 2024-10-15 | 10:27 | 2024-10-15 | 09:48 | DORINA | 4 | 0.99 | 0.98 | / | / | 0.515 |  |  |  | 0.36 |  | 1 | Brigitta P |  | 3 | 2 | 112816
2 | 1.00 | 17 | P/Final | 2024-10-15 | 10:28 | 2024-10-15 | 09:48 | DORINA | 4 | 1.01 | 0.97 | / | / | 0.522 |  |  |  | 0.31 |  | 1 | Brigitta P |  | 3 | 2 | 112816
3 | 4.00 | 18 | P/Final | 2024-10-15 | 10:31 | 2024-10-15 | 09:48 | DORINA | 4 | 3.91 | 3.95 | / | / | 1.863 |  |  |  | 0.46 |  | 1 | Brigitta P |  | 3 | 3 | 112816
1 | 0.00 | 19 | P/Final | 2024-10-15 | 10:35 | 2024-10-15 | 09:48 | DORINA |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.31 |  | 1 | Brigitta P |  | 3 | 1
1 | 0.00 | 20 | P/Final | 2024-10-15 | 10:35 | 2024-10-15 | 09:48 | DORINA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.33 |  | 1 | Brigitta P |  | 3 | 1
2 | 1.00 | 21 | P/Final | 2024-10-15 | 15:25 | 2024-10-15 |  | GIORGIANA | 4 | 0.99 | 0.98 | / | / | 0.514 |  |  |  | 2.42 |  | 1 | Brigitta P |  | 3 | 2 | 112816
2 | 1.00 | 22 | P/Final | 2024-10-15 | 15:25 | 2024-10-15 |  | GIORGIANA | 4 | 1.00 | 0.95 | / | / | 0.520 |  |  |  | 0.57 |  | 1 | Brigitta P |  | 3 | 2 | 112816
2 | 1.00 | 23 | P/Final | 2024-10-15 | 15:26 | 2024-10-15 |  | GIORGIANA | 4 | 1.00 | 0.96 | / | / | 0.520 |  |  |  | 0.28 |  | 1 | Brigitta P |  | 3 | 2 | 112816
1 | 0.00 | 24 | P/Final | 2024-10-15 | 15:27 | 2024-10-15 |  | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.25 |  | 1 | Brigitta P |  | 3 | 1 | 112816
3 | 4.00 | 25 | P/Final | 2024-10-15 | 15:25 | 2024-10-15 |  | GIORGIANA | 4 | 3.85 | 3.91 | / | / | 1.863 |  |  |  | 0.28 |  | 1 | Brigitta P |  | 3 | 1 | 112816
3 | 4.00 | 26 | P/Final | 2024-10-15 | 15:25 | 2024-10-15 |  | GIORGIANA | 4 | 4.02 | 4.02 | / | / | 1.910 |  |  |  | 0.31 |  | 1 | Brigitta P |  | 3 | 1 | 112816
2 | 1.00 | 27 | Old A | 2024-10-16 | 09:04 | 2024-10-16 | 07:23 | DORINA | 4 | 0.98 | 0.96 | / | / | 0.509 |  |  |  | 0.26 |  | 1 | Kinga |  | 3 | 2 | 112816
2 | 1.00 | 28 | Old A | 2024-10-16 | 09:05 | 2024-10-16 | 07:23 | DORINA | 4 | 0.96 | 0.94 | / | / | 0.498 |  |  |  | 0.36 |  | 1 | Kinga |  | 3 | 2 | 112816
3 | 4.00 | 29 | P/Final | 2024-10-16 | 09:18 | 2024-10-16 | 07:23 | DORINA | 4 | 3.86 | 3.89 | / | / | 1.844 |  |  |  | 0.40 |  | 1 | Kinga |  | 3 | 3 | 112816
2 | 1.00 | 30 | P/Final | 2024-10-16 | 09:19 | 2024-10-16 | 07:23 | DORINA | 4 | 0.97 | 0.97 | / | / | 0.506 |  |  |  | 0.42 |  | 1 | Kinga |  | 3 | 2 | 112816
2 | 1.00 | 31 | P/Final | 2024-10-16 | 09:21 | 2024-10-16 | 07:23 | DORINA | 4 | 1.03 | 0.95 | / | / | 0.533 |  |  |  | 0.72 |  | 1 | Kinga |  | 3 | 2 | 112816
1 | 0.00 | 32 | P/Final | 2024-10-16 | 09:23 | 2024-10-16 | 07:23 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.30 |  | 1 | Kinga |  | 3 | 1 | 112816
1 | 0.00 | 33 | P/Final | 2024-10-16 | 09:25 | 2024-10-16 | 07:23 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 0.32 |  | 1 | Kinga |  | 3 | 1 | 112816
3 | 4.00 | 34 | Old A | 2024-10-16 | 09:39 | 2024-10-16 | 07:23 | DORINA | 4 | 4.07 | 4.10 | / | / | 1.927 |  |  |  | 0.32 |  | 1 | Kinga |  | 3 | 3 | 92526
3 | 4.00 | 35 | Old A | 2024-10-16 | 09:41 | 2024-10-16 | 07:23 | DORINA | 4 | 4.05 | 4.07 | / | / | 1.921 |  |  |  | 0.32 |  | 1 | Kinga |  | 3 | 3 | 92526
3 | 4.00 | 36 | P/Final | 2024-10-16 | 09:43 | 2024-10-16 | 07:26 | DORINA | 4 | 4.07 | 4.08 | / | / | 1.927 |  |  |  | 0.36 |  | 1 | Kinga |  | 3 | 3 | 92526
3 | 4.00 | 37 | P/Final | 2024-10-16 | 09:45 | 2024-10-16 | 07:26 | DORINA | 4 | 4.15 | 4.15 | / | / | 1.960 |  |  |  | 0.39 |  | 1 | Kinga |  | 3 | 3 | 92526
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.99 mg/L | 6 | 12 | 3.99 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.98 mg/L | 7 | 14 | 0.98 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0 mg/L | 5 | 10 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.85 ÷ 4.15 | 3.99 | YES
Validation Date | by