## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0754 | HI93701-0 | CP-R25 | W42/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2026-10-01 | L57 Powder |  |  | Laboratory | TABLET3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-19 |  | 4 HEAD |  |  | 0726
[6 empty] | Expiration A | Expiration B | Expiration D
2026-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 Label17 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | P/Final | 2024-10-17 | 09:48 | 2024-10-17 | 09:09 | ERIKA | 4 | 1.01 | 1.01 | / | / | 0.523 |  |  |  | 0.49 |  |  | Brigitta P |  | 3 | 2 | 92526
2 | 1.00 | 2 | P/Final | 2024-10-17 | 09:51 | 2024-10-17 | 09:09 | ERIKA | 4 | 1.00 | 0.99 | / | / | 0.519 |  |  |  | 0.28 |  |  | Brigitta P |  | 3 | 2 | 92526
3 | 4.00 | 3 | P/Final | 2024-10-17 | 09:53 | 2024-10-17 | 09:09 | ERIKA | 4 | 3.98 | 4.04 | / | / | 1.889 |  |  |  | 0.50 |  |  | Brigitta P |  | 3 | 3 | 92526
3 | 4.00 | 4 | P/Final | 2024-10-17 | 09:56 | 2024-10-17 | 09:09 | ERIKA | 4 | 4.01 | 4.07 | / | / | 1.906 |  |  |  | 0.43 |  |  | Brigitta P |  | 3 | 1 | 92526
1 | 0.00 | 5 | P/Final | 2024-10-17 | 09:57 | 2024-10-17 | 09:09 | ERIKA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 0.40 |  |  | Brigitta P |  | 3 | 1 | 92526
1 | 0.00 | 6 | P/Final | 2024-10-17 | 09:58 | 2024-10-17 | 09:09 | ERIKA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.33 |  |  | Brigitta P |  | 3 | 1 | 92526
2 | 1.00 | 7 | Old A | 2024-10-17 | 10:01 | 2024-10-17 | 09:09 | ERIKA | 4 | 1.01 | 0.99 | / | / | 0.522 |  |  |  | 0.33 |  |  | Brigitta P |  | 3 | 2 | 92526
2 | 1.00 | 8 | Old A | 2024-10-17 | 10:02 | 2024-10-17 | 09:09 | ERIKA | 4 | 1.01 | 0.99 | / | / | 0.522 |  |  |  | 10.01 |  |  | Brigitta P |  | 3 | 2 | 92526
3 | 4.00 | 9 | Old A | 2024-10-17 | 10:16 | 2024-10-17 | 09:09 | ERIKA | 4 | 4.13 | 4.15 | / | / | 1.952 |  |  |  | 0.40 |  |  | Brigitta P |  | 3 | 3 | 92526
3 | 4.00 | 10 | Old A | 2024-10-17 | 10:17 | 2024-10-17 | 09:09 | ERIKA | 4 | 4.14 | 4.15 | / | / | 1.957 |  |  |  | 0.31 |  |  | Brigitta P |  | 3 | 3 | 92526
1 | 0.00 | 11 | Old A | 2024-10-18 | 08:35 | 2024-10-17 | 20:01 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.07 |  |  |  | 0.27 |  |  | Brigitta P |  | 3 | 1 | 92526
2 | 1.00 | 12 | P/Final | 2024-10-18 | 08:37 | 2024-10-17 | 20:01 | GIORGIANA | 4 | 1.00 | 0.99 | / | / | 0.519 |  |  |  | 0.57 |  |  | Brigitta P |  | 3 | 2 | 92526
2 | 1.00 | 13 | P/Final | 2024-10-18 | 08:38 | 2024-10-17 | 20:01 | GIORGIANA | 4 | 0.97 | 0.97 | / | / | 0.504 |  |  |  | 0.24 |  |  | Brigitta P |  | 3 | 2 | 92526
3 | 4.00 | 14 | P/Final | 2024-10-18 | 08:40 |  | 20:01 |  |  | 4.03 | 4.05 | / | / | 1.911 |  |  |  | 0.20 |  |  | Brigitta P |  | 3 | 3
2 | 1.00 | 15 | P/Final | 2024-10-18 | 08:49 | 2024-10-17 | 07:07 | DORINA |  | 0.98 | 0.98 | / | / | 0.507 |  |  |  | 0.26 |  |  | Brigitta P |  | 3 | 2 | 92526
2 | 1.00 | 16 | P/Final | 2024-10-18 | 08:50 | 2024-10-17 | 07:07 | DORINA |  | 0.98 | 0.98 | / | / | 0.507 |  |  |  | 0.17 |  |  | Brigitta P |  | 3 | 2 | 92526
3 | 4.00 | 17 | P/Final | 2024-10-18 | 08:52 | 2024-10-17 | 07:07 | DORINA |  | 4.06 | 4.10 | / | / | 1.924 |  |  |  | 0.19 |  |  | Brigitta P |  | 3 | 3 | 92526
3 | 4.00 | 18 | P/Final | 2024-10-18 | 08:53 | 2024-10-17 | 07:07 | DORINA |  | 3.99 | 4.02 | / | / | 1.895 |  |  |  | 0.22 |  |  | Brigitta P |  | 3 | 3 | 92526
1 | 0.00 | 19 | P/Final | 2024-10-18 | 08:55 | 2024-10-17 | 07:07 | DORINA |  | 0.00 | 0.01 | / | / | -0.001 |  |  |  | 0.23 |  |  | Brigitta P |  | 3 | 1 | 92526
1 | 0.00 | 20 | P/Final | 2024-10-18 | 08:56 | 2024-10-17 | 07:07 | DORINA |  | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.23 |  |  | Brigitta P |  | 3 | 1 | 92526
1 | 0.00 | 21 | P/Final | 2024-10-18 | 9:00 | 2024-10-17 | 07:07 | DORINA |  |  |  | / | / | 0.002 | [6 empty] | Brigitta P |  | 3 | 1 | 92526
3 | 4.00 | 22 | Old A | 2024-10-18 | 09:01 | 2024-10-17 | 07:07 | DORINA |  | 4.05 | 4.10 | / | / | 1.920 |  |  |  | 0.79 |  |  | Brigitta P |  | 3 | 3 | 92526
2 | 1.00 | 23 | Old A | 2024-10-18 | 09:01 | 2024-10-17 | 07:07 | DORINA |  | 0.96 | 0.95 | / | / | 0.500 |  |  |  | 0.27 |  |  | Brigitta P |  | 3 | 2 | 92526
1 | 0.00 | 24 | Old A | 2024-10-18 | 09:02 | 2024-10-17 | 07:07 | DORINA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.30 |  |  | Brigitta P |  | 3 | 1 | 92526
3 | 4.00 | 25 | Old A | 2024-10-18 | 14:37 | 2024-10-18 | 13:41 | ERIKA |  | 3.92 | 3.96 | / | / | 1.868 |  |  |  | 0.24 |  |  | Brigitta P |  | 3 | 3 | 94143
3 | 4.00 | 26 | Old A | 2024-10-18 | 14:37 | 2024-10-18 | 13:41 | ERIKA |  | 3.89 | 3.92 | / | / | 1.854 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 3 | 94143
3 | 4.00 | 27 | P/Final | 2024-10-18 | 14:40 | 2024-10-18 | 13:41 | ERIKA |  | 3.86 | 3.90 | / | / | 1.844 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 3 | 94143
3 | 4.00 | 28 | P/Final | 2024-10-18 | 14:42 | 2024-10-18 | 13:41 | ERIKA |  | 3.85 | 3.87 | / | / | 1.808 |  |  |  | 0.27 |  |  | Brigitta P |  | 3 | 3 | 94143
3 | 4.00 | 29 | P/Final | 2024-10-19 | 10:42 | 2024-10-19 |  | DORINA | 4 | 3.85 | 3.97 | / | / | 1.840 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 3 | 82024
3 | 4.00 | 30 | P/Final | 2024-10-19 | 10:43 | 2024-10-19 |  | DORINA | 4 | 3.85 | 3.89 | / | / | 1.840 |  |  |  | 0.67 |  |  | Brigitta P |  | 3 | 3 | 82024
3 | 4.00 | 31 | P/Final | 2024-10-19 | 10:44 | 2024-10-19 |  | DORINA | 4 | 3.83 | 3.85 | / | / | 1.830 |  |  |  | 0.21 |  |  | Brigitta P |  | 3 | 3 | 82024
2 | 1.00 | 32 | P/Final | 2024-10-19 | 10:46 | 2024-10-19 | 07:08 | DORINA | 4 | 0.95 | 0.95 | / | / | 0.491 |  |  |  | 0.32 |  |  | Brigitta P |  | 3 | 2 | 82024
2 | 1.00 | 33 | P/Final | 2024-10-19 | 10:47 | 2024-10-19 | 07:08 | DORINA | 4 | 0.98 | 0.97 | / | / | 0.510 |  |  |  | 0.57 |  |  | Brigitta P |  | 3 | 2 | 82024
2 | 1.00 | 34 | P/Final | 2024-10-19 | 10:47 | 2024-10-19 | 07:08 | DORINA | 4 | 0.97 | 0.97 | / | / | 0.502 |  |  |  | 0.41 |  |  | Brigitta P |  | 3 | 2 | 82024
1 | 0.00 | 35 | P/Final | 2024-10-19 | 10:48 | 2024-10-19 | 07:08 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.31 |  |  | Brigitta P |  | 3 | 1 | 82024 | 0 BLINK ON 97711
1 | 0.00 | 36 | P/Final | 2024-10-19 | 10:49 | 2024-10-19 | 07:08 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.29 |  |  | Brigitta P |  | 3 | 1 | 82024 | BLINK IN ALL METERS
2 | 1.00 | 37 | P/Final | 2024-10-21 | 08:35 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 0.96 | 1.00 | / | / | 0.499 |  |  |  | 0.26 |  |  | Brigitta P |  | 3 | 2 | 80958
2 | 1.00 | 38 | P/Final | 2024-10-21 | 08:36 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 0.96 | 0.96 | / | / | 0.499 |  |  |  | 0.23 |  |  | Brigitta P |  | 3 | 2 | 80958
2 | 1.00 | 39 | P/Final | 2024-10-21 | 08:36 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 1.00 | 1.00 | / | / | 0.521 |  |  |  | 0.35 |  |  | Brigitta P |  | 3 | 2 | 80958
3 | 4.00 | 40 | P/Final | 2024-10-21 | 08:38 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 3.92 | 4.03 | / | / | 1.867 |  |  |  | 0.35 |  |  | Brigitta P |  | 3 | 3 | 80958
3 | 4.00 | 41 | P/Final | 2024-10-21 | 08:39 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 3.99 | 4.09 | / | / | 1.898 |  |  |  | 0.37 |  |  | Brigitta P |  | 3 | 3 | 80958
3 | 4.00 | 42 | P/Final | 2024-10-21 | 08:39 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 3.97 | 4.07 | / | / | 1.809 |  |  |  | 0.37 |  |  | Brigitta P |  | 3 | 3 | 80958
1 | 0.00 | 43 | P/Final | 2024-10-21 | 08:42 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.21 |  |  | Brigitta P |  | 3 | 1 | 80958
1 | 0.00 | 44 | P/Final | 2024-10-21 | 08:43 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.16 |  |  | Brigitta P |  | 3 | 1 | 80958
2 | 1.00 | 45 | Old A | 2024-10-21 | 08:45 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 0.99 | 0.98 | / | / | 0.512 |  |  |  | 0.97 |  |  | Brigitta P |  | 3 | 2 | 80958
2 | 1.00 | 46 | Old A | 2024-10-21 | 08:46 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 0.99 | 0.99 | / | / | 0.514 |  |  |  | 0.53 |  |  | Brigitta P |  | 3 | 2 | 80958
3 | 4.00 | 47 | Old A | 2024-10-21 | 08:46 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 3.91 | 3.88 | / | / | 1.863 |  |  |  | 0.95 |  |  | Brigitta P |  | 3 | 3 | 80958
1 | 0.00 | 48 | Old A | 2024-10-21 | 08:47 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.56 |  |  | Brigitta P |  | 3 | 1 | 80958
3 | 4.00 | 49 | Old A | 2024-10-21 | 8:45 | 2024-10-21 | 06:51 | GIORGIANA | 4 | 3.92 | 4.03 | / | / | 1.864 |  |  |  | 0.35 |  |  | Brigitta P |  | 3 | 1 | 80958
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0.98 mg/L | 12 | 24 | 0.98 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 26 | 3.97 mg/L | 13 | 26 | 3.97 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 16 | 0 mg/L | 7 | 14 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.85 ÷ 4.15 | 3.97 | YES
Validation Date | by